D1.4 CS OTE External Interface

Part D1.4.2 XML message formats

CS OTE specification

Project ID:	        420/ECF1854

Document ID.:	        D1.4.2

Document version.:  2.016

Released date:	25.06.2026

TABLE OF CONTENTS

1.	Introduction	55

1.1.	Data flows	56

1.1.1.	General context	56

1.1.2.	Communication channels	57

1.1.3.	Message formats	58

1.1.4.	Security	58

2.	Communication principles	59

3.	General principles of XML message use	61

4.	Messages Overview	63

5.	XML Messages formats	109

5.1.	CDSCLAIM	110

5.2.	CDSDATA	122

5.3.	CDSIDIS	145

5.4.	CDSINVOICE	174

5.5.	CDSLDSREPORT	255

5.6.	CDSREQ	267

5.7.	CDSSYSTSERVREPORT	280

5.8.	COMMONREQ	288

5.9.	COMMONMARKETREQ	294

5.10.	ISOTEDATA	298

5.11.	ISOTEMASTERDATA	340

5.12.	ISOTEREQ	351

5.13.	MASTERDATA	360

5.14.	RESPONSE	393

5.15.	LP (Load Profiles)	408

5.16.	TEMPERATURE	414

5.17.	SFVOTBILLING	422

5.18.	SFVOTBILLINGEMO	448

5.19.	SFVOTBILLINGSUM	459

5.20.	SFVOTCLAIM	482

5.21.	SFVOTCLAIMSUM	505

5.22.	SFVOTTDD	527

5.23.	SFVOTDTEXPIMP	542

5.24.	SFVOTCONFDATA	552

5.25.	SFVOTEXCHRATE	576

5.26.	SFVOTLIMITCHANGE	583

5.27.	SFVOTLIMITS	592

5.28.	SFVOTTDDNETT	630

5.29.	SFVOTPSK	646

5.30.	SFVOTREQ	660

5.31.	SFVOTSETTINGS	665

5.32.	SFVOTEMGSTATE	673

5.33.	SFVOTSEMGSTATENETT	684

5.34.	SFVOTSEMGSTATEINV	694

5.35.	Global XSD schemas	703

6.	ETSO specification formats	730

##### Figure List

Obr. 1 – General context of data interchange of CDS-WAS	27

Obr. 2 – Basic principle of messages handling	30

##### AbbrevIation Used

| Abbreviation | Meaning |
| --- | --- |
| AC | Ancillary services |
| BC | Billateral contract |
| BRP | Balance Responsible Party |
| CCS | SAP Module: Customer Care systém |
| CDS | Centre of Data Services |
| CHMI | Czech Hydrometeorological Institute |
| CTBS | Complete trade balance statement |
| DFD | Data Flow Diagram |
| DGI | Data for grid-usage invoicing |
| DM | Day-ahead market (daily market) |
| DSO | Distribution system operator |
| E&U | Energy and utilities |
| EAN | Global system for encoding and identifying goods, services and organisation |
| EDI | International format for electronic data interchange (Electronic Data Interchange) |
| EDM | SAP Module: Energy Data Management |
| EMO | External market organizer (like PXE) |
| GUI | Graphical user interface |
| HW | Hardware |
| CIN | Company identification number |
| ID | Identifier |
| IDE | SAP Module: Intercompany Data Exchange |
| IM | Intra-day electricity market |
| IDA | Intra-day electricity auctions |
| IS OTE | Infrastructure of the market operator |
| ISO | International Standards Organization |
| IS-U | Branch solution of SAP for utilities |
| IT | Information technology |
| MS | Microsoft |
| PDT | Point of delivery / transfer |
| PKI | Public Key Infrastructure |
| OTE | OTE, a.s. (Czech energy market operator) |
| SoI | Settlement of Imbalancies |
| TSO | Transmission system operator |
| RAC | Registered Authorized Customer |
| RMP | Registered market participant |
| RMP(RP) | Registered market participant (who took over the responsibilty for imbalance from anoher RMP) |
| RRD | Registration of realization diagrams |
| SAP | SAP ČR, spol. s r.o. and a family of SAP software products in general |
| SBRP | Super Balance Responsible Party |
| SW | Software |
| LP | Load profile |
| TI | Technical infrastructure |
| UI | User interface |
| CTBS | Complete trading balance statement |
| WAS | SAP Module: Web Application Server |
| XML | Protocol for data interchange (Extensible Markup Language) |

##### History of Changes

| Date | Object | Revision |
| --- | --- | --- |
| 24.6.2009 | Revision of recent version of documentation has been done (Z version). | V1.0 |
| 24.6.2009 | Change of name for global types from cds_globals.xsd to ote_globals.xsd. | V1.0 |
| 24.6.2009 | Local data type language excluded to global data types ote_globals.xsd | V1.0 |
| 24.6.2009 | Local data type voltage-level excluded to global data types ote_globals.xsd | V1.0 |
| 24.6.2009 | From CDSREQ definition, there were set apart messages for partial CS OTE proceeding areas; they became part of new defined formats (ISOTEREQ, COMMONREQ, SFVOTREPORTREQ). See relevant chapters. | V1.0 |
| 24.6.2009 | Stated global data types were set apart: ReceiverIdentification, SenderIdentification, DataProvider and Reference. These data types were joined to ote_globals.xsd and are refered from original formats. There are no changes in use. | V1.0 |
| 24.6.2009 | For all message formats (except RESPONSE and *REQ), there was set up the possibility of electronic signature. Newly added global message format xmldsig-code-schema is used for this purpose. | V1.0 |
| 24.6.2009 | MASTERDATA definition - expansion of role atribute annotations: SST - Balance responsible party OBS - Observer (Related to assignment of Observer resp. Balance responsible party to PDT) | V1.0 |
| 24.6.2009 | MASTERDATA definition - change of use for atribute opm-id in element Data from required to optional. (Related to imbalance responsibilty handover) | V1.0 |
| 24.6.2009 | MASTERDATA definition - change of use for element Party from required to optional. (Related to cancelation of the assignment of Observer resp. Balance responsible party to PDT). | V1.0 |
| 24.6.2009 | MASTERDATA definition - expansion of message-code atribute annotations: 254 - Request for assignment of subject of settlement to OPM 256 - Information about BRP assignement to PDT 257 - Request for assigning an observer to PDT 258 - Error in / Confirmation of request for assigning an observer to PDT receiving 356 - Simplified list of PDT 450 - Request for registration of imbalance responsibility transfer 452 - Information about registration of imbalance responsibility transfer 453 - Approbation / Refusal of imbalance responsibility transfer 457 - Information about imbalance responsibility transfer (on request 455) | V1.0 |
| 24.6.2009 | RESPONSE definition - expansion of message-code atribute annotations: 128 - Receiving/error in message of electronic invoice 130 - Receiving / error in request for electronic invoice 255 - Error in / Confirmation of request for assignment of BRP to PDT receiving 258 - Error in / Confirmation of request for assigning an observer to PDT receiving 355 - Error message for sending simplified list of PDT 451 - Confirmation of / Error in request for registration of imbalance responsibility transfer receiving 454 - Confirmation of / Error in approbation / refusal of imbalance responsibility transfer receivnig 456 - Confirmation of / Error in request for imbalance responsibility transfer receiving 512 - Error in / Confirmation of normal and metered average daily temperatures data receival 522 - Error in / Confirmation of of normal load profiles of supplies receiving 855 - Confirmation / error of the BM order entry 865 - Confirmation/error message for own BM orders request | V1.0 |
| 24.6.2009 | RESPONSE definition - restriction of message-code atribute annotations: 280 - Receiving/error in message of electronic invoice 281 - Error in electronic invoice message - detail For this purpose, message with msg_code 128 - Receiving/error in message of electronic invoice is used. | V1.0 |
| 24.6.2009 | RESPONSE definition - change of message-code atribute annotations: 421 - Confirmation / error in the request for the settlement report OTE-EMO was replaced by: 423 - Confirmation / error in the request for the settlement report OTE-EMO | V1.0 |
| 24.6.2009 | CDSREQ definition - restriction of message-code atribute annotations: 354 - Request for simplified list of PDT 455 - Request for imbalance responsibility transfer | V1.0 |
| 24.6.2009 | CDSDATA definition – change of profile-role atribute annotations (Location): A71 - Aggregate profile, generation | V1.0 |
| 24.6.2009 | Changes were made in the CDSINVOICE definition. Message format is now ready for both electronic invoice and SD invoice. | V1.0 |
| 24.6.2009 | CDSINVOICE definition - at DocumentTotal element (DocumentEnvelope -> Document -> DocSummary -> DocumentTotal) change of max.Occ character from 1 to 2. | V1.0 |
| 24.6.2009 | CDSINVOICE definition - at PaymentSummary element (DocumentEnvelope -> Document -> DocSummary -> PaymentSummary) change of max.Occ character from 1 to 2. | V1.0 |
| 24.6.2009 | CDSINVOICE definition – at BankAccount element (DocumentEnveloppe -> Document -> DocHeader -> Party -> BankAccount), new iban atribute with use optional was added. | V1.0 |
| 24.6.2009 | CDSINVOICE definition – at PaymentSummary element, new Rounding subelement with use optional was added. (DocumentEnvelope -> Document -> DocSummary -> PaymentSummary) | V1.0 |
| 24.6.2009 | CDSINVOICE definition – at Document element, new Attachement subelement with use optional was added. (DocumentEnvelope -> Document) Element structure is as follows: Atributes of AttachmentHeader element (use included): DelivaryDate (required) ExchangeRate (required) PaymentReceived (optional) InvoiceNo (optional) TypeOfTrade (required) IdRut (optional) ReferenceNo (optional) Quantity (required) UnitPrice (required) BeforeTax (required) ElectricityTax (optional) BaseTax (optional) VAT (required) Currency (required) Total (required) Atributes of AttachmentSum element (use included): BeforeTax (required) ElectricityTax (optional) BaseTax (optional) VAT (required) Currency (required) Total (required) | V1.0 |
| 13.9.2009 | CDSREQ definition - restriction of message-code atribute annotations: 151 - Request for assigned observers data 154 - Request for assigned BRP data | V1.1 |
| 13.9.2009 | RESPONSE definition - expansion of message-code atribute annotations: 152 - Error in / confirmation of assigned observers request receiving 155 - Error in / confirmation of assigned BRP request receiving | V1.1 |
| 13.9.2009 | MASTERDATA definition - expansion of message-code atribute annotations: 153 - Assigned observers data 156 - Assigned subjects of settlement data | V1.1 |
| 13.9.2009 | MASTERDATA definition - change of role atribute (Data -> Party) annotations: Cancelled: SST - Balance responsible party assigned to the PDT - replaced with ST identifier Added: ST - Balance responsible party assigned to the PDT DST - Balance responsible party in the role default SST - Balance responsible party in the role secondary | V1.1 |
| 13.9.2009 | MASTERDATA definition - atribute ps-nd removal out of OPM element. Atribute used to be of use optional. | V1.1 |
| 30.9.2009 | RESPONSE definition - restriction of message-code atribute annotations: 211 - Error in PDT code list update 221 - Error in interval metered data sending 223 - Error in non-interval metered data sending 225 - Error in distribution invoicing data sending 227 - Error in message data with msg_code 124 230 - Error in distribution invoicing DGI RCS data sending 242 - Request for Change of supplier / Confirmation of sent data receiving 261 - Error in negotiated CTBS diagrams sending 262 - Confirmation of negotiated CTBS diagrams receiving 264 - Confirmation of receiving / Error in sending of annual consumption estimation 265 - Error in request for CTBS values sending 267 - Error in request for informative imbalance sending Changes has been made as a result of response aggregation function and abilition of CTBS process. | V1.1 |
| 30.9.2009 | CDSREQ definition - restriction of message-code atribute annotations: 163 - Single-shot request for complete trade balance statement data sending 164 - Single-shot request for informative imbalance statement data sending These request messages will be supported no more (CTBS abolition). | V1.1 |
| 30.9.2009 | CDSDATA definition - restriction of message-code atribute annotations: 266 - Planned values of generation A, B and C 268 - Output data of informative imbalance | V1.1 |
| 30.9.2009 | Negotiated diagram receipt and request will be supported for data stored before 31.12.2009 (msg_codes 163, 164, 243, 244, 251, 252) | V1.1 |
| 30.9.2009 | SFVOT repotrs area is still under construction; final shape will be established in November 2009. | V1.1 |
| 11.10.2009 | MASTERDATA definition . the use of Party element was chnged to required, the use of id atribute was chaged to optional. | V1.2 |
| 11.10.2009 | MASTERDATA definition - the use of OPM element was changed to optional. | V1.2 |
| 11.10.2009 | MASTERDATA definition - new attributes ps-sz and ps-poz with use optional were added to OPM element, serving to inform about assigned BRP and observers to PDT. | V1.2 |
| 11.10.2009 | MASTERDATA definition - expansion of anlart atribute annotations: 0007 - Sum OPM for network and BRP. | V1.2 |
| 11.10.2009 | It was made revision of revoked msg_codes, concerning CDSREQ, RESPONSE, CDSDATA (records of 30.9.2009). | V1.2 |
| 11.10.2009 | RESPONSE definition - abolition of restriction of message-code atribute annotations: 211 - Error in PDT code list update 221 - Error in interval metered data sending 223 - Error in non-interval metered data sending 225 - Error in distribution invoicing data sending 227 - Error in message data with msg_code 124 230 - Error in distribution invoicing DGI RCS data sending 242 - Request for Change of supplier / Confirmation of sent data receiving 267 - Error in request for informative imbalance sending Changes has been made as a result of response aggregation function and abilition of CTBS process. Following msg_codes were renamed: 215 - Confirmation of / Error in PDT code list update 222 - Error in non-interval metered data sending 224 - Confirmation of / Error in non-interval metered data receiving 226 - Potvrzení/chyba při příjmu dat DÚF VO 228 - Potvrzení/chyba při příjmu dat PpS 229 - Potvrzení/chyba při příjmu dat DÚF MO 241 - Potvrzení/chyba při zaslání požadavku na změnu dodavatele 247- Potvrzení/chyba při schválení/zamítnutí změny dodavatele | V1.2 |
| 11.10.2009 | RESPONSE definition - abolition of restriction of message-code atribute annotations: 163 - Single-shot request for complete trade balance statement data sending 164 - Single-shot request for informative imbalance statement data sending These request will be supported no more (CTBS abolition). | V1.2 |
| 11.10.2009 | CDSDATA definition - abolition of restriction of message-code atribute annotations: 268 - Output data of informative imbalance | V1.2 |
| 11.10.2009 | Negotiated digrams functionality will be supporte only for data to 31.12.2009. Following msg_codes are concerned (information in message documnetation included): 142, 252 (CDSDATA) 143 (CDSREQ) 243, 244, 251 (RESPONSE) | V1.2 |
| 18.10.2009 | CDSIDIS definition - new atribute tg-fi with use required was inserted to element MP element. | V1.2 |
| 31.10.2009 | MASTERDATA definition - the use of process-status atribute in Data element was chngesd from required to optional. | V1.3 |  |
| 31.10.2009 | MASTERDATA definition - the use of opm-id atribute and OPM element was revised. OPM element is required, opm-id atribute of Data element is optional. | V1.3 |  |
| 31.10.2009 | ETSO formats - originly standard Status Request messages was modified, the schema was added in the document (for more information see document D.1.4.4 - IS OTE automatic communication interface) | V1.3 |  |
| 4.12.2009 | CDSCLAIM definition - data type was specified at Claim-text element to xsd:string. | V1.4 |  |
| 4.12.2009 | CDSDATA definition - the use of id atribute of Location element was changed to optional. PDT isn´t specified in case of temperature sending. | V1.4 |  |
| 4.12.2009 | MASTERDATA definition - the use of ext-ui atribute of OPM element was changed to required. The item is always specified in PDT master data messages. | V1.4 |  |
| 4.12.2009 | MASTERDATA definition - the use of opm-id atribute of Data element was changed to optional. The item isn´t requierd in the imbalance responsibility handover process. | V1.4 |  |
| 4.12.2009 | MASTERDATA definition - the use of process-status atribute of Data element was changed to optional. The item isn´t requierd when assigning a service to PDT. | V1.4 |  |
| 4.12.2009 | CDSINVOICE definition - the use of city, street, house-num atributes od Adress element (DocumentEnveloppe -> Document -> DocDetail -> ListOfPDTBlocks -> PDTblock -> Address) was changed from reqired to optional. | V1.4 |  |
| 4.12.2009 | CDSINVOICE definition - unit atribute restriction of BaseItemDetail element (DocumentEnveloppe -> Document -> DocDetail -> ListOfPDTBlocks -> PDTblock -> ListOfBillingItems -> BillingItem -> BaseItemDetail) was expanded by item month. | V1.4 |  |
| 4.12.2009 | RESPONSE definition - message-code atribute restriction was expanded by items: 993 - Notice about offers annulation as a result of DM access right change 997 - Notice about reconciliation of DM offers | V1.4 |  |
| 4.12.2009 | ISOTEDATA definition - source-sys attribute restriction of Trade element was expanded by item SEPS. | V1.4 |  |
| 4.12.2009 | ISOTEREQ definition - confusing description was cerrected respective to the Document element. | V1.4 |  |
| 4.12.2009 | Notice! There was change in default Namespace of all message formats exchaged with OTE. The actuals are specified in published schemas. | V1.4 |  |
| 21.12.2009 | MASTERDATA definition – for „OPM/@anlart“ the restriction C07 - Sumární OPM za SZ a síť was added Same change in CDSREQ. | V1.5 |  |
| 21.12.2009 | CDSDATA - attribute „ profile-role“ extended: SK61 - SK68 – Group LP corrected; per temprature area, lp vlase, supplier and grid | V1.5 |  |
| 21.12.2009 | CDSINVOICE – new message-code 137 – Electronic invoice for OTE services | V1.5 |  |
| 21.12.2009 | CDSINVOICE - attribute „iban“ max length changed to 24 chars. | V1.5 |  |
| 21.12.2009 | CDSINVOICE – new codes for attribute items-category CNO – Credit note DNO – Debit note | V1.5 |  |
| 21.12.2009 | CDSINVOICE - attribute tax-type – new identifiers added ETX – Elektricity tax GTX – Gas tax | V1.5 |  |
| 21.12.2009 | CDSINVOICE – atribute doc-type – new identifiers added E01 - Invoice E02 – Credit note E03 – Debit note |  |  |
| 21.12.2009 | CDSINVOICE - element SumItem - required changed to optional. | V1.5 |  |
| 21.12.2009 | CDSREQ - attribute message-code new identifier 139 – Request for electronic invoice for OTE services | V1.5 |  |
| 21.12.2009 | CDSRESPONSE - attribute message-code new identifiers: 140 – Confirmation/ error in request for electronic invoice for OTE services 997 – Notification about DM matching | V1.5 |  |
| 21.12.2009 | ISOTEDATA - attribute „ profile-role“ extended: SP11 - Daily Market Settlement PXE buy SP12 - Daily Market Settlement PXE sale | V1.5 |  |
| 21.12.2009 | ISOTEDATA - attribute msg-code – new identifier 973 – Request for data – accepted balancing market orders | V1.5 |  |
| 4.1.2010 | CDSIDIS – attribute MP/@tg-fi changed to optional. | V1.6 |  |
| 10.1.2010 | MASTERDATA – description of attribute OPM/@info-text. | V1.7 |  |
| 10.1.2010 | CDSDATA - attribute msg-code-role – new identifiers_ A81 – Aggregated profile, production (per SZ) A82 – Aggregated profile, consumption (per SZ) F* - role for metered values RE for blocks G* - role for price of RE for blocks J41 – Calculated residual profile DS - production J42 - Calculated residual profile DS – consumption |  |  |
| 10.1.2010 | CDSCLAIM – data type opf element Action changed to xsd:string.. | V1.7 |  |
| 10.1.2010 | ISOTEDATA – format of atribute value in element Data (Trade->ProfileData->Data). Decimals changed to 4. | V1.7 |  |
| 15.3.2010 | SFVOT report revision has been finished. Names od schemas has been unified, partial structure modification have been made. These changes are not listed here. | V1.8 |  |
| 15.3.2010 | There were created new reports for Invoicing base data – summary (SFVOTREPBILLINGSUM) and Claim overview – summary. New reports are described in separand chapters. | V1.8 |  |
| 15.3.2010 | SFVOTREPORT_REQ definition – restriction for message-code attribute was extended: 434 - Invoicing base data - summary 437 - OTE Invoicing base data - summary 440 - Claim overview - summary 443 - OTE claim overview - summary | V1.8 |  |
| 15.3.2010 | RESPONSE definition - restriction for message-code attribute was extended: 436 - Invoicing base data - summary - confirmation / error 439 - OTE invoicing base data - summary - confirmation / error 442 - Claim overview - summary - confirmation / error 445 - OTE Claim overview - summary - confirmation / error | V1.8 |  |
| 15.3.2010 | CDSDATA definition – restriction for profile-role was extended: SN71 – SN78 - Group LP without TempArea, LPclass, supplier and grid correction | V1.8 |  |
| 15.3.2010 | CDSCLAIM definition – data type change at submitter attribute from ote:ean_13 to xsd:string with max. lenght 16 characters. | V1.8 |  |
| 15.3.2010 | CDSCLAIM definition – mistype corrected at obj-type attribute enumeration (DM_SEAN_DT opraven na BM_SEAN_DT). | V1.8 |  |
| 15.3.2010 | MASTERDATA definition – change of max. lenght of info-text attribute up to 512 char. | V1.8 |  |
| 26.4.2010 | MASTERDATA definition – new attribute sz-implicit was added to OPM element with use optional. Attribute give information about ipmlicit BRP assignment, specified in ps-sz attribute. | V1.9 |  |
| 26.4.2010 | CDSINVOICE definition – the restriction of the item-type attribute of the BaseItemDetail element (DocumentEnveloppe -> Document -> DocDetail -> ListOfPDTBlocks -> PDTblock -> ListOfBillingItems -> BillingItem) was extended by item „GU025 – Remote GSM reading“. | V1.9 |  |
| 26.4.2010 | CDSINVOICE definition – the restriction of the unit attribute of the BaseItemDetail (DocumentEnveloppe -> Document -> DocDetail -> ListOfPDTBlocks -> PDTblock -> ListOfBillingItems -> BillingItem -> BaseItemDetail) was extended by item „ks“. | V1.9 |  |
| 26.4.2010 | SFVOT message definition – the structure of data schemes has been chaged (i.e. all used except SFVOTREQ and RESPONSE) according to the wishes of RMPs. The changes are not listed, beeing of a greater range. | V1.9 |  |
| 26.4.2010 | New message format SFVOTEXCHRATE was introduced for sending OTE settlement exchange rate with following communication scenario: 425 – Request for OTE settlement exchange rate (SFVOTREQ) 426 - OTE settlement exchange rate (SFVOTEXCHRATE) 427 – Error in / Confirmation of request for OTE settlement exchange rate (RESPONSE) ISOTEDATA message format will no longer be used for this purpose. | V1.9 |  |
| 26.4.2010 | ISOTEDATA definition - restriction for msg-code attribute was extended: 966 - Request for imbalance settlement statistic data - copy of data | V1.9 |  |
| 26.4.2010 | ISOTEDATA definition – restriction for msg-code attribute of the ProfileData element was extended: SS13 - System imbalance SS14 - RE costs SS15 - RE+ volume / RE+ costs SS16 - RE- volume / RE- costs SS17 - Positive imbalance SS18 - Negative imbalance SS50 - Settlement price SS51 - Counter-imbalance price SS52 - BM RE+ volume / BM RE+ costs SS53 - BM RE- volume / BM RE- costs New profiles are used for imbalance statistical evaluation. | V1.9 |  |
| 26.4.2010 | ISOTEREQ definition - restriction for msg-code attribute was extended: 964 - Request for imbalance settlement statistic data | V1.9 |  |
| 26.4.2010 | RESPONSE definition - restriction for msg-code attribute was extended: 965 - Request for imbalance settlement statistic data - error / confirmation | V1.9 |  |
| 14.5.2010 | Changes announced for v1.9 for IS OTE message formats for gas market implementation were not issued it the last version, but just in the version 1.10. Sorry for mistification. History of chages was updated. | V1.10 |  |
| 14.5.2010 | MASTERDATA definition - the restriction of the role attribute of the Role element (Data->Party->Role) was expanded: TMP - RMP transfering the imbalance resposibility DSF - Present BRP at the default position | V1.10 |  |
| 14.5.2010 | MASTERDATA definition the use of the prepared attribute of the Data element was changed from required to optional. | V1.10 |  |
| 14.5.2010 | SFVOTCONFDATA definition - new element Conversion with use optional was added to the structure. It serve to inform abour currency conversion. | V1.10 |  |
| 14.5.2010 | ETSO messages - the codelist ReasonCodeTypeList was expanded: Z06 - Final external schedule can not be replaced by intermediate one. Z07 - RD annulled by the system due to finish of participant’s registration. | V1.10 |  |
| 14.5.2010 | ETSO zprávy - číselník ReasonCodeTypeList byl doplněn o hodnoty: Z06 - Final external schedule can not be replaced by intermediate one. Z07 - RD annulled by the system due to finish of participant’s registration. | V1.10 |  |
| 14.5.2010 | ISOTEDATA definition – new attribute commodity-code with use optional was added to the ISOTEDATA root element. The value serves to distinguish electricity and gas. | V1.10 |  |
| 14.5.2010 | ISOTEDATA definition – new attribute trade-session with use optional was added to the Trade element. The value serves to specify a seance. The change is for the electricity not relevant. | V1.10 |  |
| 14.5.2010 | ISOTEDATA definition – restriction for msg-code attribute was extended by G* indetificators. These serve only for gas area, for electricity not beeing relevant. | V1.10 |  |
| 14.5.2010 | ISOTEDATA definition – the restriction for the profile-role attribute of the ProfileData element was modified. View of the actual state can be found in the relevant chapter. | V1.10 |  |
| 14.5.2010 | ISOTEMASTERDATA definition - new attribute commodity-code with use optional was added to the ISOTEMASTERDATA root element. The value serves to distinguish electricity and gas. | V1.10 |  |
| 14.5.2010 | ISOTEMASTERDATA definition - restriction for msg-code attribute was extended by G* indetificators. These serve only for gas area, for electricity not beeing relevant. | V1.10 |  |
| 14.5.2010 | ISOTEMASTERDATA definition – the restriction of the instance-type attribute of the Instance element was expanded by item PDD - Daily - day. | V1.10 |  |
| 14.5.2010 | ISOTEMASTERDATA definition – the restriction of the currency attribute of the Instance element was expanded by item EUR. | V1.10 |  |
| 14.5.2010 | ISOTEREQ definition - restriction for msg-code attribute was extended by G* indetificators. These serve only for gas area, for electricity not beeing relevant. | V1.10 |  |
| 14.5.2010 | ISOTEREQ definition – new attribute trade-session with use optional was added to the Trade element. The value serves to specify a seance. The change is for the electricity not relevant. | V1.10 |  |
| 14.5.2010 | RESPONSE definition - restriction for msg-code attribute was extended by G* indetificators. These serve only for gas area, for electricity not beeing relevant. | V1.10 |  |
| 27.9.2010 | SFVOTTDD definition - new subelement Summary with use required and multiple use was added to the Rut element. The element includes following attributes: amount_net_total - Total without tax tax_total - Total VAT amount_total - The total amount with tax currency - Currency Following attributes were excluded out of the Data element: up_amount_to - Amout with tax up_tax_total - VAT The element contains summary amount for the RMP within the Clearing process. | V1.11 |  |
| 27.9.2010 | CDSINVOICE definition - change of definition of the item-id of the BaseItemDetail. The attribute remains of the string type, max. lengnht was reduced to 4 characters. | V1.11 |  |
| 27.9.2010 | CDSIDIS definition - change of description of the id attribute of the Meter element from „PDT id“ to „Meter identification“. | V1.11 |  |
| 15.11.2010 | CDSINVOICE definition - following optional attributes were appended to the Document element (DocumentEnvelope->Document): doc-atn - Number of attachment / sequence attachment number doc-ver - Message version unique id | V1.12 |  |
| 15.11.2010 | ISOTEDATA definition - following modification were made: - the append of the trade-market-flag attribute to the Trade element.The attribute is of use optional. The same change was made in ISOTEREQ definition. - the enumeration of the profile-role attribute of the Trade element was expanded by: SP36 - Day-ahead Market Settlement purchase, negative price of negative energy SP37 - Day-ahead Market Settlement sale, positive price of positive energy SC36 - Day-ahead Market Settlement purchase, negative energy at negative price SC37 - Day-ahead Market Settlement sale, positive energy at positive price SC50 - Final plan – DM - negative energy - DER bid SC51 - Final plan – DM - positive energy - DER bid SC77 - Matched amount of bids for purchase on PXE-futures market SC78 - Matched amount of bids for sale on PXE-futures market SC55 - Rounding of imbalances - amount - the change of description at one of the code list value of the trade-state attribute of the Trade element: „S“ - so far „DVS standart derfinition” , now „System order“ Detailed description and impact of the changes is to be found in the document D1.4.4 - IS OTE automatic communication interface. | V1.12 |  |
| 6.12.2010 | CDSIDIS definition - following changes were applied: - change of use of the Meter element from required to optional. - change of data type of the tg-fi attribute from string to decimal. The value can be entered without decimals, if needed. | V1.12 |  |
| 8.12.2010 | ISOTEDATA definition - the enumeration of the profile-role attribute of the Trade element was expanded by: SP77 - Matched price of bids for purchase on PXE-futures market SP78 - Matched price of bids for sale on PXE-futures market | V1.12 |  |
| 9.12.2010 | SFVOTBILLINGEMO definition - following changes were applied: - maximal number of repetitions of the Deliery element was raised from 2 to 4 - the enumeration of the tradeTypeGrp attribute of the Data element (Stock->Delivery->Data) was expanded by value PXE-FUT | V1.12 |  |
| 9.12.2010 | SFVOTCONFDATA definition - following changes af attributes within Data element (Confirmation->PaymentList->Data) were applied: - change of use of the paymentDate attribute from required to optional - change of use of the paymentStatus attribute from required to optional - change of use of the variableSymbol attribute from required to optional - the enumeration of the tradeType attribute was expanded by values PF0 and PF2 | V1.12 |  |
| 9.2.2011 | SFVOTCONFDATA definition - due to netting introduction the schema definition was modified. The chages are of a greater scale, therefore they are not listed. Respective chapter was updated. | V1.13 |  |
| 9.2.2011 | RESPONSE definition - restriction for msg-code attribute was extended: 981 - Notification, gate open/closure time of RRD/DM has been changed | V1.13 |  |
| 16.2.2011 | New reports for Netting introduced (SFVOTTDDNET and SFVOTTDDSUM). These are described in separate chapters. Besides, the enumeration of the msg_code attribute was extended in the definition of SFVOTREQ: 460 - LP netting - request 463 - LP BRP summ - request 466 - LP OTE summ - request And in the definition of RESPONSE: 462 - LP netting - error/confirmation 465 - LP BRP summ - error/confirmation 468 - LP OTE summ - error/confirmation | V1.13 |  |
| 18.2.2011 | MASTERDATA definition – new attribute res-cap-plan was added to OPM element with use optional. Attribute serves for entering value of reserved planned capacity. | V1.14 |  |
| 18.2.2011 | ETSO messages - the codelist ReasonCodeTypeList was expanded: Z23 - Schedule has been accepted and is waiting for FS calculation | V1.14 |  |
| 4.3.2011 | SFVOTCONFDATA definition - new attributes paymentStatus, variableSymbol, paymentDate with use optional were added to the Data element. These serve for entering relevant values for trades, not processed in Netting. | V1.14 |  |
| 4.3.2011 | SFVOTTDDNETT definition - new attribute variableSymbol with use optional was added to the Netting element. | V1.14 |  |
| 28.3.2011 | RESPONSE definition - restriction for msg-code attribute was extended: 175 - Notification about expiration of periodic request validity | V1.15 |  |
| 8.4.2011 | MASTERDATA definition – new attributes res-power and supp-blocks were added to OPM element with use optional. Attributes serve for entering value of reserved power and count of production blocks. The res-cap-plan attribute was removed from the OPM element. | V1.15 |  |
| 11.4.2011 | SFVOTCONFDATA definition - at the participant´s request, folowing modification were made: - maximum occurence of the Netting element was reduced to 4 - maximum occurence of the Conversion element was reduced to 1 | V1.15 |  |
| 20.5.2011 | SFVOT reports - by reason of zero use, the report for sending summary information Clearing LP. Message formats were modified as follows: SFVOTTDDSUM format - removed SFVOTREQ format - the enumeration of the msg_code attribute was reduced: 463 - Summary LP by BRP - request 466 - Summary LP by OTE - request RESPONSE format - the enumeration of the msg_code attribute was reduced: 465 - Summary LP by BRP - error/confirmation 468 - Summary LP by OTE - error/confirmation Respective chapter was removed from the document. | V1.16 |  |
| 20.5.2011 | New message format SFVOTLIMITS for passing the status of financial limit will be introduced. The format is common both for electricity and gas. The form will be published within final version of documentation. | V1.16 |  |
| 20.5.2011 | MASTERDATA definition - decription mistake by msg_codes 245 and 249 was corrected. These were swapped. | V1.16 |  |
| 10.6.2011 | CDSDATA definition - following changes in definiton were made: The enumeration of the profile-role attribute was expanded: P11 - Predicted production for positive imbalace P12 - Predicted consumption for positive imbalace P11 - Predicted production for negative imbalace P12 - Predicted consumption for negative imbalace TPx - Predicted temperature - temperature area x TQx - Flat predicted temperature - temperature area x The enumeration of the message-code attribute was expanded: 673 - Data of predicted production/consumption for BRP | V1.16 |  |
| 10.6.2011 | CDSREQ definition - enumerace atributu message-code doplněna o idetifikátory: 671 - Dotaz na hodnoty predikované spotřeby/výroby za SZ | V1.16 |  |
| 10.6.2011 | Definice zprávy RESPONSE - the enumeration of the message-code attribute was expanded: 672 - Confirmation/error message of Request for predicted production/consumption data for BRP | V1.16 |  |
| 10.6.2011 | The shape of SFVOTLIMITS message format was published. The format will be used for passing the status of financial limit. Another message formats were modified as follows: SFVOTREQ definition - the msg_code attribute enumeration was extended by: 463 - Financial limit status - request RESPONSE definition - the msg_code attribute enumeration was extended by: 465 - Financial limit status - error/confirmation | V1.16 |  |
| 10.6.2011 | MASTERDATA definition - following modifications were made: The res-power attribute - change of description The supp-blocks attribute - removed New attribute supp-block-power was appended at the level of OPM element. The attribute is optional and serves for entering the value of installed power output of the most powerful production block. | V1.16 |  |
| 10.6.2011 | SFVOTBILLINGSUM and SFVOTCLAIMSUM definiton - the enumeration of the tradeType attribute was extended: IM consumption - el. tax settlement | V1.16 |  |
| 22.7.2011 | MASTERDATA definition – new element clearing with use optional was added to the Data element. The attribute is used in the imbalance responsibility transfer communication scenario (clearing). | V1.17 |  |
| 22.7.2011 | Definice zprávy CDSREQ definition – new attributes chs-status, import-date-time-from and import-date-time-to with use optional were appended to the Location element. Attributes can be used as additional criteria when requesting the extract of change of supplier processing. | V1.17 |  |
| 22.7.2011 | CDSINVOICE definition - the enumeration of the item-type attribute (DocDetail->ListOfPDTBlocks->PDTBlock->ListOfBillingItems->BillingItem) was expanded by: GU026 - System services price-LDS GU027 - OTE settlement price - LDS GU028 - Renewable and combined heat sources contribution - LDS | V1.17 |  |
| 22.7.2011 | SFVOTDTEXPIMP definition - the enumeration of the tradeType attribute was reduced by „+DS0“, that was listed by mistake. | V1.17 |  |
| 11.8.2011 | SFVOTLIMITS definition - new subelement ds:Signature with use optional was added to the root element. The element serve for signing at the level of data. | V1.17 |  |
| 22.8.2011 | ISOTEDATA - the enumeration of the „profile-role“ attribute was extended by: XC01 - Aggregated imbalance SBRP positive for positive price (Mwh) XC51 - Aggregated imbalance SBRP positive for negative price (Mwh) XC02 - Aggregated imbalance SBRP negative for positive price (Mwh) XC52 - Aggregated imbalance SBRP negative for negative price (Mwh) XP01 - Payments for aggregated imbalance SBRP positive - positive price for positive energy (Kč) XP51 - Payments for aggregated imbalance SBRP positive - negative price for positive energy (Kč) XP02 - Payments for aggregated imbalance SBRP negative - positive price for negative energy (Kč) XP52 - Payments for aggregated imbalance SBRP negative - negative price for negative energy (Kč) | V1.18 |  |
| 12.9.2011 | RESPONSE definition - restriction for message-code attribute was extended: 990 - Notification about opening of the 2nd auction to the market participants | V1.18 |  |
| 24.10.2011 | Following the planned implementation of negative prices at the electricity DM, following shemas´ modification were applied: SFVOTDTEXPIMP definition - expansion of the enumeration of the tradeType attribute: DS- - DM export-import - consumption, DS+ - DM export-import - supply, DSO - DM export-import (netting) SFVOTBILLING definition - expansion of the enumeration of the tradeType attribute: DM- - daily market - consumption, DM+ - daily market - supply, DS- - DM export-import – consumption, DS+ - DM export-import – supply SFVOTBILLINGEMO definition - expansion of the enumeration of the tradeTypeGrp attribute: PX- - Daily market (PXE) - consumption, PX+ - Daily market (PXE) - supply, PF- - Daily market (PXE Future)- consumption, PF+ - Daily market (PXE Future)- supply SFVOTCLAIM - definition - expansion of the enumeration of the tradeType attribute: DM- - daily market - consumption, DM+ - daily market - supply, DS- - DM export-import – consumption, DS+ - DM export-import - supply SFVOTCONFDATA definition - expansion of the enumeration of the tradeType attribute: DM- - Daily market - consumption DM+ - Daily market - supply DS- - DM export-import - consumption DS+ - DM export-import - supply PX- - Daily market (PXE) - consumption PX+ - Daily market (PXE) - supply PF- - Daily market (PXE Future)- consumption PF+ - Daily market (PXE Future)- supply | V1.19 |  |
| 24.10.2011 | ISOTEDATA definition - the enumaration of the profile-role attribute was expanded by XC03 - XC10; XC53 - XC60 a XP03 - XP10; XP53 - XP60. Detailed description is to be found in the document D1.4.4 - IS OTE automatic communication. | V1.19 |  |
| 24.10.2011 | Chapter 4 - Message overview - new table with supporetd message formats was inserted. Translation will be done to final version. | V1.19 |  |
| 24.10.2011 | Restoration of msg_codes 261 a 262 (Reponse format ): 261 - Error / Confirmation of receiving planned consumption values (B) 262 - Error / Confirmation of receiving planned production values (A,B) | V1.19 |  |
| 13.11.2011 | ISOTEDATA definition - the restiction of the period attribute of the Data element was corrected. | V1.19 |  |
| 26.11.2011 | Due to the change of legislation for chege of supplier process following changes in message formats werw applied: MASTERDATA definition: - append of chs-type, contract-type, rejection-reason, chs-reason attributes with use optional at the level of Data element . - append of Activity element with use optional with type, party, date-time, comment, reason attributes. - the restiction of the message-code attribute was expanded: 138 - Request for suspension of the change of supplier process 148 - Copy of a message with a request for suspension of the change of supplier process 150 - Confirmation of customer’s consent with change of supplier 158 - Copy of confirmation of customer’s consent with change of supplier 178 - Results of evaluation of request for change of supplier 179 - Copy of the change of supplier progress information 182 - Copy of confirmation/rejection of assignment of responsibility for imbalance for the point of delivery 183 - Request for extension / reduction of supply by current supplier 185 - Copy of the request for extension / reduction of supply by current supplier 186 - Approbation with imb. resp. transfer within supply extension / reduction 188 - Copy of the approbation with imb. resp. transfer within supply extension / reduction 189 - Message about possible reservation of distribution or transport capacity within supply extension / reduction 191 - Copy of a message about possible reservation of distribution or transport capacity within supply extension / reduction 274 - Approval/rejection of request for change of subject of settlement by the subject of settlement 276 - Copy of approval/rejection of request for change of subject of settlement by the subject of settlement RESPONSE definition: - the restiction of the message-code attribute was expanded: 144 - Confirmation of acceptance/rejection of a message with a request for suspension of the change of supplier process 157 - Confirmation of acceptance/rejection of a message with confirmation of customer’s consent with change of supplier 181 - Confirmation of acceptance/rejection of a message with confirmation/rejection of assignment of responsibility for imbalance for the point of delivery 184 - Confirmation of / Error in request for extension / reduction of supply by current supplier 187 - Confirmation of / Error in approbation with imb. resp. transfer within supply extension / reduction 190 - Confirmation of acceptance/rejection of a message about possible reservation of distribution or transport capacity within supply extension / reduction 275 - Sending of confirmation of acceptance/rejection of a message with request for change of subject of settlement by the subject of settlement | V1.20 |  |
| 13.12.2011 | MASTERDATA definition - the restiction of the message-code attribute was expanded: AR9 - Non-measured consumption - PDT without registration in CS OTE | V1.20 |  |
| 13.12.2011 | MASTERDATA definition - change of use of Party element from required to optional. | V1.20 |  |
| 21.2.2012 | CDSIDIS definition - change of maximal number of characters of the name attribute of the MP elemement was reduced from 30 to 12. | V1.21 |  |
| 21.2.2012 | SFVOTLIMITS definition - the enumeration of the type attribute of the Date element (Limits->Participant->DataGroups->UtilizationData) was expanded by ZTR and DP6, which are used for gas only. | V1.21 |  |
| 9.3.2012 | CDSDATA definition - correction of description at the profile roles GN3 and GN4. | V1.21 |  |
| 20.4.2012 | New message format COMMONMARKETREQ was introduced. It will serve for message handover within asynchronous MarketService communication. Description can be found in a separate chapter. In this context, definition of RESPONSE message formar was applied. The enumeration of the message-code attribute was expanded by: 924 - Confirmation/error message for sending of request for output data handover - MarketService 996 - Confirmation of server-server connection control and sending of non-sent messages - MarketService. | V1.22 |  |
| 21.6.2012 | MASTERDATA definition - following changes were applied: - the restiction of the message-code attribute was expanded: 373 - Service restricted list of PDT - append of date-time attribute with use optional at the level of Workflow element - the restiction of the chs-reason attribute (Data element) was expanded: P1 - PDT supply extension Z2 - PDT supply retriction - the restiction of the reason attribute (Activity element) was expanded: ARA - Non-submission of a connection request | V1.23 |  |
| 21.6.2012 | RESPONSE definition - following changes were applied: - the restiction of the msg-code attribute was expanded: 372 - Error message for sending service restricted list of PDT - append of block-id attribute with use optional at the level of Reason element | V1.23 |  |
| 21.6.2012 | CDSREQ definition - following changes were applied: - the restiction of the msg-code attribute was expanded: 371 - Request for service restricted list of PDT - append of rut-identification and service attributes with use optional at the level of Location element | V1.23 |  |
| 21.6.2012 | ETSO messages - the RoleTypeList codelist was expanded by: A36 - Coordinated capacity Operator C01 - Market Coupling Operator / Price coupling system | V1.23 |  |
| 21.6.2012 | RESPONSE definition - the restiction of the msg-code attribute was expanded: 904 - ATC publication delay 905 - GCT of bids submission displacement 906 - DM results delay 907 - DM results delay, decoupling possibility 908 - Decoupling New messages codes will be used from 1st September 2012. | V1.23 |  |
| 9.7.2012 | CDSREQ definition - append of new attribute rut-service with use optional to the Location element. Relevant communication scenario (msg_codes 371, 372, 373) will be used from 1st September 2012. | V1.23 |  |
| 9.7.2012 | SFVOTBILLING, SFVOTCLAIM and SFVOTCONFDATA definition - the enumeration of the tradeType was expanded: SD- - Shipping on DM – consumption SD+ - Shipping on DM - supply New trade types will be used from 1st September 2012. | V1.23 |  |
| 24.8.2012 | RESPONSE definition - the restiction of the msg-code attribute was expanded: 909 - Zero ATC values 910 - ATC publication delay, decoupling possibility | V1.24 |  |
| 5.11.2012 | MASTERDATA definition – due to legislative changes following modifications were applied: - append of the contract-negotiation-type attribute at the level of Data element - the enumeration of the reason attribute of the Activity element was expanded: ARB – wrong value of requested reserved capacity ARC – earlier date of distribution beginning than in the application ARD – later date of distribution beginning than in the application ARE – contract stepping down according to §11a par. 2 EL and supply continuation by the current supplier - the enumeration of the chs-reason attribute of the Data element was expanded: P2 – Supply prolongation based on customer stepping down from other contracts accordimg to §11a par. 2 EL V1 – Change f supplier in new conncted production plant - the enumeration of the contract-type attribute of the Data element was expanded: GBC - Government bill cost FTC – Forced trading cost MTC – Market trading cost | V1.25 |  |
| 5.11.2012 | New message format CDSLDSREPORT was introduced. It will be used for sending LDS mothly statement. Description can be found in separate chapter. | V1.25 |  |
| 5.11.2012 | RESPONSE definition - the restiction of the msg-code attribute was expanded: 278 - Confirmation of/Error in monthly LDS statement 281 - Confirmation of/Error in request for monthly LDS statement | V1.25 |  |
| 5.11.2012 | CDSREQ definition- the restiction of the msg-code attribute was expanded: 280 - Request for monthly LDS statement | V1.25 |  |
| 18.2.2013 | CDSREQ definition - Request for monthly LDS statement: 674 - Request for corr. LP | V1.26 |  |
| 18.2.2013 | CDSREQ - the enumeration of the profile-version attribute of the Location element was expanded: 11 – Dataversion for monthly clearing 21 – Data version for final monthly clearing | V1.26 |  |
| 18.2.2013 | RESPONSE definition - the restiction of the msg-code attribute was expanded: 675 - Error, conf. of req. for corr. LP | V1.26 |  |
| 18.2.2013 | CDSDATA definition - the restiction of the msg-code attribute was expanded: 676 - LP corr. to temperature and rest bil. | V1.26 |  |
| 18.2.2013 | CDSDATA - the enumeration of the profile-role attribute of the Location element was expanded: DBxy - DBxy-LP diagram corr. to temp. and rest bil. for „x“ temp. area and „y“ LP class | V1.26 |  |
| 18.2.2013 | CDSDATA definition - the enumeration of the profile-version attribute of the Location element was expanded: 11 – Dataversion for monthly clearing 21 – Data version for final monthly clearing | V1.26 |  |
| 18.2.2013 | CDSIDIS definition - the enumeration of the version attribute of the OPM element was expanded by: 00 – Data version for daily settlement 01 – Data version for preliminary monthly settlement 10 – Data version for preliminary settlement 11 – Data version for monthly clearing 21 – Data version for final monthly clearing | V1.26 |  |
| 11.3.2013 | SFVOTREQ definition - the enumeration of the message-code attribute was extended: 466 - LP netting - request 469 - Final Settlement of Clearing Differences - request 472 - Final Settlement of Clearing Differences - request | V1.26 |  |
| 11.3.2013 | RESPONSE definition - the enumeration of the message-code attribute was extended: 468 - LP netting - final settlement - error/confirmation 471 - Final Settlement of Clearing Differences - error/confirmation 474 - Final Settlement of Clearing Differences OTE - error/confirmation | V1.26 |  |
| 11.3.2013 | SFVOTTDD definition - the enumeration of the message-code attribute was extended: 470 - Final Settlement of Clearing Differences 473 - Final Settlement of Clearing Differences - OTE | V1.26 |  |
| 11.3.2013 | SFVOTTDDNETT definition - the enumeration of the message-code attribute was extended: 467 - LP netting - final settlement | V1.26 |  |
| 11.3.2013 | SFVOTTDD definition – append of new version attribute at the level of Data element (Clearing -> Rut -> Period -> Data) and Summary element (Clearing -> Rut -> Period -> Summary). The attribute is of use optional. | V1.26 |  |
| 11.3.2013 | SFVOTTDDNETT definition – append of new version attribute at the level of Clearing element. The attribute is of use optional. | V1.26 |  |
| 9.4.2013 | ISOTEREQ definition - restriction for msg-code attribute was extended: 914 - Request for current market results | V1.27 |  |
| 9.4.2013 | RESPONSE definition - restriction for msg-code attribute was extended: 915 - Request for current market results - error / confirmation | V1.27 |  |
| 9.4.2013 | ISOTEDATA definition - restriction for msg-code attribute was extended: 916 - Request for current market results - copy of data | V1.27 |  |
| 9.4.2013 | ISOTEDATA definition – restriction for profile-role attribute of the ProfileData element was extended: P73 - Traded volume price of the last accepted bid on IM | V1.27 |  |
| 22.4.2013 | CDSIDIS definition – the enumeration of the mr-status attribute at the Meter element was expanded by: CHS - Change of supplier | V1.28 |  |
| 25.4.2013 | SFVOTREQ definition – the enumeration of the message-code attribute was restricted by: 412 - LP differences settlement 415 - OTE LP differences settlement The purpose of following msg_code was changed: 469 - Final Settlement of Clearing Differences - request. It replaces code 412. 472 - Final Settlement of Clearing Differences - request. It replaces code 415. | V1.28 |  |
| 25.7.2013 | CDSIDIS definition – the enumeration of the status attribute of the OPM element was expanded by: HST – Change of supplier | V1.29 |  |
| 8.8.2013 | TEMPERATURE definition - the enumeration of the message-code attribute was expanded by: 531 - Message for sending predicted temperatures | V1.29 |  |
| 8.8.2013 | RESPONSE definition - the enumeration of the message-code attribute was expanded by: 532 - Error in / Confirmation of predicted temperatures data receival | V1.29 |  |
| 26.9.2013 | MASTERDATA definition – append of new supp-blocks attribute at the level of the OPM element.The attribute is of the use optional. | V1.30 |  |
| 26.9.2013 | CDSLDSREPORT definition – append of new rep-type and version attributes at the level of Data element. The attributes are of the use optional. | V1.30 |  |
| 26.9.2013 | Correction of the exemple of electronic aggregated invoice (CDSINVOICE format). There was a mistake in the coding-scheme attribute value of the DataProvider element. | V1.30 |  |
| 9.12.2013 | CDSGASCLAIM definition – change of use of the attributes: action-id of the Action element from required to optional date-time of the Action element from required to optional The change is made at the request of market paticipants. | V1.31 |  |
| 9.12.2013 | CDSGASCLAIM definition – removal of the enumeratin of the content-type attribute at the Attachment element. | V1.31 |  |
| 10.12.2013 | CDSIDIS definition – append of an optional attribute qty-prod at the level of the DataMO element. | V1.31 |  |
| 9.4.2014 | ISOTEREQ definition - the enumeration of the message-code attribute was expanded by: 703 - Request for ATC from TSO – internal The change has no impact to the market participants. | V1.32 |  |
| 28.4.2014 | CDSINVOICE defnition – change of maximal occurances of the DocumentTotal element (DocumentEnveloppe -> Document -> DocSummary) from 2 to 10. | V1.33 |  |
| 5.5.2014 | New message format CDSSYSTSERVREPORT was introduced. The message will be used for szstem services settlement report. The description can be found in a separate chapter. Besides, following modification of existing formats were applied: CDSREQ: - new syst-serv-status attribute was appended at the level of Location element with use optional - the enumeration of the message-code attribute was expanded by: 286 - Request for system services settlement report RESPONSE: - the enumeration of the message-code attribute was expanded by: 284 - System services settlement report - confirmation / error 287 - Request for system services settlement report - confirmation / error | V1.33 |  |
| 29.8.2014 | ISOTEREQ definition - the enumeration of the message-code attribute was reduced of: 703 - Request for ATC from TSO – internal | V1.34 |  |
| 29.8.2014 | MASTERDATA definition – change of description at one of the value of the uob attribute enumeration: CBA - Yes (Retained for backward compatibility. When specified in registration message 111, this will be rejected.) | V1.35 |  |
| 9.10.2014 | Definice ISOTEDATA – following modifications were applied: Change of description of profile roles XC03, XC04, XC53, XC54, XP03, XP04, XP53, XP54 The enumeration of the profile-role attribute of the ProfileData element was expanded by XC11, XC12, XC61, XC62, XP11, XP12, XP61, XP62. Append of the Category, AcceptRatio, ParentBlock, ExclsGroup attibutes at the Trade element.The attributes are of use optional. | V1.35 |  |
| 24.10.2014 | Definice ISOTEDATA – the enumeration of the profile-role attribute of the ProfileData element was expanded byBS01 to BS25. | V1.35 |  |
| 6.11.2014 | SFVOTLIMITS definition - the enumeration of the type attribute of the Data element was expanded by: REVF - Utilization of risk exposure flex/excl. bids DM | V1.35 |  |
| 27.1.2015 | SFVOTCONFDATA definition – the enumeration of the tradeType attribute was expanded by: EMP – State of emergency - gas | V1.36 |  |
| 27.1.2015 | RESPONSE definition – append of an optional attribute result-code at the level of the Reason element. | V1.36 |  |
| 18.3.2015 | ETSO messages, StatusRequest format – change of the name of the ReqCounterparty element to ReqCounterParty. | V1.37 |  |
| 29.9.2015 | ISOTEDATA definition - the enumeration of the profile-role attribute of the ProfileData element was extended: ST18 - REMIT Fix Fee electricity XC65 - REMIT Count of reported orders – elektricity XP65 - REMIT Variable Fee order electricity XC66 - REMIT Count of reported transactions - electricity XP66 - REMIT Variable Fee transaction electricity | V1.38 |  |
| 29.9.2015 | SFVOTBILLING, SFVOTBILLINGSUM, SFVOTCLAIM, SFVOTCLAIMSUM definition – the enumeration of the tradeType attribute of the tradeType element was extended: R01 – REMIT fixed fee R02 - REMIT transaction fee R03 - REMIT order fee | V1.38 |  |
| 29.9.2015 | CDSINVOICE definition – change of restriction at the country and bank-country attributes. The attributes can have from 1 to 3 characters. | V1.38 |  |
| 30.11.2015 | CDSIDIS definition – following modifications were applied: - OPM element – new attribues inv_id, qty-VT, qty-NT, contract-type were added DUF VO block - PmaxNT element was added - MP element – Eract element was added - Price element was added DUF MO block - change of description of the inv_id, qty-VT, qty-NT attributes of the DataMO element - PriceMO element was added Above specified changes were communicated to market participants by a separate way. | V1.39 |  |
| 30.11.2015 | CSDINVOICE definition – the enumeration of the unit attribute of the BaseItemDetail element was extended by „A*month“ and „kW“. | V1.39 |  |
| 30.11.2015 | MASTERDATA definition – following modifications were applied: - the enumeration of the message-code attribute was expanded by: 192 – Request for supplier/subject of settlement mass change 193 - Supplier/subject of settlement mass change - new attributes num-phase, cir-breaker, dist-rate-type, contract-type, micro-source were added to the OPM element - the enumeration of the disc-reason attribute of the OPM element was expanded by: 07 – Unauthorized supply odběr 08 – Unauthorized distribution 09 – Deactivation - change of type at the mrsend-susp attribute of the OPM element from boolean to string with enumeration restriction - the enumeration of the chs-reason attribute of the Data element was expanded by „H1“ - the enumeration of the chs-type attribute of the Data element was expanded by „CTC“ - the enumeration of the type attribute of the Activity element was expanded by „CTC“ - the enumeration of the contract-negotiation-type attribute of the Data element was expanded by „D“ |  |  |
| 30.11.2015 | CDSCLAIM definition - the enumeration of the claim-type attribute was expanded by: CDS6 - Company transformation | V1.39 |  |
| 30.11.2015 | ISOTEDATA definition – the enumeration of the message-code attribute was restricted by values „SC41“, „SC44“, „SP41“. | V1.39 |  |
| 30.11.2015 | SFVOTBILLING, SFVOTBILLINGSUM, SFVOTCLAIM, SFVOTCLAIMSUM, SFVOTCONFDATA definition - the enumeration of the tradeType attribute of the tradeType element was expanded by: VT+ - Positive RE from BalM VT- - Negative RE from BalM | V1.39 |  |
| 3.12.2015 | CDSIDIS definition – change of use of the Item element. The use is optional in Price a PriceMO elements. | V1.39 |  |
| 3.12.2015 | Definice ISOTEDATA – following modification were applied: - change of description of profile roles SC40, SF11, SF12, SF61, SF62, SG11, SG12, SG61, SG62, SP40 - the enumeration of the profile-role attribute of the ProfileData element was expanded by XC67, XC68, XC69, XC70, XP67, XP68, XP69, XP90 | V1.39 |  |
| 18.1.2016 | CDSLDSREPORT definition – append of the Row element at the level of Data element. The use is optional. Besides was made a change of descrition at some attributes. | V1.40 |  |
| 26.1.2016 | CDSIDIS definition – change of restriction at the qty attribute of the Item element. The value can be entered with 4 decimals. | V1.40 |  |
| 19.2.2016 | CDSIDIS definition – change of restriction at following attributes: Element PriceMO, attribute cir-breaker – value can be entered with 1 decimal Element Price, attribute total - value can be entered negative and with 2 decimals Element Item, attribute unit-price – value can be entered negative and with 4 decimals Element Item, attribute price – value can be entered negative and with 2 decimals | V1.41 |  |
| 19.2.2016 | MASTERDATA definition – change of restriction at following attributes: Element OPM, attribute cir-breaker – value can be entered with 1 decimal | V1.41 |  |
| 29.2.2016 | ISOTEDATA definition – following modificatons were applied: - the enumeration of the message-code attribute was expanded by: 889 - BaIM results prices - the enumeration of the profile-role attribute of the ProfileData element was expanded by: XC13 - Amount in MWh in the trading hour for specified BalM order (for RE + positive value, for RE- negative value) XC14 - System imbalance in the specified trading hour in MWh (positive/negative value) XP13 - The price at which the order was traded on BalM in the specified trading hour in CZK/MWh (positive/negative value) XP14 - The final settlement price of RE from BalM in the specified trading hour in CZK/MWh (positive/negative value) XP15 - Weighted average settlement price (weight is amount) of the total RE in the specified trading hour, which emerges from trading RE on BalM and RE from AnSn in CZK/MWh (positive/negative value) XP16 - Weighted average settlement price (weight is amount) of RE in the specified trading hour, which emerges from trading RE on BalM in CZK/MWh (positive/negative value) XP17 - Weighted average settlement price (weight is amount) of RE from Ans in the specified trading hour in CZK/MWh (positive/negative value) | V1.42 |  |
| 29.2.2016 | RESPONSE definiton - the enumeration of the message-code attribute was expanded by: 888 - BaIM results prices - confirmation/error | V1.42 |  |
| 29.2.2016 | ISOTEREQ definition - the enumeration of the message-code attribute was expanded by: 887 - Výsledné ceny z VT – Zúčtování VT – dotaz | V1.42 |  |
| 29.2.2016 | SFVOTREQ definition - the enumeration of the message-code attribute was expanded by: 475 - Billing report ČEPS - PSK - request 478 - Claim report ČEPS - PSK - request | V1.42 |  |
| 29.2.2016 | Introduction of new SFVOTPSK format. Addditional informatiin can be found in the new chapter. | V1.42 |  |
| 29.2.2016 | RESPONSE definition - the enumeration of the message-code attribute was expanded by: 477 - Billing report ČEPS - PSK - error/confirmation 480 - Claim report ČEPS – PSK - error/confirmation | V1.42 |  |
| 11.4.2016 | MASTERDATA definition – the enumeration of the rejection-reason attribute of the Data element was expanded by: 98 – Change of original supplier | V1.43 |  |
| 11.4.2016 | Definice CDSREQ – append of new attrinutes chs-type and chs-reason at the level of the Location element. Attribues are of the use optional. | V1.43 |  |
| 15.4.2016 | CDSINVOICE definition - the enumeration of the item-type attribute (DocDetail->ListOfPDTBlocks->PDTBlock->ListOfBillingItems->BillingItem) was expanded by: GU029 - Price for exceeding booked input power | V1.43 |  |
| 2.6.2016 | SFVOTCONFDATA definition – the enumeration of the tradeType attribute of the tradeType element was extended by values DVM, DV4, FL+, FL-, used only for gas commodity. | V1.44 |  |
| 2.6.2016 | SFVOTLIMITS definition - the enumeration of the type attribute of the Data element (Limits->Participant->DataGroups->UtilizationData) was expanded by values FLP and DVP, used only for gas commodity. | V1.44 |  |
| 2.6.2016 | TEMPERATURE definition – append of the new profile-version attribute at the level of the Profile element. The attribute is of the use optional. | V1.44 |  |
| 2.6.2016 | ISOTEDATA definition - the enumeration of the attribute profile-role element ProfileData was expanded by: SC41 - Price of last known trade on IDM by GMR and definition - the enumeration of the attribute message-code root element was expanded by: GVP - Trade request - last known trade price on IDM by GMR - Copy of data The change is relevant for gas commodity only. | V1.44 |  |
| 2.6.2016 | ISOTEREQ - definition - the enumeration of the attribute message-code root element was expanded by: GVN - Trade request - last known trade price on IDM by GMR The change is relevant for gas commodity only. | V1.44 |  |
| 2.6.2016 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: GVO - Trade response - last known trade price on IDM by GMR The change is relevant for gas commodity only. | V1.44 |  |
| 16.6.2016 | MASTERDATA definition - the enumeration of the attribute typm element OPM was expanded by: CMM – Metering type M | V1.44 |  |
| 16.6.2016 | MASTERDATA definition - the enumeration of the attribute typm element Location was expanded by: CMM – Metering type M | V1.44 |  |
| 14.7.2016 | SFVOTLIMITS definition - the enumeration of the attribute type element Data was expanded by: REVF - utilization of risk exposure flex/excl. bids DM | V1.45 |  |
| 28.7.2016 | SFVOTLIMITS definition - the enumeration of the attribute message-code root element was expanded by: 482 - Current value of limit VDT/VT | V1.46 |  |
| 28.7.2016 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 483 - Error / confirmation set the limit at VDT / VT 485 - Error / confirmation by sending an automatic limit change VDT / VT | V1.46 |  |
| 28.7.2016 | New message SFVOTSETTINGS, which is discussed in a separate chapter. | V1.46 |  |
| 28.7.2016 | New message SFVOTLIMITCHANGE, which is discussed in a separate chapter. | V1.46 |  |
| 6.9.2016 | SFVOTCONFDATA definition - the enumeration of the attribute TradeType element Data was expanded by: DV - Service of grid balancing | V1.47 |  |
| 14.9.2016 | SFVOTLIMITS definition enumeration of the attribute type element Data was changed - one item was renamed from OFF_V to VDT/VT (Utilization of limit for IM/BalM). | V1.47 |  |
| 5.10.2016 | SFVOTEXCHRATE definition – element ExchRates was expanded by OteFinalVdtRate | V1.47 |  |
| 21.10.2016 | CDSDATA definition - the enumeration of the profile-role attribute of the Location element was expanded: FX3 - RE ability verification - RE+ FX4 - RE ability verification - RE- GX3 - RE ability verification - RE+, price GX4 - RE ability verification - RE-, price VVN1 - Agregated production VHV VVN2 - Agregated consumption VHV VN1 - Agregated production HV VN2 - Agregated consumption HV NN1 - Agregated production LV NN2 - Agregated consumption LV | V1.47 |  |
| 9.11.2016 | CDSDATA definition - the enumeration of the chs-reason attribute of the Location element was expanded: S5 - Change supplier of DPI, including changes / transcript customer at the supply point | V1.48 |  |
| 16.11.2016 | CDSDATA definition - the enumeration of the profile-role attribute of the Location element was changed: Values (9): J71- J79 Temperature TO1- TO9 correction coefficient are changed for values (72): J711-J718 Temperature correction coefficient, temp. area 1, TDD class 1-8 J721-J728 Temperature correction coefficient, temp. area 2, TDD class 1-8 J731-J738 Temperature correction coefficient, temp. area 3, TDD class 1-8 J741-J748 Temperature correction coefficient, temp. area 4, TDD class 1-8 J751-J758 Temperature correction coefficient, temp. area 5, TDD class 1-8 J761-J768 Temperature correction coefficient, temp. area 6, TDD class 1-8 J771-J778 Temperature correction coefficient, temp. area 7, TDD class 1-8 J781-J788 Temperature correction coefficient, temp. area 8, TDD class 1-8 J791-J798 Temperature correction coefficient, temp. area 9, TDD class 1-8 | V1.48 |  |
| 23.11.2016 | ISOTEDATA definition – append of a new util-flag attribute at the level of Trade element. The attribute is of the use optional. | V1.49 |  |
| 25.1.2017 | CDSREQ definition - the enumeration of the attribute message-code root element was expanded by: 314 - Request of ORS for calc. of imbalances and clearing | V1.50 |  |
| 25.1.2017 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 315 - Err. mess. to the req. of ORS for calc. of imbal. and clea | V1.50 |  |
| 25.1.2017 | CDSDATA definition - the enumeration of the attribute message-code root element was expanded by: 316 - Values of ORS for calc. of imbalances and clearing | V1.50 |  |
| 25.1.2017 | CDIDIS definition - the maximum number of decimal places was reduced from 3 to 2 with the following attributes: element OPM - atributy: qty, qty-VT, qty-NT, supplyDS-qty element RecCap – atributy: rescap-month, rescap-year element SysServices – atributy: cons-PSDS, cons-own element MP – atribut: qty element DataMO – atributy: qty-VT, qty-NT, cir-breaker, am-enVT, am-enNT, am-rescap, am-renresource, am-comresource, am-distservice, am-sysservice, am-oteservice, am-mrdservice, qty-prod element METER – atributy: prim-multiplier, qtyVT, qtyNT, mr-readVTs, mr-readVTe, mr-readNTs, mr-readNTe, mr-addbillVT, mr-addbillNT element ereact_type – atribut: qty and the maximum number of decimal places was reduced from 3 to 0 with the following attributes: element Pmax - element MP – atribut: qty element Pmax - element OPM – atribut: qty element PmaxNT - element OPM – atribut: qty element PmaxMO - element OPM – atribut: qty | V1.50 |  |
| 25.1.2017 | CDIDIS definition – date only like day can be sent by these attributes: element Price – atribut: inv-per-from element OPM – atribut: inv-per-from element METER – atribut: inv-per-from (was able to send the date as month of the year) | V1.50 |  |
| 2.3.2017 | MASTERDATA definition – element OPM - these attributes was changed: disc-reason – the enumeration of possible values was expanded - 10 „No meter“, mrsend-susp – the value of enumeration 2 was renamed „Suspended for metering data and DGI (deactivated)“ and new value 3 was added „Suspended for metering data and DGI (no meter)“, micro-source – annotation was changed „Micro source/Production under 10 kW“ | V1.51 |  |
| 2.3.2017 | MASTERDATA definition – the enumeration of the reason attribute of the Activity element was expanded: ARF - No TSO/DSO contract ARG - Compound contract on HV/VHV | V1.51 |  |
| 2.3.2017 | MASTERDATA definition - append of new attribute planned type bolean at the level of the OPM element. Attribute s of the use optional. | V1.51 |  |
| 5.10.2017 | MASTERDATA definition – element OPM - these attributes was changed: date-from is optional | V1.52 |  |
| 5.10.2017 | MASTERDATA definition - the enumeration of the attribute message-code root element was expanded by: cons-categ (Consumption category) | V1.52 |  |
| 5.10.2017 | MASTERDATA definition - the enumeration of the attribute message-code root element was expanded by: 194 - Ex post PDT registration 196 - Ex post PDT registration – copy 199 – PDT state | V1.52 |  |
| 5.10.2017 | CDSREQ definition - the enumeration of the attribute message-code root element was expanded by: 197 - Dotaz na stav OPM | V1.52 |  |
| 5.10.2017 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 195 - Response to ex post PDT registration 198 - Response to request for PDT state | V1.52 |  |
| 23.11.2017 | CDSCLAIM definition – element CLAIM - these attributes was added: version - Internal version of OTE report template-id - Internal message template identifier | V1.53 |  |
| 26.1.2018 | MASTERDATA definition- element OPM these attributes was added: monitor-code - Monitor code value monitor-to - Valid to monitor-from - Valid from | V1.54 |  |
| 19.4.2018 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 486 - Notification of expiration of the bank guarantee / rating for financial security | V1.55 |  |
| 19.4.2018 | CDSCLAIM definition – attribute claim-subject element CLAIM -definition of string type extended from max 100 to 128 characters | V1.55 |  |
| 19.4.2018 | ISOTEDATA definition – some labels modified by XSD (Table 3) | V1.55 |  |
| 23.5.2018 | ISOTEDATA definition – append of a new util-flag attribute at the level of Trade element.(bug fix) | V1.56 |  |
| 23.8.2018 | SFVOTLIMITCHANGE definition - the enumeration of the attribute type element Limit was expanded by: VDP | V1.57 |  |
| 23.8.2018 | SFVOTLIMITCHANGE definition – the label (only CS) of the attribute moved element Limit was changed: Prostředky přesunuté to jiného typu v CZK (do online utilizace krátkodobých obchodů) | V1.57 |  |
| 23.8.2018 | SFVOTLIMITCHANGE definition – labels (CS and EN) of enumeration 484 of the attribute moved element Limit was changed: Automatická změna limitu VDT/VT pro elektřinu nebo VDT pro plyn Automatic change limit IM/BAlM for elektricity or IM for gas | V1.57 |  |
| 23.8.2018 | SFVOTLIMITS definition – the enumeration of the attribute type element Data was expanded: LIM_VDP - Utilization of limit for IM - gas | V1.57 |  |
| 23.8.2018 | SFVOTLIMITS definition – labels of attribute type element Data was changed: limitIMBalM - Limit for IM/BalM electricity or IM gas utilizationIMBalM - Utilization of limit for IM/BalM electricity or IM gas freeResourcesIMBalM - Free limit IM/BalM elektricity or IM gas | V1.57 |  |
| 23.8.2018 | SFVOTLIMITS definition – lables (CS and EN) of enumeration 482 of attribute message-code root element was changed: Aktuální stav limitu VDT/VT elektrina nebo VDT plyn Current value of limit IM/BalM electricity or IM gas | V1.57 |  |
| 23.8.2018 | SFVOTSETINGS definition – the enumeration of the attribute type element Limit was expanded: VDP | V1.57 |  |
| 28.5.2019 | MASTERDATA definition - the language resolution of the annotation of the attribute sopm element OPM added. | V1.58 |  |
| 28.5.2019 | Specification of ETSO templates – the global ETSO template templates updated. Old versions: etso-code-lists-v6r4.xsd etso-core-cmpts-v8r0.xsd New version: etso-code-lists-v27r0.xsd etso-core-cmpts-v22r0.xsd The main change in the etso-core-cmpts-v22r0.xsd template refers to the TimeIntervalType data type, where the restriction is changed (the original only suited to 2019). Further, the restriction of QuantityType to decimal (16.4) was modified. Changes to the etso-code-lists-v27r0.xsd template refer to the ReasonCodeTypeList enumeration. These values were added: Value; Tittle; Definition. Z01; In or Out party %s1 is not a subject of settlement and there is no relation to any party responsible for its imbalancies.; identical toTittle. Z02; RRD not alowed by balance responsible party of In/Out party %s1.; identical toTittle. Z03; In or Out party %s1 without valid contract to access RRD (from %s2 to %s3).; identical toTittle. Z04; The user does not have the required permission to realize this operation.; identical toTittle. Z05; An invalid request (ESR) data - duplicity or no document found.; identical toTittle. Z06; Final external schedule can not be replaced by intermediate one.; identical toTittle. Z07; RD annulled by the system due to finish of participant' s registration.; identical toTittle. Z08; A subject party is to be either In party or Out party.; identical toTittle. Z09; A sender of zeroing schedule is to et he same in the being zeroed schedule.; identical toTittle. Z10; There is no shedule to be cancelled. Zeroing schedule has been rejected.; identical toTittle. Z13; Receiver role is invalid.; identical toTittle. Z14; Classification type invalid.; identical toTittle. Z15; Subject role invalid.; identical toTittle. Z16; Invalid product.; identical toTittle. Z17; Invalid object agregation.; identical toTittle. Z18; Unexpected measurement unit.; identical toTittle. Z19; Invalid/not supported coding scheme.; identical toTittle. Z20; Guarantee limits have not been met.; identical toTittle. Z21; Meets guarantee: Guarantee limits are almost used up.; identical toTittle. Z22; Other anomaly.; identical toTittle. Z23; Schedule has been accepted and is waiting for FS calculation; identical toTittle. Template global changes are reflected in all templates where these global schemes are imported: Dokument; Template; Import global templates. AcknowledgementDocument; acknowledgement-v5r0.xsd; etso-core-cmpts-v22r0.xsd. AnomalyReport; anomaly-v3r1.xsd; etso-core-cmpts-v22r0.xsd. CapacityDocument; capacity-document-v4r0.xsd; etso-core-cmpts-v22r0.xsd. ConfirmationReport; confirmation-v3r1.xsd; etso-core-cmpts-v22r0.xsd. ScheduleMessage; schedule-v3r1.xsd; etso-core-cmpts-v22r0.xsd. StatusRequest; status-request-ote-v1r1.xsd; etso-core-cmpts-v22r0.xsd etso-code-lists-v27r0.xsd. | V1.58 |  |
| 4.10.2019 | CDSIDIS definition - the attribute name of element OPM is removed | V1.59 |  |
| 4.10.2019 | MASTERDATA definition – the enumeration of the attribute typsrc element OPM was expanded: TER - Virtual PDT for TERRE market (used only by TSO) | V1.59 |  |
| 4.10.2019 | CDSDATA definition – the enumeration of the attribute profile-role element Location was expanded: TV11; Value of RE+ from RR for 1st quarter of an hour - for the solution of imbalances in the CR. TV12; Value of RE- from RR for 1st quarter of an hour - for the solution of imbalances in the CR. TV21; Value of RE+ from RR for 2nd quarter of an hour - for the solution of imbalances in the CR. TV22; Value of RE- from RR for 2nd quarter of an hour - for the solution of imbalances in the CR. TV31; Value of RE+ from RR for 3rd quarter of an hour - for the solution of imbalances in the CR. TV32; Value of RE- from RR for 3rd quarter of an hour - for the solution of imbalances in the CR. TV41; Value of RE+ from RR for 4th quarter of an hour - for the solution of imbalances in the CR. TV42; Value of RE- from RR for 4th quarter of an hour - for the solution of imbalances in the CR. TV13; Value of RE+ from RR for 1st quarter of an hour - not provided for the solution of imbalances in the CR. TV14; Value of RE- from RR for 1st quarter of an hour - not provided for the solution of imbalances in the CR. TV23; Value of RE+ from RR for 2nd quarter of an hour - not provided for the solution of imbalances in the CR. TV24; Value of RE- from RR for 2nd quarter of an hour - not provided for the solution of imbalances in the CR. TV33; Value of RE+ from RR for 3rd quarter of an hour - not provided for the solution of imbalances in the CR. TV34; Value of RE- from RR for 3rd quarter of an hour - not provided for the solution of imbalances in the CR. TV43; Value of RE+ from RR for 4th quarter of an hour - not provided for the solution of imbalances in the CR. TV44; Value of RE- from RR for 4th quarter of an hour - not provided for the solution of imbalances in the CR. TV15; Value of RE+ for the 1st quarter of an hour - caused by activating the RR bid for the next quarter hour. TV16; Value of RE+ for the 1st quarter of an hour - caused by activating the RR bid for the next quarter hour. TV25; Value of RE+ for the 2nd quarter of an hour - caused by activating the RR bid for the next quarter hour. TV26; Value of RE+ for the 2nd quarter of an hour - caused by activating the RR bid for the next quarter hour. TV35; Value of RE+ for the 3rd quarter of an hour - caused by activating the RR bid for the next quarter hour. TV36; Value of RE+ for the 3rd quarter of an hour - caused by activating the RR bid for the next quarter hour. TV45; Value of RE+ for the 4th quarter of an hour - caused by activating the RR bid for the next quarter hour. TV46; Value of RE+ for the 4th quarter of an hour - caused by activating the RR bid for the next quarter hour. TV17; Value of RE+ for the 1st quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TV18; Value of RE- for the 1st quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TV27; Value of RE+ for the 2nd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TV28; Value of RE- for the 2nd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TV37; Value of RE+ for the 3rd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TV38; Value of RE- for the 3rd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TV47; Value of RE+ for the 4th quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TV48; Value of RE- for the 4th quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TV09; Value of RE+ not delivered in required quality. TV00; Value of RE- not delivered in required quality. TP11; Price of RE+ from RR for 1st quarter of an hour - for the solution of imbalances in the CR. TP12; Price of RE- from RR for 1st quarter of an hour - for the solution of imbalances in the CR. TP21; Price of RE+ from RR for 2nd quarter of an hour - for the solution of imbalances in the CR. TP22; Price of RE- from RR for 2nd quarter of an hour - for the solution of imbalances in the CR. TP31; Price of RE+ from RR for 3rd quarter of an hour - for the solution of imbalances in the CR. TP32; Price of RE- from RR for 3rd quarter of an hour - for the solution of imbalances in the CR. TP41; Price of RE+ from RR for 4th quarter of an hour - for the solution of imbalances in the CR. TP42; Price of RE- from RR for 4th quarter of an hour - for the solution of imbalances in the CR. TP13; Price of RE+ from RR for 1st quarter of an hour - not provided for the solution of imbalances in the CR. TP14; Price of RE- from RR for 1st quarter of an hour - not provided for the solution of imbalances in the CR. TP23; Price of RE+ from RR for 2nd quarter of an hour - not provided for the solution of imbalances in the CR. TP24; Price of RE- from RR for 2nd quarter of an hour - not provided for the solution of imbalances in the CR. TP33; Price of RE+ from RR for 3rd quarter of an hour - not provided for the solution of imbalances in the CR. TP34; Price of RE- from RR for 3rd quarter of an hour - not provided for the solution of imbalances in the CR. TP43; Price of RE+ from RR for 4th quarter of an hour - not provided for the solution of imbalances in the CR. TP44; Price of RE- from RR for 4th quarter of an hour - not provided for the solution of imbalances in the CR. TP15; Price of RE+ for the 1st quarter of an hour - caused by activating the RR bid for the next quarter hour. TP16; Price of RE+ for the 1st quarter of an hour - caused by activating the RR bid for the next quarter hour. TP25; Price of RE+ for the 2nd quarter of an hour - caused by activating the RR bid for the next quarter hour. TP26; Price of RE+ for the 2nd quarter of an hour - caused by activating the RR bid for the next quarter hour. TP35; Price of RE+ for the 3rd quarter of an hour - caused by activating the RR bid for the next quarter hour. TP36; Price of RE+ for the 3rd quarter of an hour - caused by activating the RR bid for the next quarter hour. TP45; Price of RE+ for the 4th quarter of an hour - caused by activating the RR bid for the next quarter hour. TP46; Price of RE+ for the 4th quarter of an hour - caused by activating the RR bid for the next quarter hour. TP17; Price of RE+ for the 1st quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TP18; Price of RE- for the 1st quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TP27; Price of RE+ for the 2nd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TP28; Price of RE- for the 2nd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TP37; Price of RE+ for the 3rd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TP38; Price of RE- for the 3rd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TP47; Price of RE+ for the 4th quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TP48; Price of RE- for the 4th quarter of an hour - caused by deactivating the RR bid from the previous quarter hour. TP09; Price of RE+ not delivered in required quality. TP00; Price of RE- not delivered in required quality. | V1.59 |  |
| 4.10.2019 | SFVOTBILLING definition – the enumeration of the attribute atributu tradeType element TradeType was expanded: SV- Shipping on IM - consumption SV+ Shipping on IM - supply | V1.59 |  |
| 4.10.2019 | SFVOTBILLINGSUM definition – the enumeration of the attribute atributu tradeType element Dat was expanded: SV- Shipping on IM - consumption SV+ Shipping on IM - supply | V1.59 |  |
| 4.10.2019 | SFVOTCLAIM definition – the enumeration of the attribute atributu tradeType element TradeType was expanded: SV- Shipping on IM - consumption SV+ Shipping on IM - supply | V1.59 |  |
| 4.10.2019 | SFVOTCLAIMSUM definition – the enumeration of the attribute atributu tradeType element Dat was expanded: SV- Shipping on IM - consumption SV+ Shipping on IM - supply | V1.59 |  |
| 4.10.2019 | SFVOTCONFDATA definition – the enumeration of the attribute atributu tradeType element Dat was expanded: SV- Shipping on IM - consumption SV+ Shipping on IM - supply | V1.59 |  |
| 20.11.2019 | SFVOTBILLING definition – the enumeration of the attribute atributu tradeType element TradeType was expanded: TR+ - Positive RE from TERRE TR- Negative RE from TERRE | V1.60 |  |
| 20.11.2019 | SFVOTBILLINGSUM definition – the enumeration of the attribute atributu tradeType element Dat was expanded: TR+ - Positive RE from TERRE TR- Negative RE from TERRE | V1.60 |  |
| 20.11.2019 | SFVOTCLAIM definition – the enumeration of the attribute atributu tradeType element TradeType was expanded: TR+ - Positive RE from TERRE TR- Negative RE from TERRE | V1.60 |  |
| 20.11.2019 | SFVOTCLAIMSUM definition – the enumeration of the attribute atributu tradeType element Dat was expanded: TR+ - Positive RE from TERRE TR- Negative RE from TERRE | V1.60 |  |
| 20.11.2019 | SFVOTCONFDATA definition – the enumeration of the attribute atributu tradeType element Dat was expanded: TR+ - Positive RE from TERRE TR- Negative RE from TERRE | V1.60 |  |
| 20.11.2019 | ISOTEDATA definition – the enumeration of the attribute profile-role element ProfileData was expanded: XC71 Auxiliary Services Minus - RE- from TERRE - negative energy for positive amount XC72 Auxiliary Services Minus - RE- from TERRE - negative energy for negative amount (in case zero price)) XC73 Auxiliary Services Plus - RE+ from TERRE - positive energy for positive amount XC74 Auxiliary Services Plus - RE+ from TERRE - positive energy for negative amount (in case zero price) XP71 Auxiliary Services Minus - RE- from TERRE - negative amount of positive energy XP72 Auxiliary Services Minus - RE- from TERRE - negative amount of negative energy (in case zero price) XP73 Auxiliary Services Plus - RE+ from TERRE - positive amount of positive energy XP74 Auxiliary Services Plus - RE+ from TERRE - negative amount of positive energy (in case zero price) | V1.60 |  |
| 23.12.2019 | SFVOTTDD definition – new attribute region with use optional were added to Data element: region - Region (1 – E.ON Distribuce,2 – PRE Distribuce,3 – ČEZ Distribuce) | V1.61 |  |
| 23.12.2019 | SFVOTTDDNETT definition – new attribute region with use optional were added to Data element: region - Region (1 – E.ON Distribuce,2 – PRE Distribuce,3 – ČEZ Distribuce) | V1.61 |  |
| 8.1.2020 | MASTERDATA definition – the annotations of the anlart attribute of the OPM element were changed: enumeration; old annotation; new annotation. CSU; Generation / import; Production. CCO; Consumption / export; Consumption. CGP; Point of delivery DS - DS / DS - TS; Point of transfer DS-DS/TS. C04; Point of delivery - virtual PD for RMP; PD for RMP. C05; Virtual PD - Calculation per network; Calculation per network. C07; Virtula PDT for SofS and network; Summary point for BRP and network. | V1.61 |  |
| 8.1.2020 | CDSREQ definition - the enumeration of the attribute message-code root element was expanded by: 654 - Request for proportional aggregated ASC2 profile by supplier | V1.61 |  |
| 8.1.2020 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 655 - Error in request for proportional ASC2 prof by supplier | V1.61 |  |
| 8.1.2020 | CDSDATA definition - the enumeration of the attribute message-code root element was expanded by: 656 - Proportional aggregated ASC2 profile data by supplier | V1.61 |  |
| 21.1.2020 | RESPONSE definition – the enumeration of the attribute message-code root element was changed by: msg-code; old annotation; new annotation. 483; Error / confirmation set the limit at VDT / VT; Error / confirmation set the limit at VDT. 485; Error / confirmation by sending an automatic limit change VDT/VT; Error / confirmation by sending an automatic limit change VDT. | V1.62 |  |
| 21.1.2020 | SFVOTEXCHRATE definition – the annotations of the OteFinalVdtRate attribute of the ExchRates element were changed: old annotation – The OTE final rate value for IM/BalM trades new annotation - The OTE final rate value for IM trades | V1.62 |  |
| 21.1.2020 | SFVOTLIMITCHANGE definition - the enumeration of the type attribute of the Limit element were changed: old value – VDT/VT new value – VDT and the annotation of the msg-code atribut root element was changed: old annotation - Automatic change limit IM/BAlM for elektricity or IM for gas new annotation - Automatic change limit IM for elektricity or IM for gas | V1.62 |  |
| 21.1.2020 | SFVOTLIMITS definition - the enumeration of the type attribute of the UtilizationData-Data element were changed: old value VDT/VT – Utilization of limit for IM - electricity new value LIM_VDT - Utilization of limit for IM/BalM | V1.62 |  |
| 21.1.2020 | SFVOTLIMITS - the enumeration of the type attribute of the TotalsData-Data element were changed: old values limitIMBalM - Limit for IM/BalM electricity or IM gas utilizationIMBalM - Utilization of limit for IM/BalM electricity or IM gas freeResourcesIMBalM - Free limit IM/BalM elektricity or IM gas new values limitIM - Limit for IM electricity or IM gas utilizationIM - Utilization of limit for IM electricity or IM gas freeResourcesIM - Free limit IM elektricity or IM gas | V1.62 |  |
| 21.1.2020 | SFVOTLIMITS the annotations of the msg-code attribute of the root element were changed: old annotation 482 - Current value of limit IM/BalM electricity or IM gas new annotation 482 - Current value of limit IM electricity or IM gas | V1.62 |  |
| 21.1.2020 | SFVOTSETTINGS definition - the enumeration of the type attribute of the Limit element were changed: old value VDT/VT new value VDT | V1.62 |  |
| 29.4.2020 | CDSDATA – new optional attributes split-counter and split-last of root element were added: split-counter - Message order within response split-last - Last message | V1.63 |  |
| 29.4.2020 | CDSIDIS – new optional attributes split-counter and split-last of root element were added: split-counter - Message order within response split-last - Last message | V1.63 |  |
| 29.4.2020 | CDSCLAIM – new optional attributes split-counter and split-last of root element were added: split-counter - Message order within response split-last - Last message | V1.63 |  |
| 29.4.2020 | MASTERDATA - the annotation of the enumeration ARE of the reason attribute of the Activity element were changed: Old annotation: ARE – Odstoupení od smlouvy podle § 11a odst. 2 EZ a pokračování dodávek od stávajícího dodavatele New annotation: ARE – Odstoupení od smlouvy podle § 11a odst. 2 a 3 EZ (do termínu dle vyhlášky) a pokračování dodávek od stávajícího dodavatele | V1.63 |  |
| 27.8.2020 | New message SFVOTEMGSTATE, which is discussed in a separate chapter. | V1.64 |  |
| 27.8.2020 | New message SFVOTEMGSTATENETT, which is discussed in a separate chapter. | V1.64 |  |
| 27.8.2020 | New message SFVOTEMGSTATEINV, which is discussed in a separate chapter. | V1.64 |  |
| 27.8.2020 | CDSREQ definition - the enumeration of the attribute message-code root element was expanded by: 487; REQUEST FOR EMERGENCY STATE CZ. 490; REQUEST FOR EMERGENCY STATE - DAY-AHEAD MARKET. 493; REQUEST FOR EMERGENCY STATE INTRADAY MARKET. 496; REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING. 499; REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING. 502; REQUEST FOR STATE OF EMERGENCY – PAID PAYMENTS OTE. | V1.64 |  |
| 27.8.2020 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 489; EMERGENCY STATE CZ - ERROR, CONFIRMATION. 492; EMERGENCY STATE - DAY-AHEAD MARKET - ERROR, CONFIRMATION. 495; EMERGENCY STATE INTRADAY MARKET - ERROR, CONFIRMATION. 498; STATE OF EMERGENCY VERSION 1 - NETTING - ERROR, CONFIRMATION. 501; STATE OF EMERGENCY VERSION 2 - NETTING - ERROR, CONFIRMATION. 504; STATE OF EMERGENCY – PAID PAYMENTS OTE - ERROR, CONFIRMATION. | V1.64 |  |
| 27.10.2020 | SFVOTEMGSTATEINV definition - the Paymants element has been renamed to Paymant and moved to the Data element - the payment attribute of the Paymant element has been renamed to amount - the paymanteDate attribute of the Paymant element has been renamed to date - vesion and period attributes have been added to the Data element - the version attribute of the EmgState element has been deleted | V1.65 |  |
| 27.10.2020 | MASTERDATA - the annotation of the id attribute of the Party element was changed: Old annotation: Participant Id (EAN 18) New annotation: Participant Id (EAN 13) | V1.65 |  |
| 29.4.2021 | MASTERDATA definition -the enumeration of the attribute typsrc element OPM was expanded by: AGR - Aggregation block (Ancillary services only) | V1.66 |  |
| 7.6.2021 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 955 - (UMM_01a) Delay in final Market Coupling Results publication 956 - (UMM_02) Risk of Partial Decoulpilng for one or more interconnectors 957 - (UMM_03) One or more interconnectors decoupled 958 - Full decoupling known in adcance - detail info 959 - Decoupling CZ area - detail info 960 - Full decoupling - detail info 974 - (ExC_03a) Risk of Partial Decoupling 975 - (ExC_04a) Partial Decoupling – Reopening of the order books 976 - (ExC_05a) Partial Decoupling known in advance 977 - (ExC_06) Delay in Market Coupling Results publication due to curtailment at max price detected in Lithuania, Finland or Sweden | V1.67 |  |
| 25.10.2021 | MASTERDATA definition – new attributes of element OPM were added: opm-main - Main OPM typ-pm - Identification of the handover point for TVS | V1.68 |  |
| 25.10.2021 | MASTERDATA definition – new atributte of element Data was added: multiple-mp - More transfer point | V1.68 |  |
| 25.10.2021 | MASTERDATA definition - the enumeration of the attribute message-code root element was expanded by: 359 - List of handover points PDT | V1.68 |  |
| 25.10.2021 | CDSREQ definition - the enumeration of the attribute message-code root element was expanded by: 357 - Request for the list of delivery points of PDT | V1.68 |  |
| 25.10.2021 | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 358 - Acknowledgment / error in the request for list of handover points PDT | V1.68 |  |
| 5.1.2022 | CDSINVOICE defnition – the enumeration of the attribute item-type was expanded by: GU030 Other DSO, LDSO payments GU032 Single component price for grid service GU033 Price for exceeding of reserved power in transfer point And GU012 was renamed: GU012 Price for exceeding of reserved power in connection point | V1.69 |  |
| 12.1.2022 | CDSDATA definition – the enumeration of the attribute profile-role location element was expanded by: A122 - Aggr. value of generation (state of emergency) – microsources | V1.69 |  |
| 10.2.2022 | CDSDATA definition – the enumeration of the attribute profile-role location element was expanded by: PV11 Value of RE+ aFRR produced on a given unit in the 1st quarter of an hour PV21 Value of RE+ aFRR produced on a given unit in the 2nd quarter of an hour PV31 Value of RE+ aFRR produced on a given unit in the 3rd quarter of an hour PV41 Value of RE+ aFRR produced on a given unit in the 4th quarter of an hour PV12 Value of RE- aFRR produced on a given unit in the 1st quarter of an hour PV22 Value of RE- aFRR produced on a given unit in the 2nd quarter of an hour PV32 Value of RE- aFRR produced on a given unit in the 3rd quarter of an hour PV42 Value of RE- aFRR produced on a given unit in the 4th quarter of an hour PV13 Value of RE+ aFRR exported abroad in the 1st quarter of an hour PV23 Value of RE+ aFRR exported abroad in the 2nd quarter of an hour PV33 Value of RE+ aFRR exported abroad in the 3rd quarter of an hour PV43 Value of RE+ aFRR exported abroad in the 4th quarter of an hour PV14 Value of RE- aFRR exported abroad in the 1st quarter of an hour PV24 Value of RE- aFRR exported abroad in the 2nd quarter of an hour PV34 Value of RE- aFRR exported abroad in the 3rd quarter of an hour PV44 Value of RE- aFRR exported abroad in the 4th quarter of an hour PV15 Value of RE+ aFRR activation not performed in the 1st quarter of an hour PV25 Value of RE+ aFRR activation not performed in the 2nd quarter of an hour PV35 Value of RE+ aFRR activation not performed in the 3rd quarter of an hour PV45 Value of RE+ aFRR activation not performed in the 4th quarter of an hour PV16 Value of RE- aFRR activation not performed in the 1st quarter of an hour PV26 Value of RE- aFRR activation not performed in the 2nd quarter of an hour PV36 Value of RE- aFRR activation not performed in the 3rd quarter of an hour PV46 Value of RE- aFRR activation not performed in the 4th quarter of an hour PV09 Value of RE+ aFRR not delivered in the required quality PV00 Value of RE- aFRR not delivered in the required quality PP11 Price RE+ aFRR produced on the given unit in the 1st quarter PP21 Price RE+ aFRR produced on the given unit in the 2nd quarter PP31 Price RE+ aFRR produced on the given unit in the 3rd quarter PP41 Price RE+ aFRR produced on the given unit in the 4th quarter PP12 Price RE- aFRR produced on the given unit in the 1st quarter PP22 Price RE- aFRR produced on the given unit in the 2nd quarter PP32 Price RE- aFRR produced on the given unit in the 3rd quarter PP42 Price RE- aFRR produced on the given unit in the 4th quarter PP13 Price of RE+ aFRR exported abroad in the 1st quarter of an hour PP23 Price of RE+ aFRR exported abroad in the 2nd quarter of an hour PP33 Price of RE+ aFRR exported abroad in the 3rd quarter of an hour PP43 Price of RE+ aFRR exported abroad in the 4th quarter of an hour PP14 Price of RE- aFRR exported abroad in the 1st quarter of an hour PP24 Price of RE- aFRR exported abroad in the 2nd quarter of an hour PP34 Price of RE- aFRR exported abroad in the 3rd quarter of an hour PP44 Price of RE- aFRR exported abroad in the 4th quarter of an hour PP15 Price of RE+ aFRR activation not performed in the 1st quarter of an hour PP25 Price of RE+ aFRR activation not performed in the 2nd quarter of an hour PP35 Price of RE+ aFRR activation not performed in the 3rd quarter of an hour PP45 Price of RE+ aFRR activation not performed in the 4th quarter of an hour PP16 Price of RE- aFRR activation not performed in the 1st quarter of an hour PP26 Price of RE- aFRR activation not performed in the 2nd quarter of an hour PP36 Price of RE- aFRR activation not performed in the 3rd quarter of an hour PP46 Price of RE- aFRR activation not performed in the 4th quarter of an hour PP09 Price of RE+ aFRR not delivered in the required quality PP00 Price of RE- aFRR not delivered in the required quality SV11 Value of planned RE+ mFRR activation for the CR in the 1st quarter of an hour SV21 Value of planned RE+ mFRR activation for the CR in the 2nd quarter of an hour SV31 Value of planned RE+ mFRR activation for the CR in the 3rd quarter of an hour SV41 Value of planned RE+ mFRR activation for the CR in the 4th quarter of an hour SV12 Value of planned RE- mFRR activation for the CR in the 1st quarter of an hour SV22 Value of planned RE- mFRR activation for the CR in the 2nd quarter of an hour SV32 Value of planned RE- mFRR activation for the CR in the 3rd quarter of an hour SV42 Value of planned RE- mFRR activation for the CR in the 4th quarter of an hour SV13 Value of planned activation RE+ mFRR Abroad in the 1st quarter of on an hour SV23 Value of planned activation RE+ mFRR Abroad in the 2nd quarter of on an hour SV33 Value of planned activation RE+ mFRR Abroad in the 3rd quarter of on an hour SV43 Value of planned activation RE+ mFRR Abroad in the 4th quarter of on an hour SV14 Value of planned activation RE- mFRR Abroad in the 1st quarter of on an hour SV24 Value of planned activation RE- mFRR Abroad in the 2nd quarter of on an hour SV34 Value of planned activation RE- mFRR Abroad in the 3rd quarter of on an hour SV44 Value of planned activation RE- mFRR Abroad in the 4th quarter of on an hour SV15 Value planned RE+ in the 1st quarter - mFRR for the following quarter SV25 Value planned RE+ in the 2nd quarter - mFRR for the following quarter SV35 Value planned RE+ in the 3rd quarter - mFRR for the following quarter SV45 Value planned RE+ in the 4th quarter - mFRR for the following quarter SV16 Value planned RE- in the 1st quarter - mFRR for the following quarter SV26 Value planned RE- in the 2nd quarter - mFRR for the following quarter SV36 Value planned RE- in the 3rd quarter - mFRR for the following quarter SV46 Value planned RE- in the 4th quarter - mFRR for the following quarter SV17 Value planned RE+ in the 1st quarter - mFRR for the previous quarter SV27 Value planned RE+ in the 2nd quarter - mFRR for the previous quarter SV37 Value planned RE+ in the 3rd quarter - mFRR for the previous quarter SV47 Value planned RE+ in the 4th quarter - mFRR for the previous quarter SV18 Value planned RE- in the 1st quarter - mFRR for the previous quarter SV28 Value planned RE- in the 2nd quarter - mFRR for the previous quarter SV38 Value planned RE- in the 3rd quarter - mFRR for the previous quarter SV48 Value planned RE- in the 4th quarter - mFRR for the previous quarter SV09 Value planned activation RE+ aFRR not delivered in the required quality SV00 Value planned activation RE- aFRR not delivered in the required quality SP11 Price of the planned activation of RE+ mFRR for the CR in the 1st quarter SP21 Price of the planned activation of RE+ mFRR for the CR in the 2nd quarter SP31 Price of the planned activation of RE+ mFRR for the CR in the 3rd quarter SP41 Price of the planned activation of RE+ mFRR for the CR in the 4th quarter SP12 Price of the planned activation of RE- mFRR for the CR in the 1st quarter SP22 Price of the planned activation of RE- mFRR for the CR in the 2nd quarter SP32 Price of the planned activation of RE- mFRR for the CR in the 3rd quarter SP42 Price of the planned activation of RE- mFRR for the CR in the 4th quarter SP13 Price of planned activation RE+ mFRR Abroad in the 1st quarter SP23 Price of planned activation RE+ mFRR Abroad in the 2nd quarter SP33 Price of planned activation RE+ mFRR Abroad in the 3rd quarter SP43 Price of planned activation RE+ mFRR Abroad in the 4th quarter SP14 Price of planned activation RE- mFRR Abroad in the 1st quarter SP24 Price of planned activation RE- mFRR Abroad in the 2nd quarter SP34 Price of planned activation RE- mFRR Abroad in the 3rd quarter SP44 Price of planned activation RE- mFRR Abroad in the 4th quarter SP15 Сena RE+ in 1st quarter - mFRR for the next quarter hour SP25 Сena RE+ in 2nd quarter - mFRR for the next quarter hour SP35 Сena RE+ in 3rd quarter - mFRR for the next quarter hour SP45 Сena RE+ in 4th quarter - mFRR for the next quarter hour SP16 Сena RE- 1st quarter - mFRR for the next quarter hour SP26 Сena RE- 2nd quarter - mFRR for the next quarter hour SP36 Сena RE- 3rd quarter - mFRR for the next quarter hour SP46 Сena RE- 4th quarter - mFRR for the next quarter hour SP17 Сena RE+ in 1st quarter - mFRR for the previous quarter hour SP27 Сena RE+ in 2nd quarter - mFRR for the previous quarter hour SP37 Сena RE+ in 3rd quarter - mFRR for the previous quarter hour SP47 Сena RE+ in 4th quarter - mFRR for the previous quarter hour SP18 Сena RE- in 1st quarter - mFRR for the previous quarter hour SP28 Сena RE- in 2nd quarter - mFRR for the previous quarter hour SP38 Сena RE- in 3rd quarter - mFRR for the previous quarter hour SP48 Сena RE- in 4th quarter - mFRR for the previous quarter hour SP09 Price planned activation RE+ aFRR not delivered in the required quality SP00 Price planned activation RE- aFRR not delivered in the required quality DV11 Value of direct activation of RE+ mFRR for the CR in the 1st quarter DV21 Value of direct activation of RE+ mFRR for the CR in the 2nd quarter DV31 Value of direct activation of RE+ mFRR for the CR in the 3rd quarter DV41 Value of direct activation of RE+ mFRR for the CR in the 4th quarter DV12 Value of direct activation of RE- mFRR for the CR in the 1st quarter DV22 Value of direct activation of RE- mFRR for the CR in the 2nd quarter DV32 Value of direct activation of RE- mFRR for the CR in the 3rd quarter DV42 Value of direct activation of RE- mFRR for the CR in the 4th quarter DV13 Value of direct activation RE+ mFRR Abroad in the 1st quarter DV23 Value of direct activation RE+ mFRR Abroad in the 2nd quarter DV33 Value of direct activation RE+ mFRR Abroad in the 3rd quarter DV43 Value of direct activation RE+ mFRR Abroad in the 4th quarter DV14 Value of direct activation RE+ mFRR Abroad in the 1st quarter DV24 Value of direct activation RE+ mFRR Abroad in the 2nd quarter DV34 Value of direct activation RE+ mFRR Abroad in the 3rd quarter DV44 Value of direct activation RE+ mFRR Abroad in the 4th quarter DV15 Value of direct RE+ in the 1st quarter - mFRR for the following district DV25 Value of direct RE+ in the 2nd quarter - mFRR for the following district DV35 Value of direct RE+ in the 3rd quarter - mFRR for the following district DV45 Value of direct RE+ in the 4th quarter - mFRR for the following district DV16 Value of direct RE- in the 1st quarter - mFRR for the following district DV26 Value of direct RE- in the 2nd quarter - mFRR for the following district DV36 Value of direct RE- in the 3rd quarter - mFRR for the following district DV46 Value of direct RE- in the 4th quarter - mFRR for the following district DV17 Value of direct RE+ in the 1st quarter - mFRR for the previous district DV27 Value of direct RE+ in the 2nd quarter - mFRR for the previous district DV37 Value of direct RE+ in the 3rd quarter - mFRR for the previous district DV47 Value of direct RE+ in the 4th quarter - mFRR for the previous district DV18 Value of direct RE- in the 1st quarter - mFRR for the previous district DV28 Value of direct RE- in the 2nd quarter - mFRR for the previous district DV38 Value of direct RE- in the 3rd quarter - mFRR for the previous district DV48 Value of direct RE- in the 4th quarter - mFRR for the previous district DV09 Price direct activation RE+ aFRR not delivered in the required quality DV00 Price direct activation RE- aFRR not delivered in the required quality DP11 Price of direct activation of RE+ mFRR for the CR in the 1st quarter DP21 Price of direct activation of RE+ mFRR for the CR in the 2nd quarter DP31 Price of direct activation of RE+ mFRR for the CR in the 3rd quarter DP41 Price of direct activation of RE+ mFRR for the CR in the 4th quarter DP12 Price of direct activation of RE- mFRR for the CR in the 1st quarter DP22 Price of direct activation of RE- mFRR for the CR in the 2nd quarter DP32 Price of direct activation of RE- mFRR for the CR in the 3rd quarter DP42 Price of direct activation of RE- mFRR for the CR in the 4th quarter DP13 Price of direct activation RE+ mFRR Abroad in the 1st quarter DP23 Price of direct activation RE+ mFRR Abroad in the 2nd quarter DP33 Price of direct activation RE+ mFRR Abroad in the 3rd quarter DP43 Price of direct activation RE+ mFRR Abroad in the 4th quarter DP14 Price of direct activation RE- mFRR Abroad in the 1st quarter DP24 Price of direct activation RE- mFRR Abroad in the 2nd quarter DP34 Price of direct activation RE- mFRR Abroad in the 3rd quarter DP44 Price of direct activation RE- mFRR Abroad in the 4th quarter DP15 Direct RE+ price in the 1st quarter - mFRR for the following district DP25 Direct RE+ price in the 2nd quarter - mFRR for the following district DP35 Direct RE+ price in the 3rd quarter - mFRR for the following district DP45 Direct RE+ price in the 4th quarter - mFRR for the following district DP16 Direct RE- price in the 1st quarter - mFRR for the following district DP26 Direct RE- price in the 2nd quarter - mFRR for the following district DP36 Direct RE- price in the 3rd quarter - mFRR for the following district DP46 Direct RE- price in the 4th quarter - mFRR for the following district DP17 Direct RE+ price in the 1st quarter - mFRR for previous district DP27 Direct RE+ price in the 2nd quarter - mFRR for previous district DP37 Direct RE+ price in the 3rd quarter - mFRR for previous district DP47 Direct RE+ price in the 4th quarter - mFRR for previous district DP18 Direct RE- price in the 1st quarter - mFRR for previous district DP28 Direct RE- price in the 2nd quarter - mFRR for previous district DP38 Direct RE- price in the 3rd quarter - mFRR for previous district DP48 Direct RE- price in the 4th quarter - mFRR for previous district DP09 Price direct activation RE+ mFRR not delivered in the required quality DP00 Price direct activation RE- mFRR not delivered in the required quality EV01 Value of RE+ cross-border assistance EV11 Value of RE+ cross-border assistance in the 1st quarter EV21 Value of RE+ cross-border assistance in the 2nd quarter EV31 Value of RE+ cross-border assistance in the 3rd quarter EV41 Value of RE+ cross-border assistance in the 4th quarter EV02 Value of RE- cross-border assistance EV12 Value of RE- cross-border assistance in the 1st quarter EV22 Value of RE- cross-border assistance in the 2nd quarter EV32 Value of RE- cross-border assistance in the 3rd quarter EV42 Value of RE- cross-border assistance in the 4th quarter EP01 Price of RE+ cross-border assistance EP11 Price of RE+ cross-border assistance in the 1st quarter EP21 Price of RE+ cross-border assistance in the 2nd quarter EP31 Price of RE+ cross-border assistance in the 3rd quarter EP41 Price of RE+ cross-border assistance in the 4th quarter EP02 Price of RE- cross-border assistance EP12 Price of RE- cross-border assistance in the 1st quarter EP22 Price of RE- cross-border assistance in the 2nd quarter EP32 Price of RE- cross-border assistance in the 3rd quarter EP42 Price of RE- cross-border assistance in the 4th quarter | V1.70 |  |
| 10.2.2022 | MASTERDATA definition – the enumeration of the attribute typsrc OPM element was expanded by: MAR Virtual PDT mFRR for MARI market (used only by TSO) PIC Virtual PDT aFRR for PICASSO market (used only by TSO) GCC Cross-border assistance | V1.70 |  |
| 28.2.2022 | ISOTEDATA definition - the enumeration of the attribute profile-role ProfileData element was expanded: - XC75 to XC93 - XP75 to CP93 | V1.71 |  |
| 28.2.2022 | Definition of messages: SFVOTCONFDATA SFVOTBILLING SFVOTBILLINGSUM SFVOTCLAIM SFVOTCLAIMSUM The enumeration of attribute tradeType element Data was expanded: PC- Negative RE from PICASSO PC+ Positive RE from PICASSO MA- Negative RE from MARI scheduled activation MA+ Positive RE from MARI scheduled activation MR- Negative RE from MARI direct activation MR+ Positive RE from MARI direct activation | V1.71 |  |
| 28.4.2022 | MASTERDATA definition – the enumeration of the attribute rejection-reason of element Data was expdaned: 06 Negative control of the financial security of the new SS | V1.72 |  |
| 27.5.2022 | A new ETSO definition has been added: capacity-document-ote-v3r0.xsd | V1.73 |  |
|  | The ETSO definition has been deleted: capacity-document-v4r0.xsd |  |  |
| 21.7.2022 | MASTERDATA definition – the enumeration of the attribute type-pm of element OPM was expanded: 02 - Company with rate DXXd And this attribute was also renamed: Identification of transfer point type | V1.74 |  |
| 26.10.2022 | MASTERDATA definition – the enumeration of the attribute type-pm of element OPM was expanded: 03 - Point of delivery for power supply of electric traction | V1.75 |  |
| 30.11.2022 | MASTERDATA definition – the enumeration of the attribute chs-reason of element Data was expanded: R0 – Start of deliveries to the PD of the newly connected customer in DPI mode S5 - Commencement of deliveries to PDT after DPI | V1.76 |  |
|  | MASTERDATA definition – the enumeration of the attribute contract-negotiation-type of element Data was expanded: Z - Through an intermediary |  |  |
|  | MASTERDATA definition – the enumeration of the attribute rejection-reason of element Data was expanded: 53 – PDT does not exit DPI mode |  |  |
|  | MASTERDATA definition – new atributtes of element OPM was added: opm-lead - Leading PDT ecomm - Data of the energy community (Resource type, Inst. output, Proc. allocation) |  |  |
|  | MASTERDATA definition – the enumeration of the attribute reason of element Activity was expanded: ARH - No billing address, identification data |  |  |
|  | CDSIDIS definition – new atributtes of element Data was added: sav-vt - Summary value of savings in the VT tariff sav-nt - Summary value of savings in the NT tariff |  |  |
|  | CDSDATA definition – the enumeration of the attribute profile-role of element Location was expanded: CI12 - Cumulative historical consumption (interval values) |  |  |
|  | CDSDATA definition - the enumeration of the attribute message-code root element was expanded by: 211 - Historical max. monthly consumption (MSMAX) |  |  |
|  | CDSREQ definition - the enumeration of the attribute message-code root element was expanded by: 110 - Request for historical maximum monthly consumption (MSMAX) 367 - Request for a list of PDT in the community |  |  |
|  | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 210 - Error in request for historical maximum monthly consumption (MSMAX) 368 - Confirmation/error in the request to enumerate PDTs in the community |  |  |
|  | MASTERDATA definition - the enumeration of the attribute message-code root element was expanded by: 369 - List of PDTs in the community |  |  |
| 10.1.2023 | CDSDATA definition - the enumeration of the attribute message-code root element was expanded by: 683 - B measurement history for B measurement history for max. 12 previous months | V1.77 |  |
|  | CDSREQ definition - the enumeration of the attribute message-code root element was expanded by: 681 - Request for a history of B measurements for a maximum of 12 previous months |  |  |
|  | RESPONSE definition - the enumeration of the attribute message-code root element was expanded by: 682 - Error in the request for B measurement history for a maximum of 12 previous months |  |  |
|  | CDSDATA definition – the enumeration of the attribute profile-role of element Location was expanded: CH12 - B measurement history for B measurement history for max. 12 previous months |  |  |
| 23.5.2023 | CDSREQ definition – new atributtes of element Location was added: duf-status - Billing information | V1.78 |  |
|  | CDIDIS definition the enumeration of the attribute status of element OPM was expanded: CNF – Billing information |  |  |
| 28.8.2023 | CDSDATA definition – the enumeration of the attribute profile-role of element Location was expanded: EK51 - Value of RE+ compensation profile EK52 - Value of RE- compensation profile | V1.79 |  |
|  | MASTERDATA definition – the enumeration of the attribute typsrc of element OPM was expanded: SDP - Virtual PDT for SDP (used only by TSO) |  |  |
|  | MASTERDATA definition – the enumeration of the attribute typ-pm of element OPM was expanded: 04 – Compensation RE |  |  |
| 4.12.2023 | MASTERDATA definition - added attributes to OPM element: rs3 – regulation stage 3 (%) rs4 – regulation stage 4 (%) rs5 – regulation stage 5 (%) rs6 – regulation stage 6 (%) rs-sav-min - safety minimum in kW rs-t-delay – time delay rs-eliminate - regulation stages eliminate | V1.80 |  |
|  | MASTERDATA definition - changing the OPM element micro-source attribute label: micro-source - Production under 50 kW |  |  |
| 15.1.2024 | CDSDATA definition – the element Location was expanded by these optional attributes: resolution - Interval unit - Unit relevant for quantity | V1.81 |  |
|  | CDSDATA definition – changed the obligation of these attributes of the Data element: date-time-to - newly optional unit – newly optional status – newly optional |  |  |
| 29.4.2024 | CDSDATA definition – enumeration of attribute profile-role element Location was changed: Adding new enumeration items: TDA1; Metered temperature - temperature area 1. TDA2; Metered temperature - temperature area 2. TDA3; Metered temperature - temperature area 3. TDA4; Metered temperature - temperature area 4. TDA5; Metered temperature - temperature area 5. TDA6; Metered temperature - temperature area 6. TDA7; Metered temperature - temperature area 7. TDA8; Metered temperature - temperature area 8. TDA9; Metered temperature - temperature area 9. TDB1; Flat metered temperature - temperature area 1. TDB2; Flat metered temperature - temperature area 2. TDB3; Flat metered temperature - temperature area 3. TDB4; Flat metered temperature - temperature area 4. TDB5; Flat metered temperature - temperature area 5. TDB6; Flat metered temperature - temperature area 6. TDB7; Flat metered temperature - temperature area 7. TDB8; Flat metered temperature - temperature area 8. TDB9; Flat metered temperature - temperature area 9. TDN1; Normal temperature - temperature area 1. TDN2; Normal temperature - temperature area 2. TDN3; Normal temperature - temperature area 3. TDN4; Normal temperature - temperature area 4. TDN5; Normal temperature - temperature area 5. TDN6; Normal temperature - temperature area 6. TDN7; Normal temperature - temperature area 7. TDN8; Normal temperature - temperature area 8. TDN9; Normal temperature - temperature area 9. TDM1; Flat normal temperature - temperature area 1. TDM2; Flat normal temperature - temperature area 2. TDM3; Flat normal temperature - temperature area 3. TDM4; Flat normal temperature - temperature area 4. TDM5; Flat normal temperature - temperature area 5. TDM6; Flat normal temperature - temperature area 6. TDM7; Flat normal temperature - temperature area 7. TDM8; Flat normal temperature - temperature area 8. TDM9; Flat normal temperature - temperature area 9. TDP1; Predicted temperature - temperature area 1. TDP2; Predicted temperature - temperature area 2. TDP3; Predicted temperature - temperature area 3. TDP4; Predicted temperature - temperature area 4. TDP5; Predicted temperature - temperature area 5. TDP6; Predicted temperature - temperature area 6. TDP7; Predicted temperature - temperature area 7. TDP8; Predicted temperature - temperature area 8. TDP9; Predicted temperature - temperature area 9. TDQ1; Flat predicted temperature - temperature area 1. TDQ2; Flat predicted temperature - temperature area 2. TDQ3; Flat predicted temperature - temperature area 3. TDQ4; Flat predicted temperature - temperature area 4. TDQ5; Flat predicted temperature - temperature area 5. TDQ6; Flat predicted temperature - temperature area 6. TDQ7; Flat predicted temperature - temperature area 7. TDQ8; Flat predicted temperature - temperature area 8. TDQ9; Flat predicted temperature - temperature area 9. To delete enumeration items: TA1 Metered temperature - temperature area 1. TA2 Metered temperature - temperature area 2. TA3 Metered temperature - temperature area 3. TA4 Metered temperature - temperature area 4. TA5 Metered temperature - temperature area 5. TA6 Metered temperature - temperature area 6. TA7 Metered temperature - temperature area 7. TA8 Metered temperature - temperature area 8. TA9 Metered temperature - temperature area 9. TB1 Flat metered temperature - temperature area 1. TB2 Flat metered temperature - temperature area 2. TB3 Flat metered temperature - temperature area 3. TB4 Flat metered temperature - temperature area 4. TB5 Flat metered temperature - temperature area 5. TB6 Flat metered temperature - temperature area 6. TB7 Flat metered temperature - temperature area 7. TB8 Flat metered temperature - temperature area 8. TB9 Flat metered temperature - temperature area 9. TM1 Flat normal temperature - temperature area 1. TM2 Flat normal temperature - temperature area 2. TM3 Flat normal temperature - temperature area 3. TM4 Flat normal temperature - temperature area 4. TM5 Flat normal temperature - temperature area 5. TM6 Flat normal temperature - temperature area 6. TM7 Flat normal temperature - temperature area 7. TM8 Flat normal temperature - temperature area 8. TM9 Flat normal temperature - temperature area 9. TN1 Normal temperature - temperature area 1. TN2 Normal temperature - temperature area 2. TN3 Normal temperature - temperature area 3. TN4 Normal temperature - temperature area 4. TN5 Normal temperature - temperature area 5. TN6 Normal temperature - temperature area 6. TN7 Normal temperature - temperature area 7. TN8 Normal temperature - temperature area 8. TN9 Normal temperature - temperature area 9. TP1 Predicted temperature - temperature area 1. TP2 Predicted temperature - temperature area 2. TP3 Predicted temperature - temperature area 3. TP4 Predicted temperature - temperature area 4. TP5 Predicted temperature - temperature area 5. TP6 Predicted temperature - temperature area 6. TP7 Predicted temperature - temperature area 7. TP8 Predicted temperature - temperature area 8. TP9 Predicted temperature - temperature area 9. TQ1 Flat predicted temperature - temperature area 1. TQ2 Flat predicted temperature - temperature area 2. TQ3 Flat predicted temperature - temperature area 3. TQ4 Flat predicted temperature - temperature area 4. TQ5 Flat predicted temperature - temperature area 5. TQ6 Flat predicted temperature - temperature area 6. TQ7 Flat predicted temperature - temperature area 7. TQ8 Flat predicted temperature - temperature area 8. TQ9 Flat predicted temperature - temperature area 9. | V1.82 |  |

| 21.5.2024 | There has been a redesign of sharing the XSD and WSDL files associated with the external interfaces word documentation (this document). XSD and WSDL zip files are now common for all electricity, gas and power commodities. The matrix which XSD and WSDL belong to which commodity is contained in the .xls file in the zip file with the XSD files. The file name is "XSD and WSDL lists by commodity.xlsx". The generated documentation of XSD files for individual messages is now listed only in the directory of the given message in the "DOC" directory. As in the past, you can always access the directories of individual messages by clicking on the link provided in the text of the given message. | V2.001 |
| --- | --- | --- |
|  | Definition SFVOTCONFDATA, SFVOTBILLING, SFVOTBILLINGSUM, SFVOTCLAIM, SFVOTCLAIMSUM – the enumeration of the attribute tradeType of the Data element has been extended by values: DA+ Intraday auctions - supply DA- Intraday auctions - consumption SA+ Shipping on IDA - supply SA- Shipping on IDA - consumption PP9 Fees - IDA |  |
|  | Definition SFVOTLIMITS – extended enumeration of the Data element type attribute: IDA Intraday auctions - electricity |  |
|  | Definition SFVOTEXCHRATE –added a new OteFinalIdaRate attribute of the ExchRates element. |  |
|  | Definition SFVOTEMGSTATE – extended enumeration of the tradeType attribute of the Data element: EMA - Emergency state IDA |  |
|  | Definition SFVOTEMGSTATENETT – changing the enumeration value of the tradeType attribute of the data element: New: EMV+EMD+EMA - I/E z DT, VDT a IDA v SN Old: EMV+EMD - I/E z DT a VDT v SN |  |
|  | Definition SFVOTREQ – the enumeration of the attribute message-code root element was expanded by: 505 -Request for emergency state - intraday auctions |  |
|  | Definition SFVOTEMGSTATE – the enumeration of the attribute message-code root element was expanded by: 506 - Emergency state - intraday auctions |  |
|  | Definition RESPONSE – the enumeration of the attribute message-code root element was expanded by: 507 export/import settlement IDA - Confirmation/error E52 Confirmation/error message E15 Confirmation/error message |  |
|  | Definition MASTERDATA– the enumeration of the attribute message-code root element was expanded by: E01 service provider information E12 information about masterdata E11 registration of EAN to sharing group E53 EAN masterdata information 383 PDT Master data - Sharing group |  |
|  | Definition MASTERDATA – added new optional OPM element attributes: sg-id - Číslo skupiny sdílení (platné od 1.7.2024) sg-type - Typ sdílení (platné od 1.7.2024) katm - kategorie měření (platné od 1.7.2024) cert-svr - EAN je součástí agregačního bloku (platné od 1.7.2024) v-customer - příznak označující zranitelného zákazníka (platné od 1.7.2024) |  |
|  | Definice zprávy CDSIDIS – added new optional OPM element attributes: qty-ash Consumption for billing of electricity supply taking into account shared electricity (kWh) (from 1.7.2024) qty-ashNT Consumption for billing of electricity supply taking into account shared electricity Nt tariff (kWh) (from 1.7.2024) qty-ashVT Consumption for billing of electricity supply taking into account shared electricity VT tariff (kWh) (from 1.7.2024) |  |
|  | New definition RESPONSEEDC described in the chapter 5.35 |  |
|  | Definition CDSREQ– – the enumeration of the attribute message-code root element was expanded by: E51 EDC request for masterdata |  |
|  | Definition CDSINVOICE – enumeration of atributte item-type of element BillingItem was expanded: GU034 non-network infrastructure fee GU035 total consumption considering sharing VT GU036 total consumption considering sharing NT GU037 total consumption considering sharing |  |
|  | CDSDATA Definition - enumeration of atributte profile-role of element Location was expanded: PV1; Value of RE+ aFRR produced on a given unit. PV2; Value of RE- aFRR produced on a given unit. PV3; Value of RE+ aFRR exported abroad. PV4; Value of RE- aFRR exported abroad. PV5; Value of RE+ aFRR activation not performed. PV6; Value of RE- aFRR activation not performed. PV9; Value of RE+ aFRR not delivered in the required quality. PV0; Value of RE- aFRR not delivered in the required quality. PP1; Price RE+ aFRR produced on the given unit. PP2; Price RE- aFRR produced on the given unit. PP3; Price of RE+ aFRR exported abroad. PP4; Price of RE- aFRR exported abroad. PP5; Price of RE+ aFRR activation not performed. PP6; Price of RE- aFRR activation not performed. PP9; Price of RE+ aFRR not delivered in the required quality. PP0; Price of RE- aFRR not delivered in the required quality. SV1; Value of planned RE+ mFRR activation for the CR. SV2; Value of planned RE- mFRR activation for the CR. SV3; Value of planned activation RE+ mFRR Abroad. SV4; Value of planned activation RE- mFRR Abroad. SV5; Value planned RE+ mFRR for the following quarter hour. SV6; Value planned RE- mFRR for the following quarter hour. SV7; Value planned RE+ mFRR for the previous quarter hour. SV8; Value planned RE- mFRR for the previous quarter hour. SV9; Value planned activation RE+ aFRR not delivered in the required quality. SV0; Value planned activation RE- aFRR not delivered in the required quality. SP1; Price of the planned activation of RE+ mFRR for the CR. SP2; Price of the planned activation of RE- mFRR for the CR. SP3; Price of planned activation RE+ mFRR Abroad. SP4; Price of planned activation RE- mFRR Abroad. SP5; Сena RE+ mFRR for the next quarter hour. SP6; Сena RE- mFRR for the next quarter hour. SP7; Сena RE+ mFRR for the previous quarter hour. SP8; Сena RE- mFRR for the previous quarter hour. SP9; Price planned activation RE+ aFRR not delivered in the required quality. SP0; Price planned activation RE- aFRR not delivered in the required quality. DV1; Value of direct activation of RE+ mFRR for the CR. DV2; Value of direct activation of RE- mFRR for the CR. DV3; Value of direct activation RE+ mFRR Abroad. DV4; Value of direct activation RE+ mFRR Abroad. DV5; Value of direct RE+ mFRR for the following quarter hour. DV6; Value of direct RE- mFRR for the following quarter hour. DV7; Value of direct RE+ mFRR for the previous quarter hour. DV8; Value of direct RE- mFRR for the previous quarter hour. DV9; Price direct activation RE+ aFRR not delivered in the required quality. DV0; Price direct activation RE- aFRR not delivered in the required quality. DP1; Price of direct activation of RE+ mFRR for the CR. DP2; Price of direct activation of RE- mFRR for the CR. DP3; Price of direct activation RE+ mFRR Abroad. DP4; Price of direct activation RE- mFRR Abroad. DP5; Direct RE+ price mFRR for the following quarter hour. DP6; Direct RE- price mFRR for the following quarter hour. DP7; Direct RE+ price mFRR for previous quarter hour. DP8; Direct RE- price mFRR for previous quarter hour. DP9; Price direct activation RE+ mFRR not delivered in the required quality. DP0; Price direct activation RE- mFRR not delivered in the required quality. EV1; Value of RE+ cross-border assistance. EV2; Value of RE- cross-border assistance. EP1; Price of RE+ cross-border assistance. EP2; Price of RE- cross-border assistance. TV1; Value of RE+ from RR - for the solution of imbalances in the CR. TV2; Value of RE- from RR - for the solution of imbalances in the CR. TV3; Value of RE+ from RR - not provided for the solution of imbalances in the CR. TV4; Value of RE- from RR - not provided for the solution of imbalances in the CR. TV5; Value of RE+ from RR - caused by activating the RR bid for the next quarter hour. TV6; Value of RE+ from RR - caused by activating the RR bid for the next quarter hour. TV7; Value of RE+ from RR - caused by deactivating the RR bid from the previous quarter hour. TV8; Value of RE- from RR - caused by deactivating the RR bid from the previous quarter hour. TV9; Value of RE+ from RR - not delivered in required quality. TV0; Value of RE- from RR - not delivered in required quality. TP1; Price of RE+ from RR - for the solution of imbalances in the CR. TP2; Price of RE- from RR - for the solution of imbalances in the CR. TP3; Price of RE+ from RR - not provided for the solution of imbalances in the CR. TP4; Price of RE- from RR - not provided for the solution of imbalances in the CR. TP5; Price of RE+ from RR - caused by activating the RR bid for the next quarter hour. TP6; Price of RE+ from RR - caused by activating the RR bid for the next quarter hour. TP7; Price of RE+ from RR - caused by deactivating the RR bid from the previous quarter hour. TP8; Price of RE- from RR - caused by deactivating the RR bid from the previous quarter hour. TP9; Price of RE+ from RR - not delivered in required quality. TP0; Price of RE- from RR - not delivered in required quality. S11; measurement after respecting of sharing-supply. S12; measurement after respecting of sharing-consuption. |  |
|  | Definition ISOTEDATA, ISOTEREQ, RESPONSE - numerous changes within the transition to 15 minutes, current definition of message formats see document D1.4.4 IS OTE automatic communication interface. |  |
| 3.7.2024 | Definition CDSIDIS - modification of the qty attribute in the complex type item_type. The qty attribute now has 5 decimal places. He originally had 4. | V2.002 |
| 17.7.2024 | Definition RESPONSEEDC – added new optional Reason element attribute: OPM-id - PDT id for which the message is relevant |  |
|  | Definition CDSDATA – attribute qty - anotation was changed: Old: Amount - max. 1 decimal number (not an exponential form) New: Amount to a maximum of 2 decimal places except for message 656, which is to 6 decimal places (not in exponential form) |  |
| 29.7.2024 | Definition CDSDATA – enumeration profile-role atributu of element Location was corrected: F14 - Block 34 - Metered values - RE- | V2.003 |
|  | Definition CDSIDIS – anotation of attribute am-oteservice of element DataMO was changed: Old description: Settlement operations payment of Electricity Market Operator [Kč excluding VAT] New description: Until 30.6.2024:Settlement operations payment of Electricity Market Operator [Kč excluding VAT] from 1.7.2024:non-network infrastructure payment [Kč excluding VAT] |  |
|  | Definition CDSLDSREPORT – simple type qty_type was changed: Old pattern and annotation: "-?\d+(\.\d{1,3})?" Decimal number - max. 3 decimal places (not an exponential form) New pattern and annotation: "-?\d+(\.\d{1,5})?" Decimal number - max. 5 decimal places (not an exponential form) |  |
| 27.8.2024 | Definition ISOTEDATA – attribute value of element Data - new pattern definition. Number with 5 decimal places. | V2.004 |
|  | CDSDATA Definition - enumeration of atributte profile-role of element Location was expanded: S91 Substitutional values of delivery taking into acount sharing S92 Substitutional values of consuption taking into acount sharing |  |
| 30.9.2024 | Definition RESPONSEEDC – added new optional Reason element attributes: date-from - Start delivery day of settlement period (for mesage-code= 982 only) date-to - End delivery day of settlement period (for mesage-code= 982 only) data-timestamp - Timestamp of the start of the metering data aggregation process (for mesage-code= 982 and version=2,3,4,5,6,15 only) | V2.005 |
| 25.10.2024 | Definition CDSREQ – added new optional Location element attribute: katm - Category of measurement. | V2.006 |
| 25.11.2024 | Definition CDSREQ – added new optional Location element attribute: sg-id – Share group number sg-type – Sharing type Enumerations sg-type: 01 – Community 02 – Customer/Producer for themselves, another customer, or within a single transfer point 03 – Main Distribution Board | V2.007 |
|  | Definition MASTERDATA – added enumeration for sg-type attribute of OPM element: 01 – Community 02 – Customer/Producer for themselves, another customer, or within a single transfer point 03 – Main Distribution Board |  |
| 22.1.2025 | Definition CDSREQ – the enumeration of the attribute msg_code root element was expanded by: 381 - Request for master data of the OPM sharing group | V2.008 |
|  | Definition RESPONSE – the enumeration of the attribute msg_code root element was expanded by: 382 - Error Message for Request for OPM Sharing Master Data |  |
| 28.2.2025 | Definition CDSCLAIM – modification of the Attachment element. Original setting: mixed true (could contain anything) New setting: base64Binary | V2.009 |
| 9.5.2025 | Definition of the ISOTEREQ – modification of the annotation for the enumeration of the attribute in the root element message_code: Original value: 944 - Request for daily market marginal prices and quantity 947 - IDA - Request for marginal prices New value: 944 - DM - Request for marginal prices and quantity 947 - IDA - Request for marginal prices and quantity | V2.010 |
|  | Definition of the RESPONSE – modification of the annotation for the enumeration of the attribute in the root element message_code: Original value: 945 - Confirmation / error in request for DM marginal prices 948 - IDA - Confirmation / error in request for marginal prices New value: 945 - DM - Confirmation / error in request for marginal prices and quantity 948 - IDA - Confirmation / error in request for marginal prices and quantity |  |
|  | Definition of the ISOTEDATA – modification and extension of the annotation for the enumeration of the attribute in the root element message_code: Original value: 946 - Marginal prices and quantity DM 949 - Marginal prices and quantity IDA New value: 946 - DM - Marginal prices and quantity 949 - IDA - Marginal prices and quantity |  |
|  | Definition ISOTEDATA – added enumeration for profile-role attribute of ProfileData element: SC60 - Total traded purchase quantity in a given delivery period SC61 – Total traded sales quantity in a given delivery period SC62 – The total traded quantity of the participant's purchase in a given delivery period SC63 - The total traded quantity of the participant's sales in a given delivery period |  |
| 14.8.2025 | Definition MASTERDATA – added new optional opm element attribute: zue – Energy storage device zue-pwr – Installed power of the energy storage device zue-cap – Capacity of the electricity storage device | V2.011 |
|  | Definition MASTERDATA – added enumeration for typsrc attribute of OPM element: ZUE - Energy storage device |  |
| 29.10.2025 | Definition ISOTEDATA – added new optional Data element attribute: emergency-state – Emergency state flag Enumerations emergency-state: ES – Emergency state PES – Partial emergency state | V2.012 |
| 8.12.2025 | MASTERDATA - the annotation of the enumeration ARE of the reason attribute of the Activity element were changed: Old annotation: ARE – Odstoupení od smlouvy podle § 11a odst. 2 a 3 EZ (do termínu dle vyhlášky) a pokračování dodávek od stávajícího dodavatele New annotation: Odstoupení od smlouvy dle § 11b odst. 2 nebo výpověď smlouvy dle § 11b odst. 1 nebo § 11o EZ a pokrač. dodávky stáv. dodav. |  |
| 18.12.2025 | Definition of SFVOTREQ – the description of the enumerations of the message-code attribute of the SFVOTREQ root element has been modified. Old descriptions: - 496 – REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - 499 – REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING New descriptions: - 496 – REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT SRBP - 499 – REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP | V2.013 |
|  | Definition of SFVOTREQ – new enumerations of the message-code attribute of the SFVOTREQ root element. - 514 – REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT SRBP - 517 – REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP |  |
|  | Definition of SFVOTEMGSTATENETT – the description of the enumerations of the message-code attribute of the SFVOTEMGSTATENETT root element has been modified. Old descriptions: - 497 – EMERGENCY STATE VERSION 1 – NETTING - 500 – EMERGENCY STATE VERSION 2 – NETTING New descriptions: - 497 – EMERGENCY STATE VERSION 1 – NETTING – DEBIT SRBP - 500 – EMERGENCY STATE VERSION 2 – NETTING – DEBIT SRBP |  |
|  | Definition of SFVOTEMGSTATENETT – new enumerations of the message-code attribute of the SFVOTEMGSTATENETT root element. - 515 – EMERGENCY STATE VERSION 1 – NETTING – CREDIT SRBP - 518 – EMERGENCY STATE VERSION 2 – NETTING – CREDIT SRBP |  |
|  | Definition of SFVOTEMGSTATENETT – a new optional attribute has been added to the Netting element: - paymentDate – Payment date |  |
|  | Definition of RESPONSE– the description of the enumerations of the message-code attribute of the RESPONSE root element has been modified. Old descriptions: - 498 – STATE OF EMERGENCY VERSION 1 - NETTING - ERROR, CONFIRMATION - 501 – STATE OF EMERGENCY VERSION 2 – NETTING - ERROR, CONFIRMATION New descriptions: - 498 – STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT SRBP - ERROR, CONFIRMATION - 499 – STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP - ERROR, CONFIRMATION |  |
|  | Definition of RESPONSE – new enumerations of the message-code attribute of the RESPONSE root element. - 516 – STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT SRBP - ERROR, CONFIRMATION - 519 – STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP - ERROR, CONFIRMATION |  |
| 10.3.2026 | MASTERDATA definition – new enumerations of the chs-type attribute of the Data element. - AGR – Assignment of an aggregator / flexibility provider - SAC – Assignment/change of the aggregator’s balance responsible party (BRP) / flexibility provider | V2.014 |
|  | MASTERDATA definition – new enumerations of the chs-reason attribute of the Data element. - A1 – Assignment/change of aggregator or flexibility provider - P3 – Extension of aggregator / flexibility provider assignment to EAN PM - Z3 – Shortening of aggregator / flexibility provider assignment to EAN PM |  |
|  | MASTERDATA definition – new enumerations of the role attribute of the Party element. - AGR – New aggregator / flexibility provider - AUX – Original / replaced aggregator / flexibility provider - AST – New aggregator BRP - ASF – Original aggregator BRP |  |
|  | MASTERDATA definition – new enumerations of the type attribute of the Activity element. - AGR – Request for assignment of an aggregator / flexibility provider - CSA – Request to suspend the aggregator change process by the current aggregator - CNA – Request to terminate the aggregator change process by the new aggregator - ARP – Proposal to change the balance responsible party of the aggregator / flexibility provider |  |
|  | MASTERDATA definition – modified description of enumerations of the type attribute of the Activity element. Old descriptions: - VAR – Request for extension/shortening of supply New descriptions: - VAR – Request for extension/shortening of supply or request for extension/shortening of the assignment of an aggregator / flexibility provider |  |
|  | MASTERDATA definition – modified descriptions of enumerations of the message-code attribute of the MASTERDATA root element. Old descriptions: - 141 – Request for supplier change - 246 – Copy of the request for supplier change - 138 – Request to suspend/terminate the supplier change process - 148 – Copy of the message requesting termination of the supplier change process - 183 – Request for extension/shortening of supply at OPM - 185 – Copy of supply extension/shortening - 186 – Confirmation of acceptance of imbalance responsibility for extension/shortening of supply at OPM - 188 – Copy of confirmation of acceptance of imbalance responsibility for extension/shortening of supply at OPM - 254 – Request to assign a balance responsible party to OPM - 256 – Copy of the change document for assignment of the balance responsible party - 274 – Confirmation/rejection of acceptance of imbalance responsibility when changing the balance responsible party at OPM - 276 – Copy of confirmation/rejection of acceptance of imbalance responsibility when changing the balance responsible party at OPM New descriptions: - 141 – Request for supplier/aggregator/flexibility provider change - 246 – Copy of the request for supplier/aggregator/flexibility provider change - 138 – Request to suspend/terminate the supplier/aggregator/flexibility provider change process - 148 – Copy of the message requesting termination of the supplier/aggregator/flexibility provider change process - 183 – Request for extension/shortening of supply at OPM or request for extension/shortening of the assignment of an aggregator / flexibility provider - 185 – Copy of supply extension/shortening or aggregator / flexibility provider assignment - 186 – Confirmation of acceptance of imbalance responsibility for extension/shortening of supply at OPM or assignment of an aggregator / flexibility provider - 188 – Copy of confirmation of acceptance of imbalance responsibility for extension/shortening of supply at OPM or assignment of an aggregator / flexibility provider - 254 – Request to assign a balance responsible party to OPM or request to assign the balance responsible party of an aggregator / flexibility provider - 256 – Copy of the change document for assignment of the balance responsible party or aggregator / flexibility provider - 274 – Confirmation/rejection of acceptance of imbalance responsibility when changing the balance responsible party at OPM or when changing the balance responsible party of an aggregator / flexibility provider - 276 – Copy of confirmation/rejection of acceptance of imbalance responsibility when changing the balance responsible party at OPM or when changing the balance responsible party of an aggregator / flexibility provider |  |
|  | MASTERDATA definition – new enumerations of the message-code attribute of the MASTERDATA root element. - 376 – Response with EAN OPM portfolio of the aggregator - E13 – Registration of storage activation at EAN - E18 – Registration of flexibility at EAN |  |
|  | RESPONSE definition – modified descriptions of enumerations of the message-code attribute of the RESPONSE root element. Old descriptions: - 241 – Confirmation/error when sending a request for supplier change - 144 – Confirmation of acceptance/rejection of the message requesting suspension/termination of the supplier change process - 184 – Confirmation/error in the request for extension/shortening of supply - 187 – Confirmation/error in the confirmation of acceptance of imbalance responsibility for extension/shortening of supply at OPM - 275 – Confirmation/error in confirmation/rejection of acceptance of imbalance responsibility when changing the balance responsible party at OPM New descriptions: - 241 – Confirmation/error when sending a request for supplier/aggregator/flexibility provider change - 144 – Confirmation of acceptance/rejection of the message requesting suspension/termination of the supplier/aggregator/flexibility provider change process - 184 – Confirmation/error in the request for extension/shortening of supply or assignment of an aggregator / flexibility provider - 187 – Confirmation/error in the confirmation of acceptance of imbalance responsibility for extension/shortening of supply at OPM or assignment of an aggregator / flexibility provider - 275 – Confirmation/error in confirmation/rejection of acceptance of imbalance responsibility when changing the balance responsible party at OPM or when changing the balance responsible party of an aggregator / flexibility provider |  |
|  | RESPONSE definition – new enumerations of the message-code attribute of the RESPONSE root element. - 375 – Error message in the aggregator portfolio query - E14 – Error report / confirmation of receipt - E17 – Error report / confirmation of receipt - E19 – Error report / confirmation of receipt - E21 – Error report / confirmation of receipt |  |
|  | CDSREQ definition – new enumerations of the message-code attribute of the CDSREQ root element. - 374 – Query for the portfolio of an aggregator / flexibility provider |  |
|  | CDSDATA definition – new enumerations of the message-code attribute of the CDSDATA root element. - E16 – Receipt of accumulation evaluation results - E20 – Receipt of data on provided flexibility |  |
| 18.3.2026 | MASTERDATA message definition – a new optional attribute has been added to the OPM element: - zue-edc – Storage activation flag from EDC - svr-edc – Certified device for SVR (EDC) - ps-agr - Aggregator / flexibility provider - ps-sz-agr - Aggregator BRP | V2.015 |
|  | CDSDATA definition – new enumerations of the profile-role attribute of the Location element. - FZ3 – Aggregated profile – flexibility on supply - FZ4 – Aggregated profile – flexibility on consumption - BL91 – Substitute values – baseline for supply - BL92 – Substitute values – baseline for consumption - ASA7 – Aggregated baseline of supply, metering type A, generation - ASA8 – Aggregated baseline of consumption, metering type A, consumption - ASB7 – Aggregated baseline of supply, metering type B, generation - ASB8 – Aggregated baseline of consumption, metering type B, consumption - ASC7 – Aggregated baseline of supply, metering categories C1, C2, C3, generation - ASC8 – Aggregated baseline of consumption, metering categories C1, C2, C3, consumption - BL11 - Baseline on Supply - BL12 - Baseline on Consumption - FL11 - Flexibility on Supply - FL12 - Flexibility on Consumption - AC12 - Accumulation Value |  |
|  | MASTERDATA definition – new enumerations of the chs-type attribute of the Data element. - SAA – Extension/shortening of the aggregator at OPM |  |
|  | MASTERDATA definition – modified description of enumerations of the type attribute of the Activity element. Old descriptions: - VAR – Request for extension/shortening of supply or request for extension/shortening of the assignment of an aggregator / flexibility provider New descriptions: - VAR – Request for extension/shortening of supply |  |
|  | MASTERDATA definition – new enumerations of the type attribute of the Activity element. - VAA – Request for extension/shortening of the assignment of an aggregator / flexibility provider |  |
|  | CDSIDIS message definition – a new optional attribute has been added to the OPM element: - qty-flex - Total electricity consumption for billing purposes, taking into account the provided flexibility (kWh) - qty-flexVT - Total electricity consumption for billing purposes, taking into account the provided flexibility – high tariff (kWh) - Qty-flexNT - Total electricity consumption for billing purposes, taking into account the provided flexibility – low tariff (kWh) - qty-flexash - Total electricity consumption for billing purposes, taking into account shared electricity and provided flexibility (kWh) - qty-flexashVT - Total electricity consumption for billing purposes, taking into account shared electricity and provided flexibility – high tariff (kWh) - qty-flexashNT - Total electricity consumption for billing purposes, taking into account shared electricity and provided flexibility – low tariff (kWh) |  |
| 12.6.2026 | MASTERDATA definition – new enumerations of the message-code attribute of the MASTERDATA root element. - 386 - Master data for storage activation at OPM - 389 - Master data for flexibility activation at OPM | V2.016 |
|  | CDSREQ definition – new enumerations of the message-code attribute of the CDSREQ root element. - 384 - Query for the portfolio of an aggregator / flexibility provider - 387 - Request for OPM flexibility activation data - 137 - Request for storage value |  |
|  | RESPONSE definition – new enumerations of the message-code attribute of the RESPONSE root element. - 385 - Error message for storage activation request - 388 - Error message for flexibility activation request - 230 - Confirmation/error for storage query |  |
|  | CDSDATA definition – new enumerations of the message-code attribute of the CDSDATA root element. - 242 - Evaluated storage value |  |
|  | ISOTEDATA definition – new enumerations of the profile-role attribute of the ProfileData element. - SC11 – Quantity of negative BRP imbalance from flexibility - SC12 – Quantity of positive BRP imbalance from flexibility - SC13 – Quantity of negative BRP imbalance from electricity commodity - SC14 – Quantity of positive BRP imbalance from electricity commodity |  |
|  | ISOTEDATA definition – new enumerations of the category attribute of the Trade element. - CPBO – CPBN – Cyclic profile block order |  |
|  | ISOTEDATA definition – new loop-group attribute of the Trade element. - loop-group – Cyclic group |  |

# Introduction

Communication server CS OTE provides a central communication with other parts of the central system IS OTE in several fileds as listed below:

- CDS

  - Registration of PDT Master Data;

  - Data collecting and data providing for grid-usage invoicing and invoicing of a power supply;

  - Application of  LP diagrams for the purpose of imbalance evaluation by groups of the end consumers without interval metering type;

  - Control of the supplier change process

  - Electronic invoice forwarding beetween DSOs and electricity suppliers

  - Claims execution and information furnishment

- IS OTE - communication in areas

  - Short-term markets (Block market, Day-ahead market, Intra-Day market, Balancing market)

  - Realization diagram statistics

  - Subject interconnection within organisation of coordinated CZ and SK day-ahead market

  - Providing of trading a billing results

  - Providing of financial settlement results

Solution of the communication server is founded on the platform of an integrated product SAP Netweaver.

The principles of a secured access to the data with PKI technology and digital signature are applied and cover entire infrastructure of CS OTE.

## Data flows

### General context

Obr. 1 – General context of data interchange of CDS-WAS

The communication portal CDS-WAS is equipped with a communication interface for data interchange between the following subjects of the open electricity market in CZE:

###### Power suppliers – Electricity  traders

They obtain data for invoicing of their consumers, set the requests for a change of supplier and receive the messages about a state of the supplier change process.

###### Transmission system operator

The transmission system operator sends non-aggregated metered data to the CDS system, data of provided ancillary services, validates the requests for a supplier change and receives data of complete trading balance statement.

###### Distribution system operator

The system operator sends non-aggregated metered data to the CDS system, validates the requests for a supplier change a receives data of complete trading balance statement.

###### Balance responsible party

The subjects of settlement pass on and receive a data for drafting of the complete trading balance statement.

The subjects of settlement pass on and receive trading data from IS OTE related to DM, IDA, RRD and SoI modules.

###### Load profile administrator

The load profile administrator delivers updated values of LP diagrams to the CDS and obtains statistics data about LP application from the system.

###### Czech hydrometereological institute

The weather data are passed on to the CDS system with the purpose of consumption calculation from LP diagrams.

### Communication channels

For communictaion beetween CS OTE and electricity market participant are used following communication channels and protocols:

- HTTP(S)/SOAP channel for full-duplex message transfer via internet

- SMTP channel for full-dublex message transfer via email

- Web interface channel for interactive work with the IS OTE via user interface and web browser

More detailed communictaion channels´ description is to be found in the documents D1.4.3. CS OTE Web services interface and D1.4.4 IS OTE Automatized communication interface.

### Message formats

Communication server is using following message formats:

- EDIFACT according to EDINE standard (for further information see document D1.4.1 EDI message formats)

- XML

  - Standard defined by OTE in this document

  - Standard defined by ETSO

    - ETSO Scheduling System (ESS) - V3R1 version

    - ETSO Acknowledgement Process - V5R0 version

    - ETSO Status Report - V1R1 version

### Security

The CDS-WAS system due to communication security uses unified infrastructure of PKI which is common for the entire CS OTE central system. Access of all users is controlled uniformly without consideration of user type (CDS user or IS OTE user). User use same certificate for both systems. An access certificate for user authentication and a signature certificate for digital signature of a transaction.

For more information about security see document D1.4.3. CS OTE Web services interface.

# Communication principles

##### basic principle

Obr. 2 – Basic principle of messages handling

Message interchange among market participant will run automated according to basic princliple in the follow steps:

- market participant sends a message to the CS OTE system. Message can contains either data for processing in central system or request for data from the CS OTE central system.

- Message is received into CDS-WAS module and digital signature of sender is verified against IS OTE LDAP server. The PKI server decodes message.

- The CDS-WAS server checks message syntax and in case of any error which arose in previous steps CDS-WAS send back an error message.

- If everything‘s all right, WAS delivers message to the relevant application server for the next processing steps:

  - CDS – internal SAP iDOC document is compiled. This document contains message data and passes on these data to IS-U application for processing.

  - IS OTE – message is forwarded to the integration layer of CS OTE for processing.

- Application server processes data and sends back a result:

  - CDS – as an iDoc document of CDS-WAS module for sending back (result can contains CDS confirmation of data receiving, requested data from CDS or error message)

  - IS OTE –message is forwarded to the integration layer of CS OTE for processing with CDS-WAS system.

- CDS-WAS module encodes response, signs a message and sends it back to the ubjekt address via selected channel

Message in XML format can be sent via SMTP channel (as a mail attachment) or via HTTP(S) channel.

##### Usage of electronic signature for CDSINVOICE message

When sending the CDSINVOICE (the electronic invoice) message, the usage of electronic signature partly differs from other CDS exchanged messages. The basic requirement for exchange of CDSINOVICE message is the maintenance of the original sender’s digital signature in the message (in this case the signature of the respective distributor). In fact, this means that the content of the message handed over to the receiver (the supplier) is unchanged on CDS output and the message is still signed by the signature of the distributor.

At the same time, for the maintenance of OTE authentication, the messages are signed by the OTE electronic signature as well.

The CDSINVOICE messages must be signed by sender’s (distributor’s) XML signature. Then the message is transferred by the same means as any other CDS exchanged message. Alternatively, the standard signature may be omitted.

The other principles of signing of messaged remain unchanged.

The exchange of  the CDSINVOICE message follows the described steps:

- The participant (distributor) creates the message and adds the XML signature.

- The participant optionally signets the message by the signature in PKCS#7 format, as it is used to by the other messages (the message is signed twice).

- The participant sends the message to CDS.

- The message is received by CDS-WAS module. The verification of the electronic signature is provided by the PKI server. The check of the sender’s certificate is undertaken against the LDAP server. The XML signature of the message is verified.

- The CDS-WAS server checks message syntax and in case of any error which arose in previous steps CDS-WAS send back an error message.

- If everything‘s all right, WAS delivers message to the CDS application server. Internal SAP iDOC document is compiled. This document contains message data and passes on these data to IS-U application for processing.

- Application server processes data and sends back a result as an iDoc document of CDS-WAS module for sending back.

- CDS-WAS module transfers the original message to the receiver (including the XML signature) encodes response, signs a message and sends it back to the defined address via selected channel.

# General principles of XML message use

For use of message specified in this document, there are these principles to be held:

- Market participants are identified by using EAN-13 (GLN), the code is assigned by OTE

- Points of delivery/transfer are identified by using EAN-18 (GSRN), the code is usually assigned by distribution systems operators

- Messages with interval data must contain values for the whole day (usually 24 hours)

- If it is necessary to send corrected data again, the new message must contain all data of the original message. During data processing the original message will not be taken into consideration.

- Single data interchange (data file with a message) must contain only one message

##### Date and time format and application

- Date and time is given in local time

- Periods are presented by the combination of beginning and end of  the time period

###### datE Format

Definition of use for interval data (with respect of EDINE standard:

The beginning of a day is defined as 00:00 AM, the end of a day as 00:00 AM the next day.

Example:

Last hour of a day	2002-10-27T23:00/2002-10-28T00:00

The time offset of values in a message (data profiles on PDT – metered, planed..) against GMT (Greenwich Mean Time) is always given in an attribute called time-offset in the XML message header. The value is always generated for the first period stated in the XML message and is valid for all values in this particular message.

Non-interval data – period specification FROM – TO (in whole days):

The meaning of date items is Date from/to including.

Interpretation of date from – date from including (YYY-MM-DDT00:00)

Interpretation of date to – date to including (YYY-MM-DDT23:59)

Whole day and night	2002-10-27T00:00/2002-10-27T23:59

###### Transition from summer- to wintertime and vice versa

- Date and time are given in local time.

- The time offset of values in a message (data profiles on PDT – metered, planed..) against GMT (Greenwich Mean Time) is always given in an attribute called time-offset in the XML message header. The value is always generated for the first period stated in the XML message and is valid for all values in this particular message.

- Time-offset=2 is valid for data given in a summertime, time-offset=1 is valid for data given in a wintertime

##### FORmat of numeric data

- Triad separator shall not be used in interchnage, for example: 25000000

- Decimal mark is a point on the line (.), for example: 3.14

- Incomplete notation is not allowed, for example: .5 or 2.

- Zero prefix is not allowed, for example: 02

- Positive value is without positive sign, for example: 112

- Negative value is with negative sign (-) immediately before first number, for example: -112

- Zero value is without sign, for example: 0

# Messages Overview

##### List of messages

Each type of message is uniquely identified by msg_code, which determinate nature of the message and consecution of processing. In the following table, there is a list of all messages running through the external CS OTE system interface. For each message, you can find msg_code, description, format, source and target system.

| Msg_code | Description | Message format | Input / output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 050 | Syntax error in incoming message - error on communication channel level (from CDS to message sender) | RESPONSE | Output | CDS | Service providers |
| 051 | Syntax error in incoming message - error on communication channel level (from message receiver to CDS) | RESPONSE | Input | Service providers | CDS |
| 100 | Syntax error - invalid message format (from CDS to message sender) | RESPONSE | Output | CDS | External subject |
| 101 | Syntax error - invalid message format (from message receiver to CDS) | RESPONSE | Input | External subject | CDS |
| 110 | Request for historical maximum monthly consumption (MSMAX) | CDSREQ | Input | External subject | CDS |
| 111 | PDT code list update | MASTERDATA | Input | TSO/DSO | CDS |
| 112 | Information about planned disconnection of PDT | MASTERDATA | Input | TSO/DSO | CDS |
| 113 | Receiving/error in message of planned disconnection of PDT | RESPONSE | Output | CDS | Service providers |
| 114 | Copy of message of planned disconnection of PDT | MASTERDATA | Input | TSO/DSO | CDS |
| 115 | Information about PDT disconnection | MASTERDATA | Input | TSO/DSO | CDS |
| 116 | Receiving/error in message of PDT disconnection | RESPONSE | Output | CDS | Service providers |
| 117 | Copy of message of PDT disconnection | MASTERDATA | Input | TSO/DSO | CDS |
| 118 | Request for data of PDT disconnection | CDSREQ | Input | Service provider | CDS |
| 119 | Receiving/error in request for data of PDT disconnection | RESPONSE | Output | CDS | Service providers |
| 120 | PDT disconnection data | MASTERDATA | Input | TSO/DSO | CDS |
| 121 | Interval metered data | CDSDATA | Input | TSO/DSO | CDS |
| 122 | Non-interval metered data | CDSDATA | Input | TSO/DSO | CDS |
| 123 | Base data of DGI ICS - input | CDSIDIS | Input | DSO | CDS |
| 124 | Activated quantity of regulating energy according to generation of power: regulating energy, unit price | CDSDATA | Input | TSO | CDS |
| 125 | Annual consumption estimation per PDT | CDSDATA | Input | DSO | CDS |
| 126 | Base data of DGI RCS - input | CDSIDIS | Input | TSO/DSO | CDS |
| 127 | Electronic invoice | CDSINVOICE | Input / Output | Distributor; CDS | Supplier; CDS |
| 128 | Receiving/error in message of electronic invoice | RESPONSE | Output | CDS | External subject |
| 129 | Request for electronic invoice | CDSREQ | Input | External subject | CDS |
| 130 | Receiving / error in request for electronic invoice | RESPONSE | Output | CDS | External subject |
| 131 | Request for invoicing data sending | CDSREQ | Input | Service provider | CDS |
| 132 | Request for distribution invoicing data sending | CDSREQ | Input | Service provider | CDS |
| 133 | Request for provided AC sending | CDSREQ | Input | Service provider | CDS |
| 134 | Request for annual consumption estimation | CDSREQ | Input | Service provider | CDS |
| 135 | Request for substitutional (computed) values per PDT with metering type B | CDSREQ | Input | Service provider | CDS |
| 136 | Request for base data of DGI RCS data | CDSREQ | Input | Service provider | CDS |
| 138 | Request for suspension of the change of supplier process | MASTERDATA | Input | Service provider | CDS |
| 141 | Request for Change of supplier | MASTERDATA | Input | RMP trader - supplier | CDS |
| 142 | Registration of negotiated diagram for controlling the imbalance responsibility (for data to 31.12.2009) | CDSDATA | Input | Trader | CDS |
| 143 | Request for sending of negotiated diagrams for managing of imbalance responsibility (for data to 31.12.2009) | CDSREQ | Input | Service provider | CDS |
| 144 | Confirmation of acceptance/rejection of a message with a request for suspension of the change of supplier process | RESPONSE | Output | RMP | CDS |
| 145 | Error in change of supplier proposal | RESPONSE | Output | CDS | RMP |
| 146 | Approving/rejection of change of supplier and extra meter reading | MASTERDATA | Input | TSO/DSO/RMP | CDS |
| 147 | Request for sending an extract of state of change of supplier processing | CDSREQ | Input | Service provider | CDS |
| 148 | Copy of a message with a request for suspension of the change of supplier process | MASTERDATA | Output | CDS | RMP |
| 150 | Confirmation of customer’s consent with change of supplier | MASTERDATA | Input | RMP | CDS |
| 157 | Confirmation of acceptance/rejection of a message with confirmation of customer’s consent with change of supplierdodavatele | RESPONSE | Output | CDS | RMP |
| 158 | Copy of confirmation of customer’s consent with change of supplier | MASTERDATA | Output | CDS | RMP |
| 151 | Request for assigned observers data | CDSREQ | Input | RMP, BRP | CDS |
| 152 | Error in / confirmation of assigned observers request receiving | RESPONSE | Output | CDS | RMP, BRP |
| 153 | Assigned observers data | MASTERDATA | Output | CDS | RMP, BRP |
| 154 | Request for assigned BRP data | CDSREQ | Input | RMP, BRP | CDS |
| 155 | Error in / confirmation of assigned BRP request receiving | RESPONSE | Output | RMP, BRP | CDS |
| 156 | Assigned subjects of settlement data | MASTERDATA | Output | CDS | RMP, BRP |
| 160 | Planned concumption diagrams (PDT type B) | CDSDATA | Input | BRP | CDS |
| 161 | Planned generation or consumption diagrams (PDT type A) or generation diagrams (PDT type B) | CDSDATA | Input | BRP | CDS |
| 162 | Planned values of generation | CDSDATA | Input | BRP | CDS |
| 163 | Single-shot request for complete trade balance statement data sending | CDSREQ | Input | TSO/DSO /BRP | CDS |
| 165 | Entry / actualisattion of the claim | CDSCLAIM | Input | External subject | CS OTE |
| 166 | Confirmation / error in the claim message | RESPONSE | Output | CS OTE | External subject |
| 167 | Claim copy | CDSCLAIM | Output | CS OTE | External subject |
| 168 | Request for the claim data | CDSREQ | Input | External subject | CS OTE |
| 169 | Confimation / error in the request for the claim data | RESPONSE | Output | CS OTE | External subject |
| 170 | Claim copy (on participant’s request) | CDSCLAIM | Output | CS OTE | RMP |
| 171 | OTE message (notice board) | CDSCLAIM | Output | CS OTE | External subject |
| 172 | Request for the OTE messages (data from the message board) | CDSREQ | Input | External subject | CS OTE |
| 173 | Confirmation / error in the request for the OTE messages | RESPONSE | Output | CS OTE | External subject |
| 174 | OTE message (on request) | CDSCLAIM | Output | CS OTE | External subject |
| 175 | Notification about expiration of periodic request validity | RESPONSE | Output | CDS | External subject |
| 178 | Results of evaluation of request for change of supplier | MASTERDATA | Output | CDS | RMP |
| 179 | Copy of the change of supplier progress information | MASTERDATA | Output | CDS | RMP |
| 180 | Confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | MASTERDATA | Input | RMP | CDS |
| 181 | Confirmation of acceptance/rejection of a message with confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | RESPONSE | Output | CDS | RMP |
| 182 | Copy of confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | MASTERDATA | Output | CDS | RMP |
| 183 | Request for extension / reduction of supply by current supplier | MASTERDATA | Input | RMP | CDS |
| 184 | Confirmation of / Error in request for extension / reduction of supply by current supplier | RESPONSE | Output | CDS | RMP |
| 185 | Copy of the request for extension / reduction of supply by current supplier | MASTERDATA | Output | CDS | RMP |
| 186 | Approbation with imb. resp. transfer within supply extension / reduction | MASTERDATA | Input | RMP | CDS |
| 187 | Confirmation of / Error in approbation with imb. resp. transfer within supply extension / reduction | RESPONSE | Output | CDS | RMP |
| 188 | Copy of the approbation with imb. resp. transfer within supply extension / reduction | MASTERDATA | Output | CDS | RMP |
| 189 | Message about possible reservation of distribution or transport capacity within supply extension / reduction | MASTERDATA | Input | RMP | CDS |
| 190 | Confirmation of acceptance/rejection of a message about possible reservation of distribution or transport capacity within supply extension / reduction | RESPONSE | Output | CDS | RMP |
| 191 | Copy of a message about possible reservation of distribution or transport capacity within supply extension / reduction | MASTERDATA | Output | CDS | RMP |
| 192 | Request for supplier/subject of settlement mass change | MASTERDATA | Output | CDS | RMP |
| 193 | Supplier/subject of settlement mass change | MASTERDATA | Output | CDS | RMP |
| 194 | Ex post PDT registration | MASTERDATA | Input | PDS | CDS |
| 195 | Response to ex post PDT registration | RESPONSE | Output | CDS | PDS |
| 196 | Ex post PDT registration – copy | MASTERDATA | Output | CDS | PDS |
| 197 | Request for PDT state | CDSREQ | Input | PDS | CDS |
| 198 | Response to request for PDT state | RESPONSE | Output | CDS | PDS |
| 199 | PDT state | MASTERDATA | Output | CDS | PDS |
| 210 | Error in request for historical maximum monthly consumption (MSMAX) | RESPONSE | Output | CDS | RMP |
| 211 | Historical max. monthly consumption (MSMAX) | CDSDATA | Output | CDS | RMP |
| 212 | Confirmation of PDT code list update | MASTERDATA | Output | CDS | Service provider |
| 215 | Confirmation of PDT code list update | RESPONSE | Output | CDS | TSO/DSO |
| 222 | Confirmation of interval metered data receiving | RESPONSE | Output | CDS | TSO/DSO |
| 224 | Confirmation of non-interval metered data receiving | RESPONSE | Output | CDS | TSO/DSO |
| 226 | Confirmation of distribution invoicing data receiving | RESPONSE | Output | CDS | TSO/DSO |
| 228 | TSO data receiving - receiving confirmation | RESPONSE | Output | CDS | PPS |
| 229 | Confirmation of / Error in base data of DGI RCS data receiving | RESPONSE | Output | CDS | TSO |
| 231 | Error in request sending | RESPONSE | Output | CDS | Service provider |
| 232 | Activated quantity of regulating energy according to generation of power: regulating energy, unit price | CDSDATA | Output | DSO | Service provider |
| 233 | Base data of DGI ICS data request - Receiving / rejection of request | RESPONSE | Output | CDS | Service provider |
| 234 | Base data of DGI ICS - output | CDSIDIS | Output | CDS | Service provider |
| 235 | Error message to request for data of provided regulation energy | RESPONSE | Output | CDS | Service provider |
| 236 | Provided regulating energy positive and negative | CDSDATA | Output | CDS | Service provider |
| 237 | Error message for request 134 (annual consumption estimation) | RESPONSE | Output | CDS | External subject |
| 238 | Annual consumption estimation per PDT type C | CDSDATA | Output | CDS | External subject |
| 239 | Base data of DGI RCS data request - Receiving / rejection of request | RESPONSE | Output | CDS | TSO/DSO |
| 240 | Base data of DGI RCS - output | CDSIDIS | Output | CDS | TSO/DSO |
| 241 | Error in request for change of supplier sending | RESPONSE | Output | CDS | Service provider |
| 243 | Negotiated diagram sending error (for data to 31.12.2009) | RESPONSE | Output | CDS | Supplier |
| 244 | Confirmation of sent negotiated diagram receiving (for data to 31.12.2009) | RESPONSE | Output | CDS | Supplier |
| 245 | Message of Supplier of last resort activation on position of primary supplier (SLR active) | MASTERDATA | Output | CDS | PPS/ PDS |
| 246 | Proposal of change of supplier - for approving | MASTERDATA | Output | CDS | Service providers |
| 247 | Error in change of supplier proposal | RESPONSE | Output | CDS | DSO/TSO |
| 248 | Change of supplier message | MASTERDATA | Output | CDS | Service providers |
| 249 | Notification to primary supplier about future contract of delivery | MASTERDATA | Output | CDS | Service provider |
| 250 | Extract of the state of change of supplier | MASTERDATA | Output | CDS | Service provider |
| 251 | Error in request for negotiated data (for data to 31.12.2009) | RESPONSE | Output | CDS | Supplier |
| 252 | Negotiated diagrams for controlling the imbalance responsibility (for data to 31.12.2009) | CDSDATA | Output | CDS | Supplier |
| 253 | Error in request for listing of change of supplier logbook | RESPONSE | Output | CDS | Service provider |
| 254 | Request for assigning a subject of settlement to OPM | MASTERDATA | Input | RMP, BRP | CDS |
| 255 | Error in / Confirmation of request receiving to assign subject of settlement to PDT | RESPONSE | Output | CDS | RMP, BRP |
| 256 | Information about subject of settlement´s assignement to PDT | MASTERDATA | Input | CDS | RMP, BRP |
| 257 | Request for assigning an observer to PDT | MASTERDATA | Input | RMP, BRP | CDS |
| 258 | Error in / Confirmation of request receiving to assign an observer to PDT | RESPONSE | Output | CDS | RMP, BRP |
| 259 | Information about observer´s assignement to PDT | MASTERDATA | Input | CDS | RMP, BRP |
| 261 | Error / Confirmation of receiving planned consumption values (B) | RESPONSE | Output | CDS | RMP, BRP |
| 262 | Error / Confirmation of receiving planned production values (A,B) | RESPONSE | Output | CDS | RMP, BRP |
| 263 | Confirmation of receiving / Error in sending of negotiated CTBS values | RESPONSE | Output | CDS | Balance responsible party |
| 265 | Error in request for CTBS values sending | RESPONSE | Output | CDS | TSO/DSO /BRP |
| 266 | Planned values of generation A, B and C | CDSDATA | Output | CDS | TSO/DSO /BRP |
| 271 | Confirmation/rejection of message for sending of request for substitutional (computed) values of PDT with type B metering | RESPONSE | Output | CDS | External subject |
| 272 | Output data – substitutional (computed) values per PDT with metering type B | CDSDATA | Output | CDS | External subject |
| 274 | Approval/rejection of request for change of subject of settlement by the subject of settlement | MASTERDATA | Input | RMP | CDS |
| 275 | Sending of confirmation of acceptance/rejection of a message with request for change of subject of settlement by the subject of settlement | RESPONSE | Output | CDS | RMP |
| 276 | Copy of approval/rejection of request for change of subject of settlement by the subject of settlement | MASTERDATA | Output | CDS | RMP |
| 277 | Monthly LDS statement | CDSLDSREPORT | Input | RMP | CDS |
| 278 | Confirmation of/Error in monthly LDS statement | RESPONSE | Output | CDS | RMP |
| 279 | Monthly LDS statement - copy of data | CDSLDSREPORT | Output | CDS | RMP |
| 280 | Request for monthly LDS statement | CDSREQ | Input | RMP | CDS |
| 281 | Confirmation of/Error in request for monthly LDS statement | RESPONSE | Output | CDS | RMP |
| 282 | Monthly LDS statement - copy of data | CDSLDSREPORT | Output | CDS | RMP |
| 283 | System services settlement report | CDSSYSTSERVREPORT | Input | RMP | CDS |
| 284 | System services settlement report - confirmation / error | RESPONSE | Output | CDS | RMP |
| 285 | System services settlement report - copy of data | CDSSYSTSERVREPORT | Output | CDS | RMP |
| 286 | Request for system services settlement report | CDSREQ | Input | RMP | CDS |
| 287 | Request for system services settlement report - confirmation / error | RESPONSE | Output | CDS | RMP |
| 288 | System services settlement report | CDSSYSTSERVREPORT | Output | CDS | RMP |
| 301 | Request for consumption estimation for imbalance settlement in period when the metered meter reading is sent. | CDSREQ | Input | Service provider | CDS |
| 302 | Confirmation/error message for sending of Request for consumption estimation for settlement | RESPONSE | Output | CDS | External subject |
| 303 | Data - consumption estimation for imbalance settlement in period, to which the metered meter reading was sent | CDSDATA | Output | CDS | External subject |
| 311 | Request for imbalance data per PDT C (consumption) computed within Clearing | CDSREQ | Input | Service provider | CDS |
| 312 | Confirmation/error message for sending of Request for imbalance data per PDT C (consumption) computed within Clearing | RESPONSE | Output | CDS | External subject |
| 313 | Data - Imbalances per PDT of type C consumption calculated within the Clearing process | CDSDATA | Output | CDS | External subject |
| 314 | Request of ORS for calc. of imbalances and clearing | CDSREQ | Input | Service provider | CDS |
| 315 | Err. mess. to the req. of ORS for calc. of imbal. and clea | RESPONSE | Output | CDS | External subject |
| 316 | Values of ORS for calc. of imbalances and clearing | CDSDATA | Output | CDS | External subject |
| 321 | Request for metered values - non-interval | CDSREQ | Input | Service provider | CDS |
| 322 | Confirmation/error message for sending of Request for metered values - non-interval | RESPONSE | Output | CDS | External subject |
| 323 | Data - metered values - non-interval | CDSDATA | Output | CDS | BRP |
| 331 | Data request - calculation per primary supplier of PDT | CDSREQ | Input | Service provider | CDS |
| 332 | Confirmation/error message for sending of Data request - calculation per primary supplier of PDT | RESPONSE | Output | CDS | External subject |
| 333 | Metered values – calculation per primary supplier of PDT | CDSDATA | Output | CDS | BRP |
| 341 | Data request - aggregated values per supplier/customer | CDSREQ | Input | Service provider | CDS |
| 342 | Confirmation/error message for sending of Data request - aggregated values per supplier | RESPONSE | Output | CDS | External subject |
| 343 | Metered values – aggregated values per supplier/customer | CDSDATA | Output | CDS | BRP |
| 351 | Data request - master data of PDT | CDSREQ | Input | Service provider | CDS |
| 352 | Confirmation/error message for sending of Data request - master data of PDT | RESPONSE | Output | CDS | External subject |
| 353 | PDT Master data - copy of data | MASTERDATA | Output | CDS | Service provider |
| 354 | Request for simplified list of PDT | CDSREQ | Input | Service provider | CDS |
| 355 | Error message for sending simplified list of PDT | RESPONSE | Output | CDS | Service provider |
| 356 | Simplified list of PDT | MASTERDATA | Output | CDS | Service provider |
| 357 | Request for the list of delivery points of PDT | CDSREQ | Input | Service provider | CDS |
| 358 | Acknowledgment / error in the request for list of handover points PDT | RESPONSE | Output | CDS | Service provider |
| 359 | List of handover points PDT | MASTERDATA | Output | CDS | Service provider |
| 362 | Information about LDS meter reading incompleteness within the monthly and final monthly settlement – per individual PDT | RESPONSE | Output | CDS | External subject |
| 367 | Request for a list of PDT in the community | CDSREQ | Input | Service provider | CDS |
| 367 | Confirmation/error in the request to enumerate PDTs in the community | RESPONSE | Output | CDS | Service provider |
| 369 | List of PDTs in the community | MASTERDATA | Output | CDS | Service provider |
| 371 | Request for service restricted list of PDT | CDSREQ | Input | Service provider | CDS |
| 372 | Error message for sending service restricted list of PDT | RESPONSE | Output | CDS | Service provider |
| 373 | Service restricted list of PDT | MASTERDATA | Output | CDS | Service provider |
| 381 | Request for master data of the OPM sharing group | CDSREQ | Input | Service provider | CDS |
| 382 | Error Message for Request for OPM Sharing Master Data | RESPONSE | Output | CDS | Service provider |
| 383 | PDT Master data - Sharing group | MASTERDATA | Input | Service provider | CDS |
| 400 | Invoicing base data | SFVOTREQ | Input | External subject | CDS |
| 401 | Invoicing base data | SFVOTREPBILLING | Output | CDS | External subject |
| 402 | Invoicing base data - error/confirmation | RESPONSE | Output | CDS | External subject |
| 403 | OTE Invoicing base data | SFVOTREQ | Input | External subject | CDS |
| 404 | OTE Invoicing base data | SFVOTBILLING | Output | CDS | External subject |
| 405 | OTE invoicing base data - error/confirmation | RESPONSE | Output | CDS | External subject |
| 406 | Payments and refunds overview | SFVOTREQ | Input | External subject | CDS |
| 407 | Overview of payments and complaints | SFVOTCLAIM | Output | CDS | External subject |
| 408 | Payments and refunds overview - error/confirmation | RESPONSE | Output | CDS | External subject |
| 409 | OTE Payments and refunds overview | SFVOTREQ | Input | External subject | CDS |
| 410 | OTE Overview of payments and complaints | SFVOTCLAIM | Output | CDS | External subject |
| 411 | OTE payments and refunds overview - error/confirmation | RESPONSE | Output | CDS | External subject |
| 413 | LP differences settlement | SFVOTTDD | Output | CDS | External subject |
| 414 | Payments and refunds overview - error/confirmation | RESPONSE | Output | CDS | External subject |
| 416 | OTE LP differences settlement | SFVOTTDD | Output | CDS | External subject |
| 417 | OTE LP differences settlement - error/confirmation | RESPONSE | Output | CDS | External subject |
| 418 | Request for the settlement report EMO-OTE | SFVOTREQ | Input | PXE | CS OTE |
| 419 | Settlement report EMO-OTE | SFVOTBILLINGEMO | Output | CS OTE | External subject |
| 420 | Confirmation / error in the request for the settlement report EMO-OTE | RESPONSE | Output | CS OTE | PXE |
| 421 | Request for the settlement report OTE-EMO | SFVOTREQ | Input | PXE | CS OTE |
| 422 | Settlement report OTE-EMO | SFVOTBILLINGEMO | Output | CS OTE | EOT |
| 423 | Confirmation / erroro in the request for the settlement report OTE-EMO | RESPONSE | Output | CS OTE | PXE |
| 424 | Notification on reaching of the financial security limit | RESPONSE | Output | CS OTE | External subject |
| 425 | Request for OTE settlement rate | SFVOTREQ | Input | External subject | CS OTE |
| 426 | OTE settlement exchange rate | SFVOTEXCHRATE | Output | CS OTE | External subject |
| 427 | Confirmation / error in request for OTE settlement exchange rate | RESPONSE | Output | CS OTE | External subject |
| 428 | Request for report of figured receivables and liabilities | SFVOTREQ | Input | External subject | CS OTE |
| 429 | Report of figured receivables and liabilities | SFVOTDTEXPIMP | Output | CS OTE | External subject |
| 430 | Confirmation / error in the request for list of figured receivables and liabilities | RESPONSE | Output | CS OTE | External subject |
| 431 | Request for report of daily payments confirmation | SFVOTREQ | Input | External subject | CS OTE |
| 432 | Report of daily payments confirmation | SFVOTCONFDATA | Output | CS OTE | External subject |
| 433 | Confirmation / error in the request for report of daily payments confirmation | RESPONSE | Output | CS OTE | External subject |
| 434 | Invoicing base data - summary - request | SFVOTREQ | Input | External subject | CS OTE |
| 435 | Invoicing base data - summary | SFVOTBILLINGSUM | Output | CS OTE | External subject |
| 436 | Invoicing base data - summary - confirmation / error | RESPONSE | Output | CS OTE | External subject |
| 437 | OTE invoicing base data - summary - request | SFVOTREQ | Input | External subject | CS OTE |
| 438 | OTE invoicing base data - summary | SFVOTBILLINGSUM | Output | CS OTE | External subject |
| 439 | OTE invoicing base data - summary - confirmation / error | RESPONSE | Output | CS OTE | External subject |
| 440 | Claim overview - summary - request | SFVOTREQ | Input | External subject | CS OTE |
| 441 | Claim overview - summary | SFVOTCLAIMSUM | Output | CS OTE | External subject |
| 442 | Claim overview - summary - confirmation / error | RESPONSE | Output | CS OTE | External subject |
| 443 | OTE Claim overview - summary - request | SFVOTREQ | Input | External subject | CS OTE |
| 444 | OTE Claim overview - summary | SFVOTCLAIMSUM | Output | CS OTE | External subject |
| 445 | OTE Claim overview - summary - confirmation / error | RESPONSE | Output | CS OTE | External subject |
| 450 | Request for registration of imbalance responsibility transfer | MASTERDATA | Input | TSO / DSO, BRP | CDS (Prodis) |
| 451 | Confirmation of / Error in request for registration of imbalance responsibility transfer receiving | RESPONSE | Output | CDS (Prodis) | TSO / DSO, BRP |
| 452 | Information about registration of imbalance responsibility transfer | MASTERDATA | Output | CDS (Prodis) | TSO / DSO, BRP |
| 453 | Approbation / Refusal of imbalance responsibility transfer | MASTERDATA | Output | CDS (Prodis) | TSO / DSO, BRP |
| 454 | Confirmation of / Error in approbation / refusal of imbalance responsibility transfer receivnig | RESPONSE | Input | TSO / DSO, BRP | CDS (Prodis) |
| 455 | Request for imbalance responsibility transfer | SFVOTREQ | Input | TSO / DSO, BRP | CDS (Prodis) |
| 456 | Confirmation of / Error in request for imbalance responsibility transfer receiving | RESPONSE | Output | CDS (Prodis) | TSO / DSO, BRP |
| 457 | Information about imbalance responsibility transfer (on request 455) | MASTERDATA | Output | CDS (Prodis) | TSO / DSO, BRP |
| 460 | LP netting - request | SFVOTREQ | Input | External subject | CS OTE |
| 461 | LP netting | SFVOTTDDNETT | Output | CS OTE | External subject |
| 462 | LP netting - error/confirmation | RESPONSE | Output | CS OTE | External subject |
| 463 | Financial status limit - request | SFVOTREQ | Input | External subject | IS OTE |
| 464 | Financial status limit | SFVOTLIMITS | Output | IS OTE | External subject |
| 465 | Financial status limit - error/confirmation | RESPONSE | Output | IS OTE | External subject |
| 466 | LP netting - request | SFVOTREQ | Input | External subject | IS OTE |
| 467 | LP netting - final settlement | SFVOTTDDNETT | Output | IS OTE | External subject |
| 468 | LP netting - final settlement - error/confirmation | RESPONSE | Output | IS OTE | External subject |
| 469 | Final Settlement of Clearing Differences - request. It replaces code 412. | SFVOTREQ | Input | External subject | IS OTE |
| 470 | Final Settlement of Clearing Differences | SFVOTTDD | Output | IS OTE | External subject |
| 471 | Final Settlement of Clearing Differences - error/confirmation | RESPONSE | Output | IS OTE | External subject |
| 472 | Final Settlement of Clearing Differences - request. It replaces code 415. | SFVOTREQ | Input | External subject | IS OTE |
| 473 | Final Settlement of Clearing Differences - OTE | SFVOTTDD | Output | IS OTE | External subject |
| 474 | Final Settlement of Clearing Differences OTE - error/confirmation | RESPONSE | Output | IS OTE | External subject |
| 475 | Billing report ČEPS - PSK - request | SFVOTREQ | Input | External subject | IS OTE |
| 476 | Billing report ČEPS - PSK | SFVOTPSK | Output | IS OTE | External subject |
| 477 | Billing report ČEPS - PSK - error/confirmation | RESPONSE | Output | IS OTE | External subject |
| 478 | Přehled plateb a reklamací RE – ČEPS - request | SFVOTREQ | Input | External subject | IS OTE |
| 479 | Claim report ČEPS – PSK | SFVOTPSK | Output | IS OTE | External subject |
| 480 | Claim report ČEPS – PSK - error/confirmation | RESPONSE | Output | IS OTE | External subject |
| 481 | Setting limit VDT/VT | SFVOTSETTINGS | Input | External subject | IS OTE |
| 482 | Current value of limit VDT/VT | SFVOTLIMITS | Output | IS OTE | External subject |
| 483 | Error / confirmation set the limit at VDT / VT | RESPONSE | Output | IS OTE | External subject |
| 484 | Automatic change limit VDT/VT | SFVOTLIMITCHANGE | Output | IS OTE | External subject |
| 485 | Error / confirmation by sending an automatic limit change VDT / VT | RESPONSE | Output | IS OTE | External subject |
| 486 | Notification of expiration of the bank guarantee / rating for financial security | RESPONSE | Output | CS OTE | External subject |
| 487 | REQUEST FOR EMERGENCY STATE CZ | SFVOTREQ | Input | External subject | IS OTE |
| 488 | EMERGENCY STATE CZ | SFVOTEMGSTATE | Output | IS OTE | External subject |
| 489 | EMERGENCY STATE CZ - ERROR, CONFIRMATION | RESPONSE | Output | IS OTE | External subject |
| 490 | REQUEST FOR EMERGENCY STATE - DAY-AHEAD MARKET | SFVOTREQ | Input | External subject | IS OTE |
| 491 | EMERGENCY STATE - DAY-AHEAD MARKET | SFVOTEMGSTATE | Output | IS OTE | External subject |
| 492 | EMERGENCY STATE - DAY-AHEAD MARKET - ERROR, CONFIRMATION | RESPONSE | Output | IS OTE | External subject |
| 493 | REQUEST FOR EMERGENCY STATE INTRADAY MARKET | SFVOTREQ | Input | External subject | IS OTE |
| 494 | EMERGENCY STATE INTRADAY MARKET | SFVOTEMGSTATE | Output | IS OTE | External subject |
| 495 | EMERGENCY STATE INTRADAY MARKET - ERROR, CONFIRMATION | RESPONSE | Output | IS OTE | External subject |
| 496 | REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT SRBP | SFVOTREQ | Input | External subject | IS OTE |
| 497 | STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT - SRBP | SFVOTEMGSTATENETT | Output | IS OTE | External subject |
| 498 | STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT SRBP - ERROR, CONFIRMATION | RESPONSE | Output | IS OTE | External subject |
| 499 | REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP | SFVOTREQ | Input | External subject | IS OTE |
| 500 | STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP | SFVOTEMGSTATENETT | Output | IS OTE | External subject |
| 501 | STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP - ERROR, CONFIRMATION | RESPONSE | Output | IS OTE | External subject |
| 502 | REQUEST FOR STATE OF EMERGENCY – PAID PAYMENTS OTE | SFVOTREQ | Input | External subject | IS OTE |
| 503 | STATE OF EMERGENCY – PAID PAYMENTS OTE | SFVOTEMGSTATEINV | Output | IS OTE | External subject |
| 504 | STATE OF EMERGENCY – PAID PAYMENTS OTE - ERROR, CONFIRMATION | RESPONSE | Output | IS OTE | External subject |
| 505 | PDT Master data - Sharing group | SFVOTREQ | Input | External subject | IS OTE |
| 506 | Request for emergency state - intraday auctions | SFVOTEMGSTATE | Output | IS OTE | External subject |
| 507 | Emergency state - intraday auctions | RESPONSE | Output | IS OTE | External subject |
| 511 | Message for sending of normal and metered average daily temperatures | TEMPERATURE | Input | CHMI | CDS |
| 512 | Error in / Confirmation of normal and metered average daily temperatures data receival | RESPONSE | Output | CDS | CHMI |
| 514 | REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT SRBP | SFVOTREQ | Input | External subject | IS OTE |
| 515 | STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT - SRBP | SFVOTEMGSTATENETT | Output | IS OTE | External subject |
| 516 | STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT SRBP - ERROR, CONFIRMATION | RESPONSE | Output | CDS | External subject |
| 517 | REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP | SFVOTREQ | Input | External subject | IS OTE |
| 518 | STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP | SFVOTEMGSTATENETT | Output | IS OTE | External subject |
| 519 | STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP - ERROR, CONFIRMATION | RESPONSE | Output | CDS | External subject |
| 521 | Message for sending of normal load profiles of supplies | TDD | Input | LP Provider | CDS |
| 522 | Error in / Confirmation of of normal load profiles of supplies receiving | RESPONSE | Output | CDS | LP Administarator |
| 531 | Message for sending of predicted temperatures | TEMPERATURE | Input | CHMI | CDS |
| 532 | Error in / Confirmation of predicted temperatures data receival | RESPONSE | Output | CDS | CHMI |
| 561 | Request for estimated diagram of PDT(C) group consumption, non-adjusted | CDSREQ | Input | Service provider | CDS |
| 562 | Error message for request for estimated diagram of PDT(C) group consumption, non-adjusted (561) | RESPONSE | Output | CDS | External subject |
| 563 | Estimated consumption diagrams of groups of PDT(C) - non-adjusted | CDSDATA | Output | CDS | External subject |
| 601 | Request for correction factor history diagram of residual DS balance | CDSREQ | Input | Service provider | CDS |
| 602 | Error message for request for correction factor history diagram of residual DS balance (601) | RESPONSE | Output | CDS | External subject |
| 603 | History diagrams of correction factor of residual balance DS | CDSDATA | Output | CDS | External subject |
| 611 | Request for estimated diagram of PDT(C) group consumption, adjusted | CDSREQ | Input | Service provider | CDS |
| 612 | Error message for request for estimated diagram of PDT(C) group consumption, adjusted to weather and residual balance (611) | RESPONSE | Output | CDS | External subject |
| 613 | Estimated consumption diagrams of groups of PDT(C) - adjusted | CDSDATA | Output | CDS | Extenal subject |
| 621 | Request for DS aggregated data | CDSREQ | Input | Service provider | CDS |
| 622 | Confirmation/error message for request for DS aggregated data (621) | RESPONSE | Output | CDS | External subject |
| 623 | Metered data per DS - structured by A, B, C | CDSDATA | Output | CDS | TSO/DSO |
| 631 | Request for aggregated data within the state of emergency | CDSREQ | Input | Service provider | CDS |
| 632 | Confirmation/error message for sending of Request for aggregated data within the state of emergency | RESPONSE | Output | CDS | External subject |
| 633 | Aggregated data within the state of emergency | CDSDATA | Output | CDS | BRP |
| 641 | Request for summary values of RMP separated by metering type A, B and C | CDSREQ | Input | External subject | CDS |
| 642 | Confirmation/error message for sending of Request for summary values of RMP separated by metering type A, B and C | RESPONSE | Output | CDS | External subject |
| 643 | Output data for summary values request per RMP divided into A, B a C | CDSDATA | Output | CDS | External subject |
| 651 | Request for summary values of RMP and grid separated by metering type A, B and C | CDSREQ | Input | External subject | CDS |
| 652 | Confirmation/error message for sending of Request for summary values of grid separated by metering type A, B and C | RESPONSE | Output | CDS | External subject |
| 653 | Output data for summary values request per RMP and grid divided into A, B a C | CDSDATA | Output | CDS | External subject |
| 661 | Request for data of normal and metered weather conditions (temperatures) | CDSREQ | Input | External subject | CDS |
| 662 | Confirmation/error message for sending of Request for data of normal and metered weather conditions (temperatures) | RESPONSE | Output | CDS | External subject |
| 663 | Data of normal and metered climatic conditions (temperatures) | CDSDATA | Output | CDS | External subject |
| 664 | Request for LP data | CDSREQ | Input | External subject | CDS |
| 665 | Confirmation/error message of Request for LP data | RESPONSE | Output | CDS | External subject |
| 666 | Data od LP diagrams - output data | CDSDATA | Output | CDS | Extrenal subject |
| 667 | Request for temperature correction coefficient data | CDSREQ | Input | External subject | CDS |
| 668 | Confirmation/error message of Request for temperature correction coefficient data | RESPONSE | Output | CDS | External subject |
| 669 | Temperature correction coefficient - output data | CDSDATA | Output | CDS | External subject |
| 671 | Request for predicted consumption/production for BRP | CDSREQ | Input | External subject | CDS |
| 672 | Confirmation/error message of Request for predicted production/consumption data for BRP | RESPONSE | Output | CDS | External subject |
| 673 | Data of predicted production/consumption for BRP | CDSDATA | Output | CDS | Extrenal subject |
| 674 | Request for corr. LP | CDSREQ | Input | External subject | CDS |
| 675 | Error, conf. of req. for corr. LP | RESPONSE | Output | CDS | External subject |
| 676 | LP corr. to temperature and rest bil. | CDSDATA | Output | CDS | Extrenal subject |
| 681 | Požadavek na historii měření B za max.12 předchozích měsíců | CDSREQ | Input | External subject | CDS |
| 682 | Chyba v požadavku na historii měření B za max.12 předchozích měsíců | RESPONSE | Output | CDS | External subject |
| 683 | Historie měření B za historii měření B za max.12 předchozích měsíců | CDSDATA | Output | CDS | Extrenal subject |
| 804 | Postponement of closing date for the opening of receipt of IDA orders | RESPONSE | Output | WAS | Extrenal subject |
| 805 | Postponement of deadline for the end of receiving IDA orders | RESPONSE | Output | WAS | Extrenal subject |
| 806 | Delay in publication of IDA results | RESPONSE | Output | WAS | Extrenal subject |
| 807 | Deletion of auction | RESPONSE | Output | WAS | Extrenal subject |
| 808 | Capacity data for IDA | RESPONSE | Output | WAS | Extrenal subject |
| 809 | Modification of capacity data for IDA | RESPONSE | Output | WAS | Extrenal subject |
| 810 | Notice of change/postponement of deadline | RESPONSE | Output | WAS | Extrenal subject |
| 811 | DM - Bid entering/replacement | ISOTEDATA | Input | External subject | IS OTE |
| 812 | Confirmation/error message for enter/replacement of DM bid | RESPONSE | Output | IS OTE | External subject |
| 813 | DM - Copy of bid data (response to 811- entering) | ISOTEDATA | Output | IS OTE | External subject |
| 814 | IDA - Bid entering/replacement | ISOTEDATA | Input | External subject | IS OTE |
| 815 | Confirmation/error message for enter/replacement of IDA bid | RESPONSE | Output | IS OTE | External subject |
| 816 | IDA - Copy of bid data (response to 814 - entering) | ISOTEDATA | Output | IS OTE | External subject |
| 821 | DM - Bid cancellation | ISOTEDATA | Input | External subject | IS OTE |
| 822 | Confirmation/error message for cancellation of DM bid | RESPONSE | Output | IS OTE | External subject |
| 823 | DM - Copy of bid data (response to 821- cancelation) | ISOTEDATA | Output | IS OTE | External subject |
| 824 | IDA - Bid cancellation | ISOTEDATA | Input | External subject | IS OTE |
| 825 | Confirmation/error message for cancellation of IDA bid | RESPONSE | Output | IS OTE | External subject |
| 826 | IDA - Copy of bid data (response to 824- cancelation) | ISOTEDATA | Output | IS OTE | External subject |
| 831 | Request for DM bid data providing | ISOTEREQ | Input | External subject | IS OTE |
| 832 | Confirmation/error message for sending of request for DM bid state definition | RESPONSE | Output | IS OTE | External subject |
| 833 | DM - Copy of bid data (response to 831- actual status) | ISOTEDATA | Output | IS OTE | External subject |
| 834 | Request for IDA bid data providing | ISOTEREQ | Input | External subject | IS OTE |
| 835 | Confirmation/error message for sending of request for IDA bid state definition | RESPONSE | Output | IS OTE | External subject |
| 836 | IDA - Copy of bid data (response to 834 - actual status) | ISOTEDATA | Output | IS OTE | External subject |
| 904 | Delay in publication of capacity data | RESPONSE | Output | IS OTE | External subject |
| 905 | Postponement of the deadline for receiving DM orders | RESPONSE | Output | IS OTE | External subject |
| 906 | (ExC_02) Delay in publication of DM results | RESPONSE | Output | IS OTE | External subject |
| 907 | (ExC_03b) Delay of DM results, possibility of decoupling | RESPONSE | Output | IS OTE | External subject |
| 908 | (ExC_04b) Full decoupling of markets - decoupling / (ExC_05b) Full decoupling of markets - early decoupling | RESPONSE | Output | IS OTE | External subject |
| 910 | Network data publication delay, decoupling possibility | RESPONSE | Output | IS OTE | External subject |
| 921 | Request for IS OTE data handover | COMMONREQ | Input | Service provider | WAS (EMTAS) |
| 922 | Confirmation/error message for sending of request for output data handover | RESPONSE | Output | IS OTE | External subject |
| 923 | Request for IS OTE data handover - MarketService | COMMONMARKETREQ | Input | Service provider | WAS (EMTAS) |
| 924 | Confirmation/error message for sending of request for output data handover - MarketService | RESPONSE | Output | IS OTE | External subject |
| 934 | Request for DM results for market area | ISOTEREQ | Input | External subject | WAS (DM) |
| 935 | Confirmation / Error message for request for DM results for market area | RESPONSE | Output | IS OTE | External subject |
| 936 | DM results for the market area (form primary market coordinator) | ISOTEDATA | Output | CDS-WAS (EMTAS) | External subject |
| 937 | Request for results of market coordination per balancing subject | ISOTEREQ | Input | External subject | WAS (DM) |
| 938 | Confirmation / Error message for request for results of market coordination per balancing subject | RESPONSE | Output | IS OTE | External subject |
| 939 | Results of market coordination per balancing subject | ISOTEDATA | Output | CDS-WAS (EMTAS) | External subject |
| 941 | Data request - Complete plan of negotiated values | ISOTEREQ | Input | Service provider | WAS (EMTAS) |
| 942 | Confirmation/error message for sending of Data request - Complete plan of negotiated values | RESPONSE | Output | IS OTE | External subject |
| 943 | Final plan of negotiated values - copy of data | ISOTEDATA | Output | WAS (EMTAS) | External subject |
| 944 | DM - Request for marginal prices and quantity | ISOTEREQ | Input | Service provider | WAS (EMTAS) |
| 945 | DM - Confirmation / error in request for marginal prices and quantity | RESPONSE | Output | IS OTE | External subject |
| 946 | DM - Marginal prices and quantity | ISOTEDATA | Output | WAS (EMTAS) | External subject |
| 947 | IDA - Request for marginal prices and quantity | ISOTEREQ | Input | Service provider | WAS (EMTAS) |
| 948 | IDA - Confirmation / error in request for marginal prices and quantity | RESPONSE | Output | IS OTE | External subject |
| 949 | IDA - Marginal prices and quantity | ISOTEDATA | Output | WAS (EMTAS) | External subject |
| 951 | Data request - Hourly settlement | ISOTEREQ | Input | Service provider | WAS (EMTAS) |
| 952 | Confirmation/error message for sending of Data request - Hourly settlement | RESPONSE | Output | IS OTE | External subject |
| 953 | Request for settlement data per hours | ISOTEDATA | Output | WAS (EMTAS) | External subject |
| 955 | (UMM_01a) Delay in final Market Coupling Results publication | - | Output | IS OTE | External subject |
| 956 | (UMM_02) Risk of Partial Decoulpilng for one or more interconnectors | - | Output | IS OTE | External subject |
| 957 | (UMM_03) One or more interconnectors decoupled | - | Output | IS OTE | External subject |
| 958 | Full decoupling known in adcance - detail info | - | Output | IS OTE | External subject |
| 959 | Decoupling CZ area - detail info | - | Output | IS OTE | External subject |
| 960 | Full decoupling - detail info | - | Output | IS OTE | External subject |
| 961 | Data request - Daily settlement | ISOTEREQ | Input | Service provider | WAS (EMTAS) |
| 962 | Confirmation/error message for sending of Data request - Daily settlement | RESPONSE | Output | IS OTE | External subject |
| 963 | Settlement per day - copy of data | ISOTEDATA | Output | WAS (EMTAS) | External subject |
| 964 | Data request - Statistic data of imbalances settlement | ISOTEREQ | Input | Service provider | WAS (DT) |
| 965 | Request for imbalance settlement statistic data - error / confirmation | RESPONSE | Output | IS OTE | External subject |
| 966 | Request for imbalance settlement statistic data - copy of data | ISOTEDATA | Output | WAS (EMTAS) | External subject |
| 970 | Response to IM accepted proposals request | RESPONSE | Output | WAS (EMTAS) | External subject |
| 974 | (ExC_03a) Risk of Partial Decoupling | - | Output | IS OTE | External subject |
| 975 | (ExC_04a) Partial Decoupling – Reopening of the order books | - | Output | IS OTE | External subject |
| 976 | (ExC_05a) Partial Decoupling known in advance | - | Output | IS OTE | External subject |
| 977 | (ExC_06) Delay in Market Coupling Results publication due to curtailment at max price detected in Lithuania, Finland or Sweden | - | Output | IS OTE | External subject |
| 981 | Notification of RRD deadline postponement | RESPONSE | Output | IS OTE | External subject |
| 982 | Settlement accomplishment notification | RESPONSE | Output | IS OTE | External subject |
| 989 | Notification about change of transfer capacity on BM (collective mail) | RESPONSE | Output | IS OTE | External subject |
| 990 | Notification about change of transfer capacity on BM (collective mail) | RESPONSE | Output | IS OTE | External subject |
| 991 | Request for server-server connection control and for delivery of non-sent IS OTE messages | COMMONREQ | Input | External subject | WAS (EMTAS) |
| 992 | Accomplishment notification of aggregation of bilateral contracts | RESPONSE | Output | IS OTE | External subject |
| 994 | Request for server-server connection control and for delivery of non-sent IS OTE messages - MarketService | COMMONMARKETREQ | Input | External subject | WAS (EMTAS) |
| 995 | Confirmation of server-server connection control and sending of non-sent messages | RESPONSE | Output | CDS | External subject |
| 996 | Confirmation of server-server connection control and sending of non-sent messages - MarketService | RESPONSE | Output | CDS | External subject |
| 997 | Notice about reconciliation of DM offers | RESPONSE | Output | IS OTE | External subject |
| GSD | Data request – Gas settlement results | ISOTEREQ | Input | Service provider | WAS (EMTAS) |
| GSE | Confirmation/error message for sending of Data request - Gas settlement results | RESPONSE | Output | IS OTE | External subject |
| GSF | Gas settlement results - copy of data | ISOTEDATA | Output | WAS (EMTAS) | External subject |
| E01 | service provider information | MASTERDATA | Output | CDS | External subject |
| E12 | information about masterdata | MASTERDATA | Output | CDS | External subject |
| E11 | registration of EAN to sharing group | MASTERDATA | Input | External subject | CDS |
| E15 | Confirmation/error message | RESPONSE | Output | CDS | External subject |
| E51 | EDC request for masterdata | CDSREQ | Input | External subject | CDS |
| E52 | Confirmation/error message | RESPONSE | Output | CDS | External subject |
| E53 | EAN masterdata information | MASTERDATA | Output | CDS | External subject |

##### Overview of acceptable message formats

There is determined, for each message, which are acceptable message format for entering or leaving CS OTE system. The overview is stated bellow.

| Msg_code | Popis | Formát zprávy | XML | EDI | TXT (pouze SMTP, nešifrované) | PDF/ HTML/RTF (pouze SMTP) | Podpis |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 050 | Syntax error in incoming message - error on communication channel level (from CDS to message sender) | RESPONSE | X | X |  |  |  |
| 051 | Syntax error in incoming message - error on communication channel level (from message receiver to CDS) | RESPONSE | X | X |  |  |  |
| 100 | Syntax error - invalid message format (from CDS to message sender) | RESPONSE | X | X |  |  |  |
| 101 | Syntax error - invalid message format (from message receiver to CDS) | RESPONSE | X | X |  |  |  |
| 110 | Request for historical maximum monthly consumption (MSMAX) | CDSREQ | x |  |  |  |  |
| 111 | PDT code list update | MASTERDATA | X |  |  |  | X |
| 112 | Information about planned disconnection of PDT | MASTERDATA | X |  |  |  | X |
| 113 | Receiving/error in message of planned disconnection of PDT | RESPONSE | X |  | X |  |  |
| 114 | Copy of message of planned disconnection of PDT | MASTERDATA | X |  | X |  | X |
| 115 | Information about PDT disconnection | MASTERDATA | X |  |  |  | X |
| 116 | Receiving/error in message of PDT disconnection | RESPONSE | X |  | X |  |  |
| 117 | Copy of message of PDT disconnection | MASTERDATA | X |  | X |  | X |
| 118 | Request for data of PDT disconnection | CDSREQ | X |  |  |  |  |
| 119 | Receiving/error in request for data of PDT disconnection | RESPONSE | X |  | X |  |  |
| 120 | PDT disconnection data | MASTERDATA | X |  | X |  | X |
| 121 | Interval metered data | CDSDATA | X | X |  |  | X |
| 122 | Non-interval metered data | CDSDATA | X |  |  |  | X |
| 123 | Base data of DGI ICS - input | CDSIDIS | X | X |  |  | X |
| 124 | Activated quantity of regulating energy according to generation of power: regulating energy, unit price | CDSDATA | X |  |  |  | X |
| 125 | Annual consumption estimation per PDT | CDSDATA | X |  |  |  | X |
| 126 | Base data of DGI RCS - input | CDSIDIS | X |  |  |  | X |
| 127 | Electronic invoice | CDSINVOICE | X |  |  |  | X |
| 128 | Receiving/error in message of electronic invoice | RESPONSE | X |  |  |  |  |
| 129 | Request for electronic invoice | CDSREQ | X |  |  |  |  |
| 130 | Receiving / error in request for electronic invoice | RESPONSE | X |  |  |  |  |
| 131 | Request for invoicing data sending | CDSREQ | X |  |  |  |  |
| 132 | Request for distribution invoicing data sending | CDSREQ | X |  |  |  |  |
| 133 | Request for provided AC sending | CDSREQ | X |  |  |  |  |
| 134 | Request for annual consumption estimation | CDSREQ | X |  |  |  |  |
| 135 | Request for substitutional (computed) values per PDT with metering type B | CDSREQ | X |  |  |  |  |
| 136 | Request for base data of DGI RCS data | CDSREQ | X |  |  |  |  |
| 138 | Request for suspension of the change of supplier process | MASTERDATA | X |  |  |  | X |
| 141 | Request for Change of supplier | MASTERDATA | X |  |  |  | X |
| 142 | Registration of negotiated diagram for controlling the imbalance responsibility (for data to 31.12.2009) | CDSDATA | X |  |  |  | X |
| 143 | Request for sending of negotiated diagrams for managing of imbalance responsibility (for data to 31.12.2009) | CDSREQ | X |  |  |  |  |
| 144 | Confirmation of acceptance/rejection of a message with a request for suspension of the change of supplier process | RESPONSE | X |  |  |  |  |
| 145 | Error in change of supplier proposal | RESPONSE | X |  |  |  |  |
| 146 | Approving/rejection of change of supplier and extra meter reading | MASTERDATA | X |  |  |  | X |
| 147 | Request for sending an extract of state of change of supplier processing | CDSREQ | X |  |  |  |  |
| 148 | Copy of a message with a request for suspension of the change of supplier process | MASTERDATA | X |  | X |  | X |
| 150 | Confirmation of customer’s consent with change of supplier | MASTERDATA | X |  |  |  | X |
| 157 | Confirmation of acceptance/rejection of a message with confirmation of customer’s consent with change of supplier | RESPONSE | X |  |  |  |  |
| 158 | Copy of confirmation of customer’s consent with change of supplier | MASTERDATA | X |  | X |  | X |
| 151 | Request for assigned observers data | CDSREQ | X |  |  |  |  |
| 152 | Error in / confirmation of assigned observers request receiving | RESPONSE | X |  | X |  |  |
| 153 | Assigned observers data | MASTERDATA | X |  | X |  | X |
| 154 | Request for assigned BRP data | CDSREQ | X |  |  |  |  |
| 155 | Error in / confirmation of assigned BRP request receiving | RESPONSE | X |  | X |  |  |
| 156 | Assigned subjects of settlement data | MASTERDATA | X |  | X |  | X |
| 160 | Planned concumption diagrams (PDT type B) | CDSDATA | X |  |  |  | X |
| 161 | Planned generation or consumption diagrams (PDT type A) or generation diagrams (PDT type B) | CDSDATA | X |  |  |  | X |
| 162 | Planned values of generation | CDSDATA | X |  |  |  | X |
| 163 | Single-shot request for complete trade balance statement data sending | CDSREQ | X |  |  |  |  |
| 165 | Entry / actualisattion of the claim | CDSCLAIM | X |  |  |  | X |
| 166 | Confirmation / error in the claim message | RESPONSE | X |  | X |  |  |
| 167 | Claim copy | CDSCLAIM | X |  | X |  | X |
| 168 | Request for the claim data | CDSREQ | X |  |  |  |  |
| 169 | Confimation / error in the request for the claim data | RESPONSE | X |  | X |  |  |
| 170 | Claim copy (on participant’s request) | CDSCLAIM | X |  | X |  | X |
| 171 | OTE message (notice board) | CDSCLAIM | X |  |  |  | X |
| 172 | Request for the OTE messages (data from the message board) | CDSREQ | X |  |  |  |  |
| 173 | Confirmation / error in the request for the OTE messages | RESPONSE | X |  | X |  |  |
| 174 | OTE message (on request) | CDSCLAIM | X |  | X |  | X |
| 175 | Notification about expiration of periodic request validity | RESPONSE | X |  | X |  |  |
| 178 | Results of evaluation of request for change of supplier | MASTERDATA | X |  | X |  | X |
| 179 | Copy of the change of supplier progress information | MASTERDATA | X |  | X |  | X |
| 180 | Confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | MASTERDATA | X |  |  |  | X |
| 181 | Confirmation of acceptance/rejection of a message with confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | RESPONSE | X |  |  |  |  |
| 182 | Copy of confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | MASTERDATA | X |  | X |  | X |
| 183 | Request for extension / reduction of supply by current supplier | MASTERDATA | X |  |  |  | X |
| 184 | Confirmation of / Error in request for extension / reduction of supply by current supplier | RESPONSE | X |  |  |  |  |
| 185 | Copy of the request for extension / reduction of supply by current supplier | MASTERDATA | X |  | X |  | X |
| 186 | Approbation with imb. resp. transfer within supply extension / reduction | MASTERDATA | X |  |  |  | X |
| 187 | Confirmation of / Error in approbation with imb. resp. transfer within supply extension / reduction | RESPONSE | X |  |  |  |  |
| 188 | Copy of the approbation with imb. resp. transfer within supply extension / reduction | MASTERDATA | X |  | X |  | X |
| 189 | Message about possible reservation of distribution or transport capacity within supply extension / reduction | MASTERDATA | X |  |  |  | X |
| 190 | Confirmation of acceptance/rejection of a message about possible reservation of distribution or transport capacity within supply extension / reduction | RESPONSE | X |  |  |  |  |
| 191 | Copy of a message about possible reservation of distribution or transport capacity within supply extension / reduction | MASTERDATA | X |  | X |  | X |
| 192 | Request for supplier/subject of settlement mass change | MASTERDATA | X |  | X |  | X |
| 193 | Supplier/subject of settlement mass change | MASTERDATA | X |  | X |  | X |
| 210 | Error in request for historical maximum monthly consumption (MSMAX) | RESPONSE | X |  |  |  |  |
| 211 | Historical max. monthly consumption (MSMAX) | CDSDATA | X |  |  |  |  |
| 212 | Confirmation of PDT code list update | MASTERDATA | X |  | X |  | X |
| 215 | Confirmation of PDT code list update | RESPONSE | X |  | X |  |  |
| 222 | Confirmation of interval metered data receiving | RESPONSE | X | X | X |  |  |
| 224 | Confirmation of non-interval metered data receiving | RESPONSE | X |  | X |  |  |
| 226 | Confirmation of distribution invoicing data receiving | RESPONSE | X | X |  |  |  |
| 228 | TSO data receiving - receiving confirmation | RESPONSE | X |  | X |  |  |
| 229 | Confirmation of / Error in base data of DGI RCS data receiving | RESPONSE | X |  | X |  |  |
| 231 | Error in request sending | RESPONSE | X |  | X |  |  |
| 232 | Activated quantity of regulating energy according to generation of power: regulating energy, unit price | CDSDATA | X | X |  |  | X |
| 233 | Base data of DGI ICS data request - Receiving / rejection of request | RESPONSE | X |  | X |  |  |
| 234 | Base data of DGI ICS - output | CDSIDIS | X | X |  |  | X |
| 235 | Error message to request for data of provided regulation energy | RESPONSE | X |  | X |  |  |
| 236 | Provided regulating energy positive and negative | CDSDATA | X |  |  |  | X |
| 237 | Error message for request 134 (annual consumption estimation) | RESPONSE | X |  | X |  |  |
| 238 | Annual consumption estimation per PDT type C | CDSDATA | X |  |  |  | X |
| 239 | Base data of DGI RCS data request - Receiving / rejection of request | RESPONSE | X |  | X |  |  |
| 240 | Base data of DGI RCS - output | CDSIDIS | X |  |  |  | X |
| 241 | Error in request for change of supplier sending | RESPONSE | X |  | X |  |  |
| 243 | Negotiated diagram sending error (for data to 31.12.2009) | RESPONSE | X |  | X |  |  |
| 244 | Confirmation of sent negotiated diagram receiving (for data to 31.12.2009) | RESPONSE | X |  | X |  |  |
| 245 | Message of Supplier of last resort activation on position of primary supplier (SLR active) | MASTERDATA | X |  |  |  | X |
| 246 | Proposal of change of supplier - for approving | MASTERDATA | X |  |  |  | X |
| 247 | Error in change of supplier proposal | RESPONSE | X |  | X |  |  |
| 248 | Change of supplier message | MASTERDATA | X |  |  |  | X |
| 249 | Notification to primary supplier about future contract of delivery | MASTERDATA | X |  |  |  | X |
| 250 | Extract of the state of change of supplier | MASTERDATA | X |  |  |  | X |
| 251 | Error in request for negotiated data (for data to 31.12.2009) | RESPONSE | X |  | X |  |  |
| 252 | Negotiated diagrams for controlling the imbalance responsibility (for data to 31.12.2009) | CDSDATA | X |  |  |  | X |
| 253 | Error in request for listing of change of supplier logbook | RESPONSE | X |  | X |  |  |
| 254 | Request for assigning a subject of settlement to OPM | MASTERDATA | X |  |  |  | X |
| 255 | Error in / Confirmation of request receiving to assign subject of settlement to PDT | RESPONSE | X |  | X |  |  |
| 256 | Information about subject of settlement´s assignement to PDT | MASTERDATA | X |  | X |  | X |
| 257 | Request for assigning an observer to PDT | MASTERDATA | X |  |  |  | X |
| 258 | Error in / Confirmation of request receiving to assign an observer to PDT | RESPONSE | X |  | X |  |  |
| 259 | Information about observer´s assignement to PDT | MASTERDATA | X |  | X |  | X |
| 261 | Error / Confirmation of receiving planned consumption values (B) | RESPONSE | X |  | X |  | X |
| 262 | Error / Confirmation of receiving planned production values (A,B) | RESPONSE | X |  | X |  |  |
| 263 | Confirmation of receiving / Error in sending of negotiated CTBS values | RESPONSE | X |  | X |  | X |
| 265 | Error in request for CTBS values sending | RESPONSE | X |  | X |  |  |
| 266 | Planned values of generation A, B and C | CDSDATA | X |  |  |  | X |
| 271 | Confirmation/rejection of message for sending of request for substitutional (computed) values of PDT with type B metering | RESPONSE | X |  | X |  |  |
| 272 | Output data – substitutional (computed) values per PDT with metering type B | CDSDATA | X |  |  |  | X |
| 274 | Approval/rejection of request for change of subject of settlement by the subject of settlement | MASTERDATA | X |  |  |  | X |
| 275 | Sending of confirmation of acceptance/rejection of a message with request for change of subject of settlement by the subject of settlement | RESPONSE | X |  |  |  |  |
| 276 | Copy of approval/rejection of request for change of subject of settlement by the subject of settlement | MASTERDATA | X |  | X |  | X |
| 277 | Monthly LDS statement | CDSLDSREPORT | X |  |  |  | X |
| 278 | Confirmation of/Error in monthly LDS statement | RESPONSE | X |  |  |  |  |
| 279 | Monthly LDS statement - copy of data | CDSLDSREPORT | X |  |  |  | X |
| 280 | Request for monthly LDS statement | CDSREQ | X |  |  |  |  |
| 281 | Confirmation of/Error in request for monthly LDS statement | RESPONSE | X |  |  |  |  |
| 282 | Monthly LDS statement - copy of data | CDSLDSREPORT | X |  |  |  | X |
| 283 | System services settlement report | CDSSYSTSERVREPORT | X |  |  |  | X |
| 284 | System services settlement report - confirmation / error | RESPONSE | X |  |  |  |  |
| 285 | System services settlement report - copy of data | CDSSYSTSERVREPORT | X |  |  |  | X |
| 286 | Request for system services settlement report | CDSREQ | X |  |  |  |  |
| 287 | Request for system services settlement report - confirmation / error | RESPONSE | X |  |  |  |  |
| 288 | System services settlement report | CDSSYSTSERVREPORT | X |  |  |  | X |
| 301 | Request for consumption estimation for imbalance settlement in period when the metered meter reading is sent. | CDSREQ | X |  |  |  |  |
| 302 | Confirmation/error message for sending of Request for consumption estimation for settlement | RESPONSE | X |  |  |  |  |
| 303 | Data - consumption estimation for imbalance settlement in period, to which the metered meter reading was sent | CDSDATA | X |  |  |  | X |
| 311 | Request for imbalance data per PDT C (consumption) computed within Clearing | CDSREQ | X |  |  |  |  |
| 312 | Confirmation/error message for sending of Request for imbalance data per PDT C (consumption) computed within Clearing | RESPONSE | X |  | X |  |  |
| 313 | Data - Imbalances per PDT of type C consumption calculated within the Clearing process | CDSDATA | X |  |  |  | X |
| 314 | Request of ORS for calc. of imbalances and clearing | CDSREQ | X |  |  |  |  |
| 315 | Err. mess. to the req. of ORS for calc. of imbal. and clea | RESPONSE | X |  | X |  |  |
| 316 | Values of ORS for calc. of imbalances and clearing | CDSDATA | X |  |  |  | X |
| 321 | Request for metered values - non-interval | CDSREQ | X |  |  |  |  |
| 322 | Confirmation/error message for sending of Request for metered values - non-interval | RESPONSE | X |  | X |  |  |
| 323 | Data - metered values - non-interval | CDSDATA | X |  |  |  | X |
| 331 | Data request - calculation per primary supplier of PDT | CDSREQ | X |  |  |  |  |
| 332 | Confirmation/error message for sending of Data request - calculation per primary supplier of PDT | RESPONSE | X |  | X |  |  |
| 333 | Metered values – calculation per primary supplier of PDT | CDSDATA | X |  |  |  | X |
| 341 | Data request - aggregated values per supplier/customer | CDSREQ | X |  |  |  |  |
| 342 | Confirmation/error message for sending of Data request - aggregated values per supplier | RESPONSE | X |  | X |  |  |
| 343 | Metered values – aggregated values per supplier/customer | CDSDATA | X |  |  |  | X |
| 351 | Data request - master data of PDT | CDSREQ | X |  |  |  |  |
| 352 | Confirmation/error message for sending of Data request - master data of PDT | RESPONSE | X |  | X |  |  |
| 353 | PDT Master data - copy of data | MASTERDATA | X |  | X |  | X |
| 354 | Request for simplified list of PDT | CDSREQ | X |  |  |  |  |
| 355 | Error message for sending simplified list of PDT | RESPONSE | X |  | X |  |  |
| 356 | Simplified list of PDT | MASTERDATA | X |  | X |  | X |
| 362 | Information about LDS meter reading incompleteness within the monthly and final monthly settlement – per individual PDT | RESPONSE | X |  | X |  |  |
| 367 | Request for a list of PDT in the community | CDSREQ | X |  |  |  |  |
| 368 | Confirmation/error in the request to enumerate PDTs in the community | RESPONSE | X |  | X |  |  |
| 369 | List of PDTs in the community | MASTERDATA | X |  | X |  | X |
| 371 | Požadavek na výpis OPM dle služby | CDSREQ | X |  |  |  |  |
| 372 | Potvrzení/chyba v požadavku na výpis OPM dle služby | RESPONSE | X |  | X |  |  |
| 373 | Výpis OPM dle služby | MASTERDATA | X |  | X |  | X |
| 381 | Request for master data of the OPM sharing group | CDSREQ | X |  |  |  |  |
| 382 | Error Message for Request for OPM Sharing Master Data | RESPONSE | X |  |  |  |  |
| 383 | PDT Master data - Sharing group | MASTERDATA | X |  |  |  |  |
| 400 | Invoicing base data | SFVOTREQ | X |  |  |  |  |
| 401 | Invoicing base data | SFVOTBILLING | X |  |  | X | X |
| 402 | Invoicing base data - error/confirmation | RESPONSE | X |  |  |  |  |
| 403 | OTE Invoicing base data | SFVOTREQ | X |  |  |  |  |
| 404 | OTE Invoicing base data | SFVOTBILLING | X |  |  | X | X |
| 405 | OTE invoicing base data - error/confirmation | RESPONSE | X |  |  |  |  |
| 406 | Payments and refunds overview | SFVOTREQ | X |  |  |  |  |
| 407 | Overview of payments and complaints | SFVOTCLAIM | X |  |  | X | X |
| 408 | Payments and refunds overview - error/confirmation | RESPONSE | X |  |  |  |  |
| 409 | OTE Payments and refunds overview | SFVOTREQ | X |  |  |  |  |
| 410 | OTE Overview of payments and complaints | SFVOTCLAIM | X |  |  | X | X |
| 411 | OTE payments and refunds overview - error/confirmation | RESPONSE | X |  |  |  |  |
| 413 | LP differences settlement | SFVOTTDD | X |  |  | X | X |
| 414 | Payments and refunds overview - error/confirmation | RESPONSE | X |  |  |  |  |
| 416 | OTE LP differences settlement | SFVOTTDD | X |  |  | X | X |
| 417 | OTE LP differences settlement - error/confirmation | RESPONSE | X |  |  |  |  |
| 418 | Request for the settlement report EMO-OTE | SFVOTREQ | X |  |  |  |  |
| 419 | Settlement report EMO-OTE | SFVOTBILLINGEMO | X |  |  | X | X |
| 420 | Confirmation / error in the request for the settlement report EMO-OTE | RESPONSE | X |  |  |  |  |
| 421 | Request for the settlement report OTE-EMO | SFVOTREQ | X |  |  |  |  |
| 422 | Settlement report OTE-EMO | SFVOTBILLINGEMO | X |  |  | X | X |
| 423 | Confirmation / erroro in the request for the settlement report OTE-EMO | RESPONSE | X |  |  |  |  |
| 424 | Notification on reaching of the financial security limit | RESPONSE | X |  |  |  |  |
| 425 | Request for OTE settlement rate | SFVOTREQ | X |  |  |  |  |
| 426 | OTE settlement exchange rate | SFVOTEXCHRATE | X |  |  | X | X |
| 427 | Confirmation / error in request for OTE settlement exchange rate | RESPONSE | X |  |  |  |  |
| 428 | Request for report of figured receivables and liabilities | SFVOTREQ | X |  |  |  |  |
| 429 | Report of figured receivables and liabilities | SFVOTDTEXPIMP | X |  |  | X | X |
| 430 | Confirmation / error in the request for list of figured receivables and liabilities | RESPONSE | X |  |  |  |  |
| 431 | Request for report of daily payments confirmation | SFVOTREQ | X |  |  |  |  |
| 432 | Report of daily payments confirmation | SFVOTCONFDATA | X |  |  | X | X |
| 433 | Confirmation / error in the request for report of daily payments confirmation | RESPONSE | X |  |  |  |  |
| 434 | Invoicing base data - summary - request | SFVOTREQ | X |  |  |  |  |
| 435 | Invoicing base data - summary | SFVOTBILLINGSUM | X |  |  | X | X |
| 436 | Invoicing base data - summary - confirmation / error | RESPONSE | X |  |  |  |  |
| 437 | OTE invoicing base data - summary - request | SFVOTREQ | X |  |  |  |  |
| 438 | OTE invoicing base data - summary | SFVOTBILLINGSUM | X |  |  | X | X |
| 439 | OTE invoicing base data - summary - confirmation / error | RESPONSE | X |  |  |  |  |
| 440 | Claim overview - summary - request | SFVOTREQ | X |  |  |  |  |
| 441 | Claim overview - summary | SFVOTCLAIMSUM | X |  |  | X | X |
| 442 | Claim overview - summary - confirmation / error | RESPONSE | X |  |  |  |  |
| 443 | OTE Claim overview - summary - request | SFVOTREQ | X |  |  |  |  |
| 444 | OTE Claim overview - summary | SFVOTCLAIMSUM | X |  |  | X | X |
| 445 | OTE Claim overview - summary - confirmation / error | RESPONSE | X |  |  |  |  |
| 450 | Request for registration of imbalance responsibility transfer | MASTERDATA | X |  |  |  | X |
| 451 | Confirmation of / Error in request for registration of imbalance responsibility transfer receiving | RESPONSE | X |  |  |  |  |
| 452 | Information about registration of imbalance responsibility transfer | MASTERDATA | X |  |  |  | X |
| 453 | Approbation / Refusal of imbalance responsibility transfer | MASTERDATA | X |  |  |  | X |
| 454 | Confirmation of / Error in approbation / refusal of imbalance responsibility transfer receivnig | RESPONSE | X |  |  |  |  |
| 455 | Request for imbalance responsibility transfer | SFVOTREQ | X |  |  |  |  |
| 456 | Confirmation of / Error in request for imbalance responsibility transfer receiving | RESPONSE | X |  |  |  |  |
| 457 | Information about imbalance responsibility transfer (on request 455) | MASTERDATA | X |  |  |  | X |
| 460 | LP netting - request | SFVOTREQ | X |  |  |  |  |
| 461 | LP netting | SFVOTTDDNETT | X |  |  |  | X |
| 462 | LP netting - error/confirmation | RESPONSE | X |  |  |  |  |
| 463 | Financial status limit - request | SFVOTREQ | X |  |  |  |  |
| 464 | Financial status limit | SFVOTLIMITS | X |  |  |  | X |
| 465 | Financial status limit - error/confirmation | RESPONSE | X |  |  |  |  |
| 466 | LP netting - request | SFVOTREQ | X |  |  |  |  |
| 467 | LP netting - final settlement | SFVOTTDDNETT | X |  |  |  | X |
| 468 | LP netting - final settlement - error/confirmation | RESPONSE | X |  |  |  |  |
| 469 | Final Settlement of Clearing Differences - request. It replaces code 412. | SFVOTREQ | X |  |  |  |  |
| 470 | Final Settlement of Clearing Differences | SFVOTTDD | X |  |  |  | X |
| 471 | Final Settlement of Clearing Differences - error/confirmation | RESPONSE | X |  |  |  |  |
| 472 | Final Settlement of Clearing Differences - request. It replaces code 415. | SFVOTREQ | X |  |  |  |  |
| 473 | Final Settlement of Clearing Differences - OTE | SFVOTTDD | X |  |  |  | X |
| 474 | Final Settlement of Clearing Differences OTE - error/confirmation | RESPONSE | X |  |  |  |  |
| 475 | Billing report ČEPS - PSK - request | SFVOTREQ | X |  |  |  |  |
| 476 | Billing report ČEPS - PSK | SFVOTPSK | X |  |  |  | X |
| 477 | Billing report ČEPS - PSK - error/confirmation | RESPONSE | X |  |  |  |  |
| 478 | Přehled plateb a reklamací RE – ČEPS - request | SFVOTREQ | X |  |  |  |  |
| 479 | Claim report ČEPS – PSK | SFVOTPSK | X |  |  |  | X |
| 480 | Claim report ČEPS – PSK - error/confirmation | RESPONSE | X |  |  |  |  |
| 481 | Setting limit VDT/VT | SFVOTSETTINGS | X |  |  |  | X |
| 482 | Current value of limit VDT/VT | SFVOTLIMITS | X |  |  |  | X |
| 483 | Error / confirmation set the limit at VDT / VT | RESPONSE | X |  |  |  |  |
| 484 | Automatic change limit VDT/VT | SFVOTLIMITCHANGE | X |  |  |  | X |
| 485 | Error / confirmation by sending an automatic limit change VDT / VT | RESPONSE | X |  |  |  |  |
| 496 | REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT SRBP | SFVOTREQ | X |  |  |  |  |
| 497 | STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT - SRBP | SFVOTEMGSTATENETT | X |  |  |  | X |
| 498 | STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT SRBP - ERROR, CONFIRMATION | RESPONSE | X |  |  |  |  |
| 499 | REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP | SFVOTREQ | X |  |  |  |  |
| 500 | STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP | SFVOTEMGSTATENETT | X |  |  |  | X |
| 501 | STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP - ERROR, CONFIRMATION | RESPONSE | X |  |  |  |  |
| 505 | PDT Master data - Sharing group | SFVOTREQ | X |  |  |  |  |
| 506 | Request for emergency state - intraday auctions | SFVOTEMGSTATE | X |  |  |  |  |
| 507 | Emergency state - intraday auctions | RESPONSE | X |  |  |  |  |
| 511 | Message for sending of normal and metered average daily temperatures | TEMPERATURE | X |  |  |  | X |
| 512 | Error in / Confirmation of normal and metered average daily temperatures data receival | RESPONSE | X |  |  |  |  |
| 514 | REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT SRBP | SFVOTREQ | X |  |  |  |  |
| 515 | STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT - SRBP | SFVOTEMGSTATENETT | X |  |  |  | X |
| 516 | STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT SRBP - ERROR, CONFIRMATION | RESPONSE | X |  |  |  |  |
| 517 | REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP | SFVOTREQ | X |  |  |  |  |
| 518 | STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP | SFVOTEMGSTATENETT | X |  |  |  | X |
| 519 | STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP - ERROR, CONFIRMATION | RESPONSE | X |  |  |  |  |
| 521 | Message for sending of normal load profiles of supplies | TDD | X |  |  |  | X |
| 522 | Error in / Confirmation of of normal load profiles of supplies receiving | RESPONSE | X |  |  |  |  |
| 531 | Message for sending predicted temperatures | TEMPERATURE | X |  |  |  | X |
| 532 | Error in / Confirmation of predicted temperatures data receival | RESPONSE | X |  |  |  |  |
| 561 | Request for estimated diagram of PDT(C) group consumption, non-adjusted | CDSREQ | X |  |  |  |  |
| 562 | Error message for request for estimated diagram of PDT(C) group consumption, non-adjusted (561) | RESPONSE | X |  |  |  |  |
| 563 | Estimated consumption diagrams of groups of PDT(C) - non-adjusted | CDSDATA | X |  |  |  | X |
| 601 | Request for correction factor history diagram of residual DS balance | CDSREQ | X |  |  |  |  |
| 602 | Error message for request for correction factor history diagram of residual DS balance (601) | RESPONSE | X |  |  |  |  |
| 603 | History diagrams of correction factor of residual balance DS | CDSDATA | X |  |  |  | X |
| 611 | Request for estimated diagram of PDT(C) group consumption, adjusted | CDSREQ | X |  |  |  |  |
| 612 | Error message for request for estimated diagram of PDT(C) group consumption, adjusted to weather and residual balance (611) | RESPONSE | X |  |  |  |  |
| 613 | Estimated consumption diagrams of groups of PDT(C) - adjusted | CDSDATA | X |  |  |  | X |
| 621 | Request for DS aggregated data | CDSREQ | X |  |  |  |  |
| 622 | Confirmation/error message for request for DS aggregated data (621) | RESPONSE | X |  |  |  |  |
| 623 | Metered data per DS - structured by A, B, C | CDSDATA | X |  |  |  | X |
| 631 | Request for aggregated data within the state of emergency | CDSREQ | X |  |  |  |  |
| 632 | Confirmation/error message for sending of Request for aggregated data within the state of emergency | RESPONSE | X |  |  |  |  |
| 633 | Aggregated data within the state of emergency | CDSDATA | X |  |  |  | X |
| 641 | Request for summary values of RMP separated by metering type A, B and C | CDSREQ | X |  |  |  |  |
| 642 | Confirmation/error message for sending of Request for summary values of RMP separated by metering type A, B and C | RESPONSE | X |  |  |  |  |
| 643 | Output data for summary values request per RMP divided into A, B a C | CDSDATA | X |  |  |  | X |
| 651 | Request for summary values of RMP and grid separated by metering type A, B and C | CDSREQ | X |  |  |  |  |
| 652 | Confirmation/error message for sending of Request for summary values of grid separated by metering type A, B and C | RESPONSE | X |  |  |  |  |
| 653 | Output data for summary values request per RMP and grid divided into A, B a C | CDSDATA | X |  |  |  | X |
| 661 | Request for data of normal and metered weather conditions (temperatures) | CDSREQ | X |  |  |  |  |
| 662 | Confirmation/error message for sending of Request for data of normal and metered weather conditions (temperatures) | RESPONSE | X |  |  |  |  |
| 663 | Data of normal and metered climatic conditions (temperatures) | CDSDATA | X |  |  |  | X |
| 664 | Request for LP data | CDSREQ | X |  |  |  |  |
| 665 | Confirmation/error message of Request for LP data | RESPONSE | X |  |  |  |  |
| 666 | Data od LP diagrams - output data | CDSDATA | X |  |  |  | X |
| 667 | Request for temperature correction coefficient data | CDSREQ | X |  |  |  |  |
| 668 | Confirmation/error message of Request for temperature correction coefficient data | RESPONSE | X |  |  |  |  |
| 669 | Temperature correction coefficient - output data | CDSDATA | X |  |  |  | X |
| 671 | Request for predicted consumption/production for BRP | CDSREQ | X |  |  |  |  |
| 672 | Confirmation/error message of Request for predicted production/consumption data for BRP | RESPONSE | X |  |  |  |  |
| 673 | Data of predicted production/consumption for BRP | CDSDATA | X |  |  |  | X |
| 674 | Request for corr. LP | CDSREQ | X |  |  |  |  |
| 675 | Error, conf. of req. for corr. LP | RESPONSE | X |  |  |  |  |
| 676 | LP corr. to temperature and rest bil. | CDSDATA | X |  |  |  | X |
| 681 | Request for a history of B measurements for a maximum of 12 previous months | CDSREQ | X |  |  |  |  |
| 682 | Error in the request for B measurement history for a maximum of 12 previous months | RESPONSE | X |  |  |  |  |
| 683 | B measurement history for B measurement history for max. 12 previous months | CDSDATA | X |  |  |  | X |
| 804 | Postponement of closing date for the opening of receipt of IDA orders | RESPONSE | X |  |  |  |  |
| 805 | Postponement of deadline for the end of receiving IDA orders | RESPONSE | X |  |  |  |  |
| 806 | Delay in publication of IDA results | RESPONSE | X |  |  |  |  |
| 807 | Deletion of auction | RESPONSE | X |  |  |  |  |
| 808 | Capacity data for IDA | RESPONSE | X |  |  |  |  |
| 809 | Modification of capacity data for IDA | RESPONSE | X |  |  |  |  |
| 810 | Notice of change/postponement of deadline | RESPONSE | X |  |  |  |  |
| 811 | DM - Bid entering/replacement | ISOTEDATA | X |  |  |  | X |
| 812 | Confirmation/error message for enter/replacement of DM bid | RESPONSE | X |  |  |  |  |
| 813 | DM - Copy of bid data (response to 811- entering) | ISOTEDATA | X |  |  |  | X |
| 814 | IDA - Bid entering/replacement | ISOTEDATA | X |  |  |  | X |
| 815 | Confirmation/error message for enter/replacement of IDA bid | RESPONSE | X |  |  |  |  |
| 816 | IDA - Copy of bid data (response to 814 - entering) | ISOTEDATA | X |  |  |  | X |
| 821 | DM - Bid cancellation | ISOTEDATA | X |  |  |  | X |
| 822 | Confirmation/error message for cancellation of DM bid | RESPONSE | X |  |  |  |  |
| 823 | DM - Copy of bid data (response to 821- cancelation) | ISOTEDATA | X |  |  |  | X |
| 824 | IDA - Bid cancellation | ISOTEDATA | X |  |  |  | X |
| 825 | Confirmation/error message for cancellation of IDA bid | RESPONSE | X |  |  |  |  |
| 826 | IDA - Copy of bid data (response to 824 - cancelation) | ISOTEDATA | X |  |  |  | X |
| 831 | Request for DM bid data providing | ISOTEREQ | X |  |  |  |  |
| 832 | Confirmation/error message for sending of request for DM bid state definition | RESPONSE | X |  |  |  |  |
| 833 | DM - Copy of bid data (response to 831- actual status) | ISOTEDATA | X |  |  |  | X |
| 834 | Request for IDA bid data providing | ISOTEREQ | X |  |  |  |  |
| 835 | Confirmation/error message for sending of request for IDA bid state definition | RESPONSE | X |  |  |  |  |
| 836 | IDA - Copy of bid data (response to 834 - actual status) | ISOTEDATA | X |  |  |  | X |
| 904 | Delay in publication of capacity data | RESPONSE | X |  |  |  |  |
| 905 | Postponement of the deadline for receiving DM orders | RESPONSE | X |  |  |  |  |
| 906 | (ExC_02) Delay in publication of DM results | RESPONSE | X |  |  |  |  |
| 907 | (ExC_03b) Delay of DM results, possibility of decoupling | RESPONSE | X |  |  |  |  |
| 908 | (ExC_04b) Full decoupling of markets - decoupling / (ExC_05b) Full decoupling of markets - early decoupling | RESPONSE | X |  |  |  |  |
| 910 | Network data publication delay, decoupling possibility | RESPONSE | X |  |  |  |  |
| 921 | Request for IS OTE data handover | COMMONREQ | X |  |  |  |  |
| 922 | Confirmation/error message for sending of request for output data handover | RESPONSE | X |  |  |  |  |
| 923 | Request for IS OTE data handover - MarketService | COMMONMARKETREQ | X |  |  |  |  |
| 924 | Confirmation/error message for sending of request for output data handover - MarketService | RESPONSE | X |  |  |  |  |
| 934 | Request for DM results for market area | ISOTEREQ | X |  |  |  |  |
| 935 | Confirmation / Error message for request for DM results for market area | RESPONSE | X |  |  |  |  |
| 936 | DM results for the market area (form primary market coordinator) | ISOTEDATA | X |  |  |  | X |
| 937 | Request for results of market coordination per balancing subject | ISOTEREQ | X |  |  |  |  |
| 938 | Confirmation / Error message for request for results of market coordination per balancing subject | RESPONSE | X |  |  |  |  |
| 939 | Results of market coordination per balancing subject | ISOTEDATA | X |  |  |  | X |
| 941 | Data request - Complete plan of negotiated values | ISOTEREQ | X |  |  |  |  |
| 942 | Confirmation/error message for sending of Data request - Complete plan of negotiated values | RESPONSE | X |  |  |  |  |
| 943 | Final plan of negotiated values - copy of data | ISOTEDATA | X |  |  |  | X |
| 944 | DM - Request for marginal prices and quantity | ISOTEREQ | X |  |  |  |  |
| 945 | DM - Confirmation / error in request for marginal prices and quantity | RESPONSE | X |  |  |  |  |
| 946 | DM - Marginal prices and quantity | ISOTEDATA | X |  |  |  | X |
| 947 | IDA - Request for marginal prices and quantity | ISOTEREQ | X |  |  |  |  |
| 948 | IDA - Confirmation / error in request for marginal prices and quantity | RESPONSE | X |  |  |  |  |
| 949 | IDA - Marginal prices and quantity | ISOTEDATA | X |  |  |  | X |
| 951 | Data request - Hourly settlement | ISOTEREQ | X |  |  |  |  |
| 952 | Confirmation/error message for sending of Data request - Hourly settlement | RESPONSE | X |  |  |  |  |
| 953 | Request for settlement data per hours | ISOTEDATA | X |  |  |  | X |
| 961 | Data request - Daily settlement | ISOTEREQ | X |  |  |  |  |
| 962 | Confirmation/error message for sending of Data request - Daily settlement | RESPONSE | X |  |  |  |  |
| 963 | Settlement per day - copy of data | ISOTEDATA | X |  |  |  | X |
| 964 | Data request - Statistic data of imbalances settlement | ISOTEREQ | X |  |  |  |  |
| 965 | Request for imbalance settlement statistic data - error / confirmation | RESPONSE | X |  |  |  |  |
| 966 | Request for imbalance settlement statistic data - copy of data | ISOTEDATA | X |  |  |  | X |
| 970 | Response to IM accepted proposals request | RESPONSE | X |  |  |  |  |
| 981 | Notification, gate open/closure time of RRD/DM has been changed | RESPONSE | X |  |  |  |  |
| 982 | Settlement accomplishment notification | RESPONSE | X |  |  |  |  |
| 989 | Notification about change of transfer capacity on BM (collective mail) | RESPONSE | X |  |  |  |  |
| 990 | Notification about opening of the 2nd auction to the market participants | RESPONSE | X |  |  |  |  |
| 991 | Request for server-server connection control and for delivery of non-sent IS OTE messages | COMMONREQ | X |  |  |  |  |
| 992 | Accomplishment notification of aggregation of bilateral contracts | RESPONSE | X |  |  |  |  |
| 994 | Request for server-server connection control and for delivery of non-sent IS OTE messages - MarketService | COMMONMARKETREQ | X |  |  |  |  |
| 995 | Confirmation of server-server connection control and sending of non-sent messages | RESPONSE | X |  |  |  |  |
| 996 | Confirmation of server-server connection control and sending of non-sent messages - MarketService | RESPONSE | X |  |  |  |  |
| 997 | Notice about reconciliation of DM offers | RESPONSE | X |  |  |  |  |
| GSD | Data request – Gas settlement results | ISOTEREQ | X |  |  |  |  |
| GSE | Confirmation/error message for sending of Data request - Gas settlement results | RESPONSE | X |  |  |  |  |
| GSF | Gas settlement results - copy of data | ISOTEDATA | X |  |  |  | X |
| E01 | service provider information | MASTERDATA | X |  |  |  |  |
| E12 | information about masterdata | MASTERDATA | X |  |  |  |  |
| E11 | registration of EAN to sharing group | MASTERDATA | X |  |  |  |  |
| E15 | Confirmation/error message | RESPONSE | X |  |  |  |  |
| E51 | EDC request for masterdata | CDSREQ | X |  |  |  |  |
| E52 | Confirmation/error message | RESPONSE | X |  |  |  |  |
| E53 | EAN masterdata information | MASTERDATA | X |  |  |  |  |

# XML Messages formats

Here you can find a description of messages´ formats, which are used for CS OTE communication. For each format, there are brief characteristic, list of format usage, XML schema structure (*XSD) and a link to an example.

For optimal link performace, it is necessary, that all files were placed in following structure (arrows indicates the content of the folder) and the document is run from this location:

In the description, there is filled the entry „Reference message“ for some items, inducatin msg_code of the message, that evoqued the sending of that item within the whole communication scenario (e.g.: data request and response).

Communication scenario description and further application details of defined structures are to be found in documents:

D1.4.4 IS OTE Automatic communication interface

User manual for CDS external subjects

## CDSCLAIM

##### PURPOSE

XML message in the CDSCLAIM format serves for communication of data of claims, request for information and  publishing of information of OTE for the market participants.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 165 | Entry / actualisattion of the claim | - | Input | External subject | CS OTE |
| 167 | Claim copy | 165 | Output | CS OTE | External subject |
| 170 | Claim copy (on participant’s request) | 168 | Output | CS OTE | RMP |
| 171 | OTE message (notice board) | - | Output | CS OTE | External subject |
| 174 | OTE message (on request) | 172 | Output | CS OTE | External subject |

Full format CDSCLAIM in the form of XSD template is to be found here:

XML\CDSCLAIM

##### exemple of CDSCLAIM format message

| Description | Link |
| --- | --- |
| Entry / actualisattion of the claim (165) | XML\CDSCLAIM\CDSCLAIM_msg_code_165.xml |

## CDSDATA

##### Purpose

XML message in CDSDATA format is used to exchange the metered data and negotiated data between the market participants and the CDS. The format basis is similar to messages MSCONS and DELFOR according to UN/EDIFACT standard. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 121 | Interval metered data | - | Input | TSO/DSO | CDS |
| 122 | Non-interval metered data | - | Input | TSO/DSO | CDS |
| 124 | Activated quantity of regulating energy according to generation of power: regulating energy, unit price | - | Input | TSO | CDS |
| 125 | Annual consumption estimation per PDT | - | Input | DSO | CDS |
| 142 | Registration of negotiated diagram for controlling the imbalance responsibility (for data to 31.12.2009) | - | Input | Trader | CDS |
| 160 | Planned concumption diagrams (PDT type B) | - | Input | BRP | CDS |
| 161 | Planned generation or consumption diagrams (PDT type A) or generation diagrams (PDT type B) | - | Input | BRP | CDS |
| 162 | Planned values of generation | - | Input | BRP | CDS |
| 211 | Historical max. monthly consumption (MSMAX) | 110 | Output | CDS | External subject |
| 232 | Activated quantity of regulating energy according to generation of power: regulating energy, unit price | 131 | Output | DSO | Service provider |
| 242 | Evaluated storage value | 137 | Output | CDS | Service provider |
| 236 | Provided regulating energy positive and negative | 133 | Output | CDS | Service provider |
| 238 | Annual consumption estimation per PDT type C | 134 | Output | CDS | External subject |
| 252 | Negotiated diagrams for controlling the imbalance responsibility (for data to 31.12.2009) | 143 | Output | CDS | Supplier |
| 266 | Planned values of generation A, B and C | 163 | Output | CDS | TSO/DSO /BRP |
| 272 | Output data – substitutional (computed) values per PDT with metering type B | 135 | Output | CDS | External subject |
| 303 | Data - consumption estimation for imbalance settlement in period, to which the metered meter reading was sent | 301 | Output | CDS | External subject |
| 313 | Data - Imbalances per PDT of type C consumption calculated within the Clearing process | 311 | Output | CDS | External subject |
| 316 | Values of ORS for calc. of imbalances and clearing | 314 | Output | CDS | External subject |
| 323 | Data - metered values - non-interval | 321 | Output | CDS | BRP |
| 333 | Metered values – calculation per primary supplier of PDT | 331 | Output | CDS | BRP |
| 343 | Metered values – aggregated values per supplier/customer | 341 | Output | CDS | BRP |
| 563 | Estimated consumption diagrams of groups of PDT(C) - non-adjusted | 561 | Output | CDS | External subject |
| 603 | History diagrams of correction factor of residual balance DS | 601 | Output | CDS | External subject |
| 613 | Estimated consumption diagrams of groups of PDT(C) - adjusted | 611 | Output | CDS | Extenal subject |
| 623 | Metered data per DS - structured by A, B, C | 621 | Output | CDS | TSO/DSO |
| 633 | Aggregated data within the state of emergency | 631 | Output | CDS | BRP |
| 643 | Output data for summary values request per RMP divided into A, B a C | 641 | Output | CDS | External subject |
| 653 | Output data for summary values request per RMP and grid divided into A, B a C | 651 | Output | CDS | External subject |
| 656 | Proportional aggregated ASC2 profile data by supplier | 654 | Output | CDS | External subject |
| 663 | Data of normal and metered climatic conditions (temperatures) | 661 | Output | CDS | External subject |
| 666 | Data od LP diagrams - output data | 664 | Output | CDS | Extrenal subject |
| 669 | Temperature correction coefficient - output data | 667 | Output | CDS | External subject |
| 673 | Data of predicted production/consumption for BRP | 671 | Output | CDS | External subject |
| 676 | LP corr. to temperature and rest bil. | 674 | Output | CDS | External subject |
| 683 | B measurement history for B measurement history for max. 12 previous months | 681 | Output | CDS | External subject |
| E16 | Reception of Energy Storage Evaluation Results | - | Input | External subject | CDS |
| E20 | Reception of Data on Provided Flexibility | - | Input | External subject | CDS |

Tab. 1 – List of profile roles and corresponding message codes (used: element location@profile-role)

| Code | Meaning |  | Incomming message ( msg_code) |  |  | Outgoing message (msg_code) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A10 | Metered interval values - balance (generation/consumption) |  | 121 |  |  | 232 |  |
| A11 | Metered values - generation |  | 121 |  |  | 232 |  |
| A12 | Metered values - consumption |  | 121 |  |  | 232 |  |
| A21 | Allocated value by primary supplier - generation |  |  |  |  | 333 |  |
| A22 | Allocated value by primary supplier - consumption |  |  |  |  | 333 |  |
| A71 | Aggr. values by supplier / cunsumer - consumption |  |  |  |  | 343 |  |
| A72 | Aggr. values by supplier / cunsumer - generation |  |  |  |  | 343 |  |
| A91 | Substitutional (computed) values for PDT with type B metering - Generation |  | - |  |  | 272 |  |
| A92 | Substitutional (computed) values for PDT with type B metering - Consumption |  | - |  |  | 272 |  |
| A101 | Aggr. value of generation (state of emergency) – geothermal source type |  |  |  |  | 633 |  |
| A102 | Aggr. value of generation (state of emergency) – nuclear source type |  |  |  |  | 633 |  |
| A103 | Aggr. value of generation (state of emergency) – steam source type |  |  |  |  | 633 |  |
| A104 | Aggr. value of generation (state of emergency) – combined (gas-steam) source type |  |  |  |  | 633 |  |
| A105 | Aggr. value of generation (state of emergency) – gas and combustion source type |  |  |  |  | 633 |  |
| A106 | Aggr. value of generation (state of emergency) – pumped storage hydroel. source type |  |  |  |  | 633 |  |
| A107 | Aggr. value of generation (state of emergency) – solar source type |  |  |  |  | 633 |  |
| A108 | Aggr. value of generation (state of emergency) – photovoltaic source type |  |  |  |  | 633 |  |
| A109 | Aggr. value of generation (state of emergency) – small hydroelectric source type |  |  |  |  | 633 |  |
| A110 | Aggr. value of generation (state of emergency) – large hydroelectric source type |  |  |  |  | 633 |  |
| A111 | Aggr. value of generation (state of emergency) – tidal source type |  |  |  |  | 633 |  |
| A112 | Aggr. value of generation (state of emergency) – wind source type |  |  |  |  | 633 |  |
| A113 | Aggr. value of generation (state of emergency) – bio/plants and it's parts source type |  |  |  |  | 633 |  |
| A114 | Aggr. value of generation (state of emergency) – bio/wastes source type |  |  |  |  | 633 |  |
| A115 | Aggr. value of generation (state of emergency) – bio/gas produced from biomass source type |  |  |  |  | 633 |  |
| A116 | Aggr. value of generation (state of emergency) – bio/gas from biomass source type |  |  |  |  | 633 |  |
| A117 | Aggr. value of generation (state of emergency) – bio/wood waste source type |  |  |  |  | 633 |  |
| A118 | Aggr. value of generation (state of emergency) – bio/gas from wood waste source type |  |  |  |  | 633 |  |
| A119 | Aggr. value of generation (state of emergency) – bio/other source type |  |  |  |  | 633 |  |
| A120 | Aggr. value of generation (state of emergency) – other source type |  |  |  |  | 633 |  |
| A121 | Aggr. value of generation (state of emergency) – import source type |  |  |  |  | 633 |  |
| A121 | Aggr. value of generation (state of emergency) – microsources |  |  |  |  | 633 |  |
| A201 | Aggr. value of consumption (state of emergency) |  |  |  |  | 633 |  |
| A3A1 | Aggregated metered value of energy generation, metering type A, point of delivery DS - DS / DS - TS |  |  |  |  | 623 |  |
| A3A2 | Aggregated metered value of energy consumption, metering type A, point of delivery DS - DS / DS - TS |  |  |  |  | 623 |  |
| A3B1 | Aggregated metered value of energy generation, metering type B, point of delivery DS - DS / DS - TS |  |  |  |  | 623 |  |
| A3B2 | Aggregated metered value of energy consumption, metering type B, point of delivery DS - DS / DS - TS |  |  |  |  | 623 |  |
| A3C1 | Aggregated metered value of energy generation, metering type C, point of delivery DS - DS / DS - TS |  |  |  |  | 623 |  |
| A3C2 | Aggregated metered value of energy consumption, metering type C, point of delivery DS - DS / DS - TS |  |  |  |  | 623 |  |
| AC12 | Accumulation Value |  | E16 |  |  | 232 |  |
| ASA1 | Aggregated metered value of energy supply, metering type A, generation |  |  |  |  | 623 |  |
| ASA2 | Aggregated metered value of energy consumption, metering type A, generation and consumption |  |  |  |  | 623 |  |
| ASA4 | Aggregated metered value of energy consumption, metering type A, consumption |  |  |  |  | 623 |  |
| ASB1 | Aggregated metered value of energy supply, metering type B, generation |  |  |  |  | 623 |  |
| ASB2 | Aggregated metered value of energy consumption, metering type B, generation and consumption |  |  |  |  | 623 |  |
| ASB4 | Aggregated metered value of energy consumption, metering type B, consumption |  |  |  |  | 623 |  |
| ASC1 | Aggregated metered value of energy supply, metering type C, generation |  |  |  |  | 623 |  |
| ASC2 | Aggregated metered value of energy consumption, metering type C, generation and consumption |  |  |  |  | 623 |  |
| ASC4 | Aggregated metered value of energy consumption, metering type C, consumption |  |  |  |  | 623 |  |
| B10 | Metered non-interval values, balance |  | 122 |  |  | 232 |  |
| B11 | Non-interval metered value - generation |  | 122 |  |  | 232 |  |
| B12 | Non-interval metered value - consumption |  | 122 |  |  | 232 |  |
| BL11 | Baseline on Supply |  | E20 |  |  | 232 |  |
| BL12 | Baseline on Consumption |  | E20 |  |  | 232 |  |
| FL11 | Flexibility on Supply |  | E20 |  |  | 232 |  |
| FL12 | Flexibility on Consumption |  | E20 |  |  | 232 |  |
| C33 | Negotiated profile - import |  | 161,162 |  |  | 266, 268 |  |
| C34 | Negotiated profile - export |  | 161,162 |  |  | 266, 268 |  |
| DBxy | Diagram TDD kor. na teplotu a zb. bil. pro x-tou t. o. a y-tou tř. TDD |  | 674 |  |  | 676 |  |
| DKxy | DKxy-LP diagram corr. for "x" temp. area and "y" LP class |  |  |  |  | 666 |  |
| DNxy | DNxy-LP diagram norm. for "x" temp. area and "y" LP class |  |  |  |  | 666 |  |
| E111 | Negotiated diagram - supply 2 |  | 142 |  |  | 252 |  |
| E112 | Negotiated diagram - supply 3 |  | 142 |  |  | 252 |  |
| E113 | Negotiated diagram - supply 4 |  | 142 |  |  | 252 |  |
| E114 | Negotiated diagram - supply 5 |  | 142 |  |  | 252 |  |
| E115 | Negotiated diagram - supply 6 |  | 142 |  |  | 252 |  |
| E116 | Negotiated diagram - supply 7 |  | 142 |  |  | 252 |  |
| E117 | Negotiated diagram - supply 8 |  | 142 |  |  | 252 |  |
| E118 | Negotiated diagram - supply 9 |  | 142 |  |  | 252 |  |
| E119 | Negotiated diagram - supply 10 |  | 142 |  |  | 252 |  |
| E121 | Negotiated diagram - consumption 2 |  | 142 |  |  | 252 |  |
| E122 | Negotiated diagram - consumption 3 |  | 142 |  |  | 252 |  |
| E123 | Negotiated diagram - consumption 4 |  | 142 |  |  | 252 |  |
| E124 | Negotiated diagram - consumption 5 |  | 142 |  |  | 252 |  |
| E125 | Negotiated diagram - consumption 6 |  | 142 |  |  | 252 |  |
| E126 | Negotiated diagram - consumption 7 |  | 142 |  |  | 252 |  |
| E127 | Negotiated diagram - consumption 8 |  | 142 |  |  | 252 |  |
| E128 | Negotiated diagram - consumption 9 |  | 142 |  |  | 252 |  |
| E129 | Negotiated diagram - consumption 10 |  | 142 |  |  | 252 |  |
| F01 | Block 10 - Metered values - RE+ |  | 124 |  |  | 236 |  |
| F02 | Block 10 - Metered values - RE- |  | 124 |  |  | 236 |  |
| F11 | Block 1 - Metered values - RE+ |  | 124 |  |  | 236 |  |
| F12 | Block 1 - Metered values - RE- |  | 124 |  |  | 236 |  |
| F21 | Block 2 - Metered values - RE+ |  | 124 |  |  | 236 |  |
| F22 | Block 2 - Metered values - RE- |  | 124 |  |  | 236 |  |
| ... | ... |  | 124 |  |  | 236 |  |
| F91 | Block 9 - Metered values - RE+ |  | 124 |  |  | 236 |  |
| F92 | Block 9 - Metered values - RE- |  | 124 |  |  | 236 |  |
| FA1 | Block 11 - Metered values - RE+ |  | 124 |  |  | 236 |  |
| FA2 | Block11 - Metered values - RE- |  | 124 |  |  | 236 |  |
| ... | ... |  | 124 |  |  | 236 |  |
| FJ1 | Block 20 - Metered values - RE+ |  | 124 |  |  | 236 |  |
| FJ2 | Block 20 - Metered values - RE- |  | 124 |  |  | 236 |  |
| FX1 | Block Re-dispatch - meter data of RE+ |  | 124 |  |  | 236 |  |
| FX2 | Block Re-dispatch - meter data of RE- |  | 124 |  |  | 236 |  |
| FY1 | Aggregated value of regulating energy of HR- RE+ |  | 124 |  |  | 236 |  |
| FY2 | Aggregated value of regulating energy of HR- RE- |  | 124 |  |  | 236 |  |
| FZ1 | Aggregated value of regulating energy RE+ for RE provider |  | 124 |  |  | 236 |  |
| FZ2 | Aggregated value of regulating energy RE- for RE provider |  | 124 |  |  | 236 |  |
| G01 | Block 10 - Actual price profile - (RE+), Price |  | 124 |  |  | 236 |  |
| G02 | Block 10 - Actual price profile - (RE-), Price |  | 124 |  |  | 236 |  |
| G11 | Block 1 - Actual price profile - (RE+), Price |  | 124 |  |  | 236 |  |
| G12 | Block 1 - Actual price profile - (RE-), Price |  | 124 |  |  | 236 |  |
| ... | ... |  | 124 |  |  | 236 |  |
| G91 | Block 9 - Actual price profile - (RE+), Price |  | 124 |  |  | 236 |  |
| G91 | Block 9 - Actual price profile - (RE-), Price |  | 124 |  |  | 236 |  |
| GA1 | Block 11 - Actual price profile - (RE+), Price |  | 124 |  |  | 236 |  |
| GA2 | Block 11 - Actual price profile - (RE-), Price |  | 124 |  |  | 236 |  |
| ... | ... |  | 124 |  |  | 236 |  |
| GJ1 | Block 20 - Actual price profile - (RE+), Price |  | 124 |  |  | 236 |  |
| GJ2 | Block 20 - Actual price profile - (RE-), Price |  | 124 |  |  | 236 |  |
| GX1 | Block Re-dispatch - real price profile - (RE+), Price |  | 124 |  |  | 236 |  |
| GX2 | Block Re-dispatch - real price profile - (RE-), Price |  | 124 |  |  | 236 |  |
| GY1 | Total payment for regulating energy of HR- RE+ for RE provider |  | 124 |  |  | 236 |  |
| GY2 | Total payment for regulating energy of HR- RE- for RE provider |  | 124 |  |  | 236 |  |
| GZ1 | Total payment for regulating energy RE+ for RE provider |  | 124 |  |  | 236 |  |
| GZ2 | Total payment for regulating energy RE- for RE provider |  | 124 |  |  | 236 |  |
| H11 | Informative imbalance - generation PDT |  | - |  |  | ** |  |
| H12 | Informative imbalance - consumption PDT |  | - |  |  | ** |  |
| H21 | Informative imbalance - generation BRP |  | - |  |  | ** |  |
| H22 | Consumption BRP |  | - |  |  | ** |  |
| H31 | Informative imbalance - generation TSO, DSO, LDS |  | - |  |  | ** |  |
| H32 | Informative imbalance - consumption TSO, DSO, LDS |  | - |  |  | ** |  |
| H41 | Meter reading and relevant consumption estimation imbalance for PDT - positive |  |  |  |  | 313 |  |
| H42 | Meter reading and relevant consumption estimation imbalance for PDT - negative |  |  |  |  | 313 |  |
| H51 | Informative imbalance - generation ES |  | - |  |  | ** |  |
| H52 | Informative imbalance - consumption ES |  | - |  |  | ** |  |
| J12 | Group LP (class, area, supplier, DS) - consumption |  | - |  |  | * |  |
| J32 | Group LP adjusted to weather and residual balance - consumption |  | - |  |  | * |  |
| J40 | Computed residual profile DS (balance) |  | - |  |  | * |  |
| J50 | Correction profile (residual DS balance correction) |  | - |  |  | 603 |  |
| J62 | Adjusted group LP - consumption |  | - |  |  | * |  |
| J7XY | Temperature correction coefficient, temp. area X, TDD class Y |  |  |  |  | 669 |  |
| SKxy | Group LP with TempArea, LPclass, supplier and grid correction |  | - |  |  | 613 |  |
| SNxy | Group LP without TempArea, LPclass, supplier and grid correction |  | - |  |  | 563 |  |
| P11 | Predicted production for positive imbalace |  | - |  |  | 671 |  |
| P12 | Predicted consumption for positive imbalace |  | - |  |  | 671 |  |
| P21 | Predicted production for negative imbalace |  | - |  |  | 671 |  |
| P22 | Predicted consumption for negative imbalace |  | - |  |  | 671 |  |
| TAx | Metered temperature - temperature area x |  | - |  |  | 663 |  |
| TBx | Flat metered temperature - temperature area x |  | - |  |  | 663 |  |
| TMx | Flat normal temperature - temperature area x |  | - |  |  | 663 |  |
| TNx | Normal temperature - temperature area x |  | - |  |  | 663 |  |
| TPx | Predicted temperature - temperature area x |  | - |  |  | 663 |  |
| TQx | Flat predicted temperature - temperature area x |  | - |  |  | 663 |  |
| FX3 | RE ability verification - RE+ |  | 124 |  |  | 236 |  |
| FX4 | RE ability verification - RE- |  | 124 |  |  | 236 |  |
| GX3 | RE ability verification - RE+, price |  | 124 |  |  | 236 |  |
| GX4 | RE ability verification - RE-, price |  | 124 |  |  | 236 |  |
| VVN1 | Agregated production VHV |  | - |  |  | 623 |  |
| VVN2 | Agregated consumption VHV |  | - |  |  | 623 |  |
| VN1 | Agregated production HV |  | - |  |  | 623 |  |
| VN2 | Agregated consumption HV |  | - |  |  | 623 |  |
| NN1 | Agregated production LV |  | - |  |  | 623 |  |
| NN2 | Agregated consumption LV |  | - |  |  | 623 |  |
| TV11 | Value of RE+ from RR for 1st quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV12 | Value of RE- from RR for 1st quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV21 | Value of RE+ from RR for 2nd quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV22 | Value of RE- from RR for 2nd quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV31 | Value of RE+ from RR for 3rd quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV32 | Value of RE- from RR for 3rd quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV41 | Value of RE+ from RR for 4th quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV42 | Value of RE- from RR for 4th quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV13 | Value of RE+ from RR for 1st quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV14 | Value of RE- from RR for 1st quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV23 | Value of RE+ from RR for 2nd quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV24 | Value of RE- from RR for 2nd quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV33 | Value of RE+ from RR for 3rd quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV34 | Value of RE- from RR for 3rd quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV43 | Value of RE+ from RR for 4th quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV44 | Value of RE- from RR for 4th quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV15 | Value of RE+ for the 1st quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV16 | Value of RE+ for the 1st quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV25 | Value of RE+ for the 2nd quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV26 | Value of RE+ for the 2nd quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV35 | Value of RE+ for the 3rd quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV36 | Value of RE+ for the 3rd quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV45 | Value of RE+ for the 4th quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV46 | Value of RE+ for the 4th quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV17 | Value of RE+ for the 1st quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV18 | Value of RE- for the 1st quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV27 | Value of RE+ for the 2nd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV28 | Value of RE- for the 2nd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV37 | Value of RE+ for the 3rd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV38 | Value of RE- for the 3rd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV47 | Value of RE+ for the 4th quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV48 | Value of RE- for the 4th quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV09 | Value of RE+ not delivered in required quality |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TV00 | Value of RE- not delivered in required quality |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP11 | Price of RE+ from RR for 1st quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP12 | Price of RE- from RR for 1st quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP21 | Price of RE+ from RR for 2nd quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP22 | Price of RE- from RR for 2nd quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP31 | Price of RE+ from RR for 3rd quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP32 | Price of RE- from RR for 3rd quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP41 | Price of RE+ from RR for 4th quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP42 | Price of RE- from RR for 4th quarter of an hour - for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP13 | Price of RE+ from RR for 1st quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP14 | Price of RE- from RR for 1st quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP23 | Price of RE+ from RR for 2nd quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP24 | Price of RE- from RR for 2nd quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP33 | Price of RE+ from RR for 3rd quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP34 | Price of RE- from RR for 3rd quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP43 | Price of RE+ from RR for 4th quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP44 | Price of RE- from RR for 4th quarter of an hour - not provided for the solution of imbalances in the CR |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP15 | Price of RE+ for the 1st quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP16 | Price of RE+ for the 1st quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP25 | Price of RE+ for the 2nd quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP26 | Price of RE+ for the 2nd quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP35 | Price of RE+ for the 3rd quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP36 | Price of RE+ for the 3rd quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP45 | Price of RE+ for the 4th quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP46 | Price of RE+ for the 4th quarter of an hour - caused by activating the RR bid for the next quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP17 | Price of RE+ for the 1st quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP18 | Price of RE- for the 1st quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP27 | Price of RE+ for the 2nd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP28 | Price of RE- for the 2nd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP37 | Price of RE+ for the 3rd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP38 | Price of RE- for the 3rd quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP47 | Price of RE+ for the 4th quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP48 | Price of RE- for the 4th quarter of an hour - caused by deactivating the RR bid from the previous quarter hour |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP09 | Price of RE+ not delivered in required quality |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| TP00 | Price of RE- not delivered in required quality |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| EK51 | Value of RE+ compensation profile |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| EK52 | Value of RE- compensation profile |  | 124 |  |  | 228 (NOK), 236 (OK) |  |
| ASC5; agregovaný profil, dodávka kategorie měření C1, C2, C3. agregovaný profil, odběr kategorie měření C1, C2, C3. | agregovaný profil, dodávka kategorie měření C1, C2, C3 |  |  | 623 |  |
| ASC6 |  | agregovaný profil, odběr kategorie měření C1, C2, C3 |  |  | 623 |  |
| TDAx |  | Metered temperature - temperature area X |  |  | 663 |  |
| TDBx |  | Flat metered temperature - temperature area X |  |  | 663 |  |
| TDNx |  | Normal temperature - temperature area X |  |  | 663 |  |
| TDMx |  | Flat normal temperature - temperature area X |  |  | 663 |  |
| TDPx |  | Predicted temperature - temperature area X |  |  | 663 |  |
| TDQx |  | Flat predicted temperature - temperature area X |  |  | 663 |  |
| PV1 |  | Value of RE+ aFRR produced on a given unit |  | 124 | 228 (NOK), 236 (OK) |  |
| PV2 |  | Value of RE- aFRR produced on a given unit |  | 124 | 228 (NOK), 236 (OK) |  |
| PV3 |  | Value of RE+ aFRR exported abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| PV4 |  | Value of RE- aFRR exported abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| PV5 |  | Value of RE+ aFRR activation not performed |  | 124 | 228 (NOK), 236 (OK) |  |
| PV6 |  | Value of RE- aFRR activation not performed |  | 124 | 228 (NOK), 236 (OK) |  |
| PV9 |  | Value of RE+ aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| PV0 |  | Value of RE- aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| PP1 |  | Price RE+ aFRR produced on the given unit |  | 124 | 228 (NOK), 236 (OK) |  |
| PP2 |  | Price RE- aFRR produced on the given unit |  | 124 | 228 (NOK), 236 (OK) |  |
| PP3 |  | Price of RE+ aFRR exported abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| PP4 |  | Price of RE- aFRR exported abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| PP5 |  | Price of RE+ aFRR activation not performed |  | 124 | 228 (NOK), 236 (OK) |  |
| PP6 |  | Price of RE- aFRR activation not performed |  | 124 | 228 (NOK), 236 (OK) |  |
| PP9 |  | Price of RE+ aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| PP0 |  | Price of RE- aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| SV1 |  | Value of planned RE+ mFRR activation for the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| SV2 |  | Value of planned RE- mFRR activation for the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| SV3 |  | Value of planned activation RE+ mFRR Abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| SV4 |  | Value of planned activation RE- mFRR Abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| SV5 |  | Value planned RE+ mFRR for the following quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| SV6 |  | Value planned RE- mFRR for the following quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| SV7 |  | Value planned RE+ mFRR for the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| SV8 |  | Value planned RE- mFRR for the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| SV9 |  | Value planned activation RE+ aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| SV0 |  | Value planned activation RE- aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| SP1 |  | Price of the planned activation of RE+ mFRR for the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| SP2 |  | Price of the planned activation of RE- mFRR for the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| SP3 |  | Price of planned activation RE+ mFRR Abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| SP4 |  | Price of planned activation RE- mFRR Abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| SP5 |  | Сena RE+ mFRR for the next quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| SP6 |  | Сena RE- mFRR for the next quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| SP7 |  | Сena RE+ mFRR for the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| SP8 |  | Сena RE- mFRR for the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| SP9 |  | Price planned activation RE+ aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| SP0 |  | Price planned activation RE- aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| DV1 |  | Value of direct activation of RE+ mFRR for the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| DV2 |  | Value of direct activation of RE- mFRR for the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| DV3 |  | Value of direct activation RE+ mFRR Abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| DV4 |  | Value of direct activation RE+ mFRR Abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| DV5 |  | Value of direct RE+ mFRR for the following quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| DV6 |  | Value of direct RE- mFRR for the following quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| DV7 |  | Value of direct RE+ mFRR for the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| DV8 |  | Value of direct RE- mFRR for the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| DV9 |  | Price direct activation RE+ aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| DV0 |  | Price direct activation RE- aFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| DP1 |  | Price of direct activation of RE+ mFRR for the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| DP2 |  | Price of direct activation of RE- mFRR for the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| DP3 |  | Price of direct activation RE+ mFRR Abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| DP4 |  | Price of direct activation RE- mFRR Abroad |  | 124 | 228 (NOK), 236 (OK) |  |
| DP5 |  | Direct RE+ price mFRR for the following quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| DP6 |  | Direct RE- price mFRR for the following quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| DP7 |  | Direct RE+ price mFRR for previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| DP8 |  | Direct RE- price mFRR for previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| DP9 |  | Price direct activation RE+ mFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| DP0 |  | Price direct activation RE- mFRR not delivered in the required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| EV1 |  | Value of RE+ cross-border assistance |  | 124 | 228 (NOK), 236 (OK) |  |
| EV2 |  | Value of RE- cross-border assistance |  | 124 | 228 (NOK), 236 (OK) |  |
| EP1 |  | Price of RE+ cross-border assistance |  | 124 | 228 (NOK), 236 (OK) |  |
| EP2 |  | Price of RE- cross-border assistance |  | 124 | 228 (NOK), 236 (OK) |  |
| TV1 |  | Value of RE+ from RR - for the solution of imbalances in the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| TV2 |  | Value of RE- from RR - for the solution of imbalances in the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| TV3 |  | Value of RE+ from RR - not provided for the solution of imbalances in the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| TV4 |  | Value of RE- from RR - not provided for the solution of imbalances in the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| TV5 |  | Value of RE+ from RR - caused by activating the RR bid for the next quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| TV6 |  | Value of RE+ from RR - caused by activating the RR bid for the next quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| TV7 |  | Value of RE+ from RR - caused by deactivating the RR bid from the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| TV8 |  | Value of RE- from RR - caused by deactivating the RR bid from the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| TV9 |  | Value of RE+ from RR - not delivered in required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| TV0 |  | Value of RE- from RR - not delivered in required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| TP1 |  | Price of RE+ from RR - for the solution of imbalances in the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| TP2 |  | Price of RE- from RR - for the solution of imbalances in the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| TP3 |  | Price of RE+ from RR - not provided for the solution of imbalances in the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| TP4 |  | Price of RE- from RR - not provided for the solution of imbalances in the CR |  | 124 | 228 (NOK), 236 (OK) |  |
| TP5 |  | Price of RE+ from RR - caused by activating the RR bid for the next quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| TP6 |  | Price of RE+ from RR - caused by activating the RR bid for the next quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| TP7 |  | Price of RE+ from RR - caused by deactivating the RR bid from the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| TP8 |  | Price of RE- from RR - caused by deactivating the RR bid from the previous quarter hour |  | 124 | 228 (NOK), 236 (OK) |  |
| TP9 |  | Price of RE+ from RR - not delivered in required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| TP0 |  | Price of RE- from RR - not delivered in required quality |  | 124 | 228 (NOK), 236 (OK) |  |
| S11 |  | measurement after respecting of sharing-supply |  | 124 | 232 |  |
| S12 |  | measurement after respecting of sharing-consuption |  | 124 | 232 |  |
| ASC5 |  | Aggregated supply, measurement category C1,C2,C3 |  |  | 623 |  |
| ASC6 |  | Aggregated consumption, measurement category C1,C2,C3 |  |  | 623 |  |
| S91 |  | Substitutional values of delivery taking into acount sharing |  |  | 272 |  |
| S92 |  | Substitutional values of consuption taking into acount sharing |  |  | 272 |  |

Remarks:

Snxy and Skxy:

x … means number of temperature area

y … means number of LP class

* It will not be used temporarily. It will be activate in case of change request realization.

** Does not relate to LP function, it will be activated in case of external interface adjustment on the external users side.

Tab. 2 – Qualificator of value type (used: element location@value-type)

| Code | Meaning | Incomming message |  | Outgoing message |  |
| --- | --- | --- | --- | --- | --- |
| A01 | Total amount by subject of settlement | 161 | 162 | 266 | 268 |
| A02 | Total amount by PDT | 161 | 162 | 266 | 268 |

Full message scheme CDSDATA in .xsd format can be found here:

XML\CDSDATA

##### Exemples of CDSDATA Format messages

| Description | Link |
| --- | --- |
| Interval metered data (121) | XML\CDSDATA\CDSDATA_msg_code_121.xml |
| Non-interval metered data (122) | XML\CDSDATA\CDSDATA_msg_code_122.xml |
| Activated quantity of Re (124) | XML\CDSDATA\CDSDATA_msg_code_124.xml |
| Annual consumption estimation (125) | XML\CDSDATA\CDSDATA_msg_code_125.xml |
| Planned generation diagrams (A, B) - (161) | XML\CDSDATA\CDSDATA_msg_code_161.xml |
| Planned generation diagrams - non-interval metered (C) - (162) | XML\CDSDATA\CDSDATA_msg_code_162.xml |
| Interval metered data (121) - short day | XML\CDSDATA\CDSDATA_msg_code_121_short_day.xml |
| Interval metered data (121) - long day | XML\CDSDATA\CDSDATA_msg_code_121_long_day.xml |

## CDSIDIS

##### purpose

XML message in CDSIDIS format is used to exchange the base data for invoicing of distribution services between the market participants and the CDS. The format basis corresponds to ERÚ pricing resolution for year 2003. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 123 | Base data of DGI ICS - input | - | Input | DSO | CDS |
| 126 | Base data of DGI ICS - output | - | Input | TSO/DSO | CDS |
| 234 | Base data of DGI RCS - input | 132 | Output | CDS | Service provider |
| 240 | Base data of DGI RCS - output | 136 | Output | CDS | TSO/DSO |

Full message scheme CDSIDIS in .xsd format can be found here:

XML\CDSIDIS

##### Exemple of CDSIDIS format message

| Description | Link |
| --- | --- |
| Base data of DGI ICS - input (123) | XML\CDSIDIS\CDSIDIS_msg_code_123.xml |
| Base data of DGI RCS - input (126) | XML\CDSIDIS\CDSIDIS_msg_code_126.xml |

## CDSINVOICE

##### PURPOSE

XML message in CDSINVOICE forma is used for exchange of electronic invoice for distributrion services. The invoice is sent by distributor to supplier.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 127 | Electronic invoice | 129 | Input / Output | Distributor; CDS | Supplier; CDS |

Complete structure of CDSINVOICE format is to be found here:

XML\CDSINVOICE

##### exemple of CDSINVOICE format message

| Description | Link |
| --- | --- |
| Electronic invoice (127) | XML\CDSINVOICE\CDSINVOICE_msg_code_127.xml |

Rem.: The exemple is without electronic signature otherwise being common

## CDSLDSREPORT

##### Purpose

The XML message in the CDSLDSREPORT format serves for sending LDS statement data. The format can be used in cases from the following table when communicating with Centre of Data Services CDS:

| Msg_code | Description | Refernce message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 277 | Monthly LDS statement | - | Input | RMP | CDS |
| 279 | Monthly LDS statement - copy of data | 277 | Output | CDS | RMP |
| 282 | Monthly LDS statement - copy of data | 280 | Output | CDS | RMP |

Complete structure of CDSLDSREPORT format is to be found here:

XML\CDSLDSREPORT

## CDSREQ

##### purpose

XML message in CDSREQ format is used to request for documents / messages from CDS. The format basis is similar to REQDOC messages according to UN/EDIFACT standard. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 110 | Request for historical maximum monthly consumption (MSMAX) | - | Input | External subject | CDS |
| 118 | Request for data of PDT disconnection | - | Input | Service provider | CDS |
| 129 | Request for electronic invoice | - | Input | External subject | CDS |
| 131 | Request for invoicing data sending | - | Input | Service provider | CDS |
| 132 | Request of ORS for calc. of imbalances and clearing | - | Input | Service provider | CDS |
| 133 | Request for provided AC sending | - | Input | Service provider | CDS |
| 134 | Request for annual consumption estimation | - | Input | Service provider | CDS |
| 135 | Request for substitutional (computed) values per PDT with metering type B | - | Input | Service provider | CDS |
| 136 | Request for base data of DGI RCS data | - | Input | Service provider | CDS |
| 137 | Request for storage value |  | Input | Service provider | CDS |
| 143 | Request for sending of negotiated diagrams for managing of imbalance responsibility (for data to 31.12.2009) | - | Input | Service provider | CDS |
| 147 | Request for sending an extract of state of change of supplier processing | - | Input | Service provider | CDS |
| 151 | Request for assigned observers data | - | Input | RMP, BRP | CDS |
| 154 | Request for assigned BRP data | - | Input | RMP, BRP | CDS |
| 163 | Single-shot request for complete trade balance statement data sending | - | Input | SP | CDS |
| 168 | Request for the claim data | - | Input | External subject | CS OTE |
| 172 | Request for the OTE messages (data from the message board) | - | Input | External subject | CS OTE |
| 197 | Request for PDT state | - | Input | External subject | CDS |
| 280 | Request for monthly LDS statement | - | Input | Service provider | CDS |
| 286 | Request for system services settlement report | - | Input | Service provider | CDS |
| 301 | Request for consumption estimation for imbalance settlement in period when the metered meter reading is sent. | - | Input | Service provider | CDS |
| 311 | Request for imbalance data per PDT C (consumption) computed within Clearing | - | Input | Service provider | CDS |
| 314 | Request of ORS for calc. of imbalances and clearing | - | Input | Service provider | CDS |
| 321 | Request for metered values - non-interval | - | Input | Service provider | CDS |
| 331 | Data request - calculation per primary supplier of PDT | - | Input | Service provider | CDS |
| 341 | Data request - aggregated values per supplier/customer | - | Input | Service provider | CDS |
| 351 | Data request - master data of PDT | - | Input | Service provider | CDS |
| 354 | Request for simplified list of PDT | - | Input | Service provider | CDS |
| 357 | Request for the list of delivery points of PDT | - | Input | Service provider | CDS |
| 367 | Request for a list of PDT in the community | - | Input | Service provider | CDS |
| 371 | Request for service restricted list of PDT | - | Input | Service provider | CDS |
| 374 | Query for the Aggregator/Flexibility Service Provider Portfolio | - | Input | Service provider | CDS |
| 381 | Request for master data of the OPM sharing groupv | - | Input | Service provider | CDS |
| 384 | Query for the portfolio of an aggregator / flexibility provider |  | Input | Service provider | CDS |
| 387 | Request for OPM flexibility activation data137 |  | Input | Service provider | CDS |
| 561 | Request for estimated diagram of PDT(C) group consumption, non-adjusted | - | Input | Service provider | CDS |
| 601 | Request for correction factor history diagram of residual DS balance | - | Input | Service provider | CDS |
| 611 | Request for estimated diagram of PDT(C) group consumption, adjusted | - | Input | Service provider | CDS |
| 621 | Request for DS aggregated data | - | Input | Service provider | CDS |
| 631 | Request for aggregated data within the state of emergency | - | Input | Service provider | CDS |
| 641 | Request for summary values of RMP separated by metering type A, B and C | - | Input | External subject | CDS |
| 651 | Request for summary values of RMP and grid separated by metering type A, B and C | - | Input | External subject | CDS |
| 654 | Request for proportional aggregated ASC2 profile by supplier | - | Input | External subject | CDS |
| 661 | Request for data of normal and metered weather conditions (temperatures) | - | Input | External subject | CDS |
| 664 | Request for LP data | - | Input | External subject | CDS |
| 667 | Request for temperature correction coefficient data | - | Input | External subject | CDS |
| 674 | Request for corr. LP | - | Input | External subject | CDS |
| 681 | Request for a history of B measurements for a maximum of 12 previous months | - | Input | External subject | CDS |
| E51 | EDC request for masterdata | - | Input | External subject | CDS |

Full message scheme CDSREQ in .xsd format can be found here:

XML\CDSREQ

##### Exemple of CDSREQ format message

| Description | Link |
| --- | --- |
| Request for mettered invoicing data sending (131) | XML\CDSREQ\CDSREQ_msg_code_131.xml |

## CDSSYSTSERVREPORT

##### Purpose

The XML message in the CDSSYSTSERVREPORT format serves for sending system services settlement report. The format can be used in cases from the following table when communicating with Centre of Data Services CDS:

| Msg_code | Description | Refernce message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 283 | System services settlement report | - | Input | RMP | CDS |
| 285 | System services settlement report - copy of data | 283 | Output | CDS | RMP |
| 288 | System services settlement report | 286 | Output | CDS | RMP |

Complete structure of CDSSYSTSERVREPORT format is to be found here:

XML\CDSSYSTSERVREPORT

## COMMONREQ

##### purpose

XML message in COMMONREQ format is used to request for non-synchronous proceeded data, for CDS connection control and for request for handover unsended messages. The format basis is similar to REQDOC messages according to UN/EDIFACT standard. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 921 | Request for IS OTE data handover | - | Input | Service provider | WAS (EMTAS) |
| 991 | Request for server-server connection control and for delivery of non-sent IS OTE messages | - | Input | Service provider | WAS (EMTAS) |

Full message scheme COMMONREQ in .xsd format can be found here:

XML\COMMONREQ

##### exemple of COMMONREQ format message

Message structure is identical with exemple of CDSREQ message format.

## COMMONMARKETREQ

##### purpose

XML message in COMMONMARKETREQ format is used to request for non-synchronous proceeded data, for CDS connection control and for request for handover unsended messages within MarketService. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 923 | Request for IS OTE data handover - MarketService | - | Input | Service provider | WAS (EMTAS) |
| 994 | Request for server-server connection control and for delivery of non-sent IS OTE messages - MarketService | - | Input | Service provider | WAS (EMTAS) |

Full message scheme COMMONMARKETREQ in .xsd format can be found here:

XML\COMMONMARKETREQ

##### exemple of COMMONMARKETREQ format message

Message structure is identical with exemple of CDSREQ message format.

## ISOTEDATA

##### purpose

XML message in ISOTEDATA format is used to exchange the data related to IS OTE (DM, IDA, SoI) between the market participants and the IS OTE. The format can be used in cases from the following table when communicating through CDS-WAS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 811 | DM - Bid entering/replacement | - | Input | External subject | IS OTE |
| 813 | DM - Copy of bid data (response to 811- entering) | 811 | Output | IS OTE | External subject |
| 814 | IDA - Bid entering/replacement | - | Input | External subject | IS OTE |
| 816 | IDA - Copy of bid data (response to 811- entering) | 814 | Output | IS OTE | External subject |
| 821 | DM - Bid cancellation | - | Input | External subject | IS OTE |
| 823 | DM - Copy of bid data (response to 821- cancelation) | 821 | Output | IS OTE | External subject |
| 824 | IDA - Bid cancellation | - | Input | External subject | IS OTE |
| 826 | IDA - Copy of bid data (response to 824 - cancelation) | 824 | Output | IS OTE | External subject |
| 833 | DM - Copy of bid data (response to 831- actual status) | 831 | Output | IS OTE | External subject |
| 836 | IDA - Copy of bid data (response to 834- actual status) | 834 | Output | IS OTE | External subject |
| 943 | Final plan of negotiated values - copy of data | 941 | Output | WAS (EMTAS) | External subject |
| 946 | DM - Marginal prices and quantity | 944 | Output | WAS (EMTAS) | External subject |
| 949 | IDA - Marginal prices and quantity | 947 | Output | WAS (EMTAS) | External subject |
| 953 | Request for settlement data per hours | 951 | Output | WAS (EMTAS) | External subject |
| 963 | Settlement per day - copy of data | 961 | Output | WAS (EMTAS) | External subject |
| 966 | Request for imbalance settlement statistic data - copy of data | 964 | Output | WAS (EMTAS) | External subject |
| GSF | Gas settlement results - copy of data | GSD | Output | WAS (EMTAS) | External subject |

Tab. 3 – List of profile roles and relevant msg. codes (used: element ISOTEDATA/Trade/ProfileData @profile-role)

| Role in external interface | Description | Msg_code |
| --- | --- | --- |
| BC01-25 | Trading block identification (block 1 to 25) – volume | 811, 813, 823, 833, 814, 816, 826, 836, 814, 816, 826, 836 |
| BP01-25 | Trading block identification (block 1 až 25) - price | 811, 813, 823, 833 |
| BS01 - 25 | Segment identification of order (segment 1 to 25) - matched volume (MWh) | 833, 836 |
| SC01 | IDA fee – total traded energy | 953, 963 |
| SC02 | Imbalance – positive energy | 953, 963 |
| SC03 | Imbalance – negative energy | 953, 963 |
| SC05 | DM fee – total traded energy | 953, 963 |
| SC06 | Quantity of negative SS imbalance at negative settlement price | 953, 963 |
| SC07 | Quantity of positive SS imbalance at positive/nonzero settlement price | 953, 963 |
| SC08 | Settlement of IM – negative energy (consumption) for negative prices | 953, 963 |
| SC09 | Settlement of IM - positive energy (supply) at positive/zero prices | 953, 963 |
| SC10 | IM fee - total energy traded | 953, 963 |
| SC13 | System imbalance | 966 |
| SC15 | Costs of RE+ - quantity | 966 |
| SC16 | Costs of RE - - quantity | 966 |
| SC19 | DM - negative energy - consumption (spot order) | 943 |
| SC20 | DM - positive energy - supply (spot order) | 943 |
| SC21 | IM - negative energy (consumption) for negative prices | 943 |
| SC22 | IM - positive energy (supply) for positive prices | 943 |
| SC23 | Domestic RD - negative energy (consumption) | 943 |
| SC24 | Domestic RD - positive energy (supply) | 943 |
| SC25 | Foreign RD - negative energy (consumption) | 943 |
| SC26 | Foreign RD - positive energy (supply) | 943 |
| SC27 | LP evaluation - negative energy | 953, 963 |
| SC28 | LP evaluation - positive energy | 953, 963 |
| SC29 | Emergency state – positive energy (supply) | 953, 963 |
| SC30 | Emergency state – negative energy (consumption) | 953, 963 |
| SC31 | IDA - negative energy - consumption (spot order) | 943 |
| SC32 | IDA - positive energy – supply (spot order) | 943 |
| SC33 | Settlement of IM with gas (consumption) – negative energy | GSF |
| SC34 | Settlement of IM with gas (supply) – positive energy | GSF |
| SC35 | IM fee with gas– total energy traded | GSF |
| SC50 | DM- negative energy - consumption (FS order) | 943 |
| SC51 | DM - positive energy - supply (FS order) | 943 |
| SC55 | Rounding of imbalances | 966 |
| SC56 | The amount of negative deviation of the settlement entity at a positive/zero settlement price. | 953, 963 |
| SC57 | The amount of positive deviation of the settlement entity at a negative settlement price | 953, 963 |
| SC58 | Intraday Market Minus - negative energy for negative price value | 953, 963 |
| SC59 | Intraday Market Plus - positive energy for negative price value | 953, 963 |
| SC60 | Total traded purchase quantity in a given delivery period | 946, 949 |
| SC61 | Total traded sales quantity in a given delivery period | 946, 949 |
| SC62 | The total traded quantity of the participant's purchase in a given delivery period | 946, 949 |
| SC63 | The total traded quantity of the participant's sales in a given delivery period | 946, 949 |
| SC66 | Settlement of IDA – negative energy (consumption) at a negative price (spot orders) | 953, 963 |
| SC67 | Settlement of IDA – negative energy (consumption) at a positive/zero price (spot orders) | 953, 963 |
| SC68 | Settlement of IDA - positive energy (supply) at positive/zero price (spot orders) | 953, 963 |
| SC69 | Settlement of IDA - positive energy (supply) at a negative price (spot orders) | 953, 963 |
| SC71 | Final plan – IM - negative energy (consumption) for positive prices | 943 |
| SC72 | Final plan – IM - positive energy (supply) for negative prices | 943 |
| SC79 | Emergency state IDA - export | 953, 963 |
| SC80 | Emergency state IDA - import | 953, 963 |
| SF11 | Quantity of BE+ from AnS activation at positive/zero BE+ price | 953, 963 |
| SF12 | Quantity of BE- from AnS activation at a negative BE- price | 953, 963 |
| SF61 | Quantity of BE+ from AnS activation at a negative BE+ price | 953, 963 |
| SF62 | Quantity of BE- from AnS activation at positive/zero BE- price | 953, 963 |
| SG11 | Price for the amount for BE+ from AnS activation at positive/zero BE+ price (receivable) | 953, 963 |
| SG12 | Price for the amount for BE- from AnS activation at a negative BE- price (receivable) | 953, 963 |
| SG61 | Price for the amount for BE+ from AnS activation at a negative BE+ price (payable) | 953, 963 |
| SG62 | Price for the amount for BE- from activation of AnS at positive/zero price of BE - (payable) | 953, 963 |
| SP01 | IDA fee - negative amount for total traded energy (payable) | 953, 963 |
| SP05 | DM fee - negative amount for the total traded energy (payable) | 953, 963 |
| SP06 | Price for the negative imbalance of the SS at a negative settlement price (receivable) | 953, 963 |
| SP07 | Price of positive SS imbalance at positive/nonzero settlement price (receivable) | 953, 963 |
| SP08 | Settlement of IM – amount for negative energy (consumption) for negative prices (receivable) | 953, 963 |
| SP09 | Settlement of IM - amount for positive energy(supply) at positive/zero prices (receivable) | 953, 963 |
| SP10 | IM fee - negative amount for the total energy traded (payable) | 953, 963 |
| SP14 | Costs of RE | 966 |
| SP15 | Costs of RE + - amount | 966 |
| SP16 | Costs of RE- - amount | 966 |
| SP20 | DM/ODA marginal prices | 946, 949 |
| SP21 | IDM – amount for negative energy (consumption) at negative prices(delivery) (receivable) | 943 |
| SP22 | IDM – amount for positive energy(delivery) for positive prices (receivable) | 943 |
| SP27 | LP evaluation - negative amount for negative energy (payable) | 963 |
| SP28 | LP evaluation - positive amount for positive energy (receivable) | 963 |
| SP29 | Emergency state – amount for positive energy (supply) | 963 |
| SP30 | Emergency state – amount for negative energy (consumption) | 963 |
| SP33 | Settlement of IM with gas (consumption) – amount for negative energy (payable) | GSF |
| SP34 | Settlement of IM with gas (supply) – amount for positive energy(receivable) | GSF |
| SP35 | IM fee with gas– negative amount for traded energy (payable) | GSF |
| SP50 | Settlement price | 966 |
| SP51 | Counter-imbalance settlement price | 966 |
| SP56 | Price for negative imbalance of SS at positive/zero settlement price (payable) | 953, 963 |
| SP57 | Price for a positive SS imbalance at a negative settlement price (payable) | 953, 963 |
| SP58 | Settlement of IM – amount for negative energy (consumption) at positive/zero prices (payable) | 953, 963 |
| SP59 | Settlement of IM - amount for positive energy (supply) for negative prices (payable) | 953, 963 |
| SP66 | Settlement of IDA – amount for negative energy (consumption) at a negative price (spot orders) | 953, 963 |
| SP67 | Settlement of IDA – amount for negative energy (consumption) at a positive/zero price (spot orders) | 953, 963 |
| SP68 | Settlement of IDA – amount for positive energy (supply) at positive/zero price (spot orders) | 953, 963 |
| SP69 | Settlement of IDA – amount for positive energy (supply) at a negative price (spot orders) | 953, 963 |
| SP71 | IM - amount for negative energy (consumption) for positive prices (payable) | 943 |
| SP72 | IM – amount for positive energy (supply) for negative prices (payable) | 943 |
| SP79 | Emergency state IDA – amount for export | 953, 963 |
| SP80 | Emergency state IDA – amount for import | 953, 963 |
| ST13 | Monthly SS fee for settlement of imbalances with gas – negative amount (payable) | GSF |
| ST14 | Monthly fee for providing real values with gas - negative amount (payable) | GSF |
| ST15 | Monthly CDS Access Fee - Negative Amount (payable) | 953, 963 |
| ST16 | Monthly fee for settlement of imbalances with electricity - negative amount (payable) | 953, 963 |
| ST17 | Surplus of settlement of imbalances and BE | 953, 963 |
| ST18 | REMIT monthly fee - fixed electricity fee - negative amount (payable) | 953, 963 |
| ST19 | Monthly fee REMIT – fixed fee gas – negative amount (payable) | GSF |
| XC01 | Quantity of positive aggregate SSS imbalance at positive/zero settlement price | 953, 963 |
| XC02 | Quantity of negative aggregate SSS imbalance at negative settlement price | 953, 963 |
| XC03 | Settlement of DM - negative energy - consumption at a positive price (spot orders, OTE portal) | 953, 963 |
| XC04 | Settlement of DM - positive energy - supply at a positive price (spot orders, OTE portal) | 953, 963 |
| XC05 | Settlement of DM - negative energy - supply at a positive price (FS order) | 953, 963 |
| XC06 | Settlement of DM - positive energy - supply at a positive price (FS order) | 953, 963 |
| XC07 | Settlement of DM (cumulative PXE trades) - negative energy - consumption at a positive price (FS order) | 953, 963 |
| XC08 | Settlement of DM (cumulative PXE trades) - positive energy - supply at a positive price (FS order) | 953, 963 |
| XC09 | Settlement of DM (cumulative PXE trades) - negative energy - consumption at a positive price (spot orders) | 953, 963 |
| XC10 | Settlement of DM (cumulative PXE trades) - positive energy - supply at a positive price (spot orders) | 953, 963 |
| XC11 | Settlement of DM - negative energy - consumption at a positive price (spot orders, portal PXE) | 953, 963 |
| XC12 | Settlement of DM - positive energy – supply at a positive price (spot orders, portal PXE) | 953, 963 |
| XC51 | Quantity of positive aggregated SSS imbalance at a negative settlement price | 953, 963 |
| XC52 | Quantity of negative aggregate SSS imbalance at positive/zero settlement price | 953, 963 |
| XC53 | Settlement of DM - negative energy - consumption at a negative price (spot orders, OTE portal) | 953, 963 |
| XC54 | Settlement of DM - positive energy - supply at a negative price (spot orders, OTE portal) | 953, 963 |
| XC55 | Settlement of DM - negative energy - consumption at a negative price (FS order) | 953, 963 |
| XC56 | Settlement of DM - positive energy - supply at a negative price (FS order) | 953, 963 |
| XC57 | Settlement of DM (cumulative PXE trades) - negative energy - consumption at a negative price (FS order) | 953, 963 |
| XC58 | Settlement of DM (cumulative PXE trades) - positive energy - supply at a negative price (FS order) | 953, 963 |
| XC59 | Settlement of DM (cumulative PXE trades) - negative energy - consumption at a negative price (spot orders) | 953, 963 |
| XC60 | Settlement of DM (cumulative PXE trades) - positive energy - supply at a negative price (spot orders) | 953, 963 |
| XC61 | Settlement of DM - negative energy - consumption at a negative price (spot orders, portal PXE) | 953, 963 |
| XC62 | Settlement of DM - positive energy – supply at a negative price (spot orders, portal PXE) | 953, 963 |
| XC63 | Monthly fee REMIT - variable fee for orders gas - number of orders | GSF |
| XC64 | REMIT monthly fee – variable transaction fee gas – number of transactions | GSF |
| XC65 | REMIT monthly fee - variable fee for orders electricity - number of orders | 953, 963 |
| XC66 | REMIT monthly fee - variable transaction fee electricity - number of transactions | 953, 963 |
| XC67 | Emergency state IM export | 953, 963 |
| XC68 | Emergency state IM import | 953, 963 |
| XC69 | Emergency state DM export | 953, 963 |
| XC70 | Emergency state DM import | 953, 963 |
| XC71 | Quantity of BE- provided on TERRE at a negative BE- price | 953, 963 |
| XC72 | Quantity of BE- provided on TERRE at positive/zero price BE- | 953, 963 |
| XC73 | Quantity of BE+ provided on TERRE for a positive/zero BE+ price | 953, 963 |
| XC74 | Quantity of BE+ provided on TERRE at a negative BE+ price | 953, 963 |
| XC75 | LP evaluation (distribution area EG.D) – negative energy | 963 |
| XC76 | LP evaluation (distribution area EG.D) – positive energy | 963 |
| XC77 | LP evaluation (distribution area PRE Distribuce) – negative energy | 963 |
| XC78 | LP evaluation (distribution area PRE Distribuce) – positive energy | 963 |
| XC79 | LP evaluation (distribution area ČEZ Distribuce) – negative energy | 963 |
| XC80 | LP evaluation (distribution area ČEZ Distribuce) – positive energy | 963 |
| XC81 | Quantity of BE+ provided at MARI (planned activation) at a positive/zero BE+ price | 953, 963 |
| XC82 | Quantity of BE+ provided at MARI (planned activation) at a negative BE+ price | 953, 963 |
| XC83 | Quantity BE- provided on PICASSO at a negative price BE- | 953, 963 |
| XC84 | Quantity BE- provided on PICASSO at positive/zero price BE- | 953, 963 |
| XC85 | Quantity of BE+ provided on PICASSO for a positive/zero BE+ price | 953, 963 |
| XC86 | Quantity of BE+ provided on PICASSO at a negative BE+ price | 953, 963 |
| XC88 | Quantity of BE- provided at MARI (direct activation) at a negative price of BE- | 953, 963 |
| XC89 | Quantity of BE- provided at MARI (direct activation) at a positive/zero BE- price | 953, 963 |
| XC90 | Quantity of BE+ provided on MARI (direct activation) at a positive/zero BE+ price | 953, 963 |
| XC91 | Quantity of BE+ provided at MARI (direct activation) at a negative BE+ price | 953, 963 |
| XC92 | Quantity of BE- provided at MARI (planned activation) at a negative price of BE- | 953, 963 |
| XC93 | Quantity of BE- provided at MARI (planned activation) at a positive/zero BE- price | 953, 963 |
| XP01 | Price for the amount of positive aggregate SSS imbalance at positive/zero settlement price (receivable) | 953, 963 |
| XP02 | Price for the amount of negative aggregate SSS imbalance at negative settlement price (receivable) | 953, 963 |
| XP03 | Settlement of DM – amount for negative energy - consumption at a positive price (spot orders, OTE portal) | 953, 963 |
| XP04 | Settlement of DM – amount for positive energy - supply at a positive price (spot orders, OTE portal) | 953, 963 |
| XP05 | Settlement of DM - amount for negative energy - supply at a positive price (FS order) | 953, 963 |
| XP06 | Settlement of DM - amount for positive energy- supply at a positive price (FS order) | 953, 963 |
| XP07 | Settlement of DM (cumulative PXE trades) - amount for negative energy - consumption at a positive price (FS order) | 953, 963 |
| XP08 | Settlement of DM (cumulative PXE trades) - amount for positive energy - supply at a positive price (FS order) | 953, 963 |
| XP09 | Settlement of DM (cumulative PXE trades) - amount for negative energy - consumption at a positive price (spot orders) | 953, 963 |
| XP10 | Settlement of DM (cumulative PXE trades) - amount for positive energy - supply at a positive price (spot orders) | 953, 963 |
| XP11 | Settlement of DM - amount for negative energy - consumption at a positive price (spot orders, portal PXE) | 953, 963 |
| XP12 | Price for the amount of positive aggregate SSS imbalance at positive/zero settlement price (receivable) | 953, 963 |
| XP51 | Price for the amount of positive aggregated SSS imbalance at a negative settlement price (payable) | 953, 963 |
| XP52 | Price for the amount of negative aggregate SSS imbalance at positive/zero settlement price (payable) | 953, 963 |
| XP53 | Settlement of DM – amount for negative energy - consumption at a negative price (spot orders, OTE portal) | 953, 963 |
| XP54 | Settlement of DM – amount for positive energy - supply at a negative price (spot orders, OTE portal) | 953, 963 |
| XP55 | Settlement of DM - amount for negative energy - consumption at a negative price (FS order) | 953, 963 |
| XP56 | Settlement of DM - amount for positive energy- supply at a negative price (FS order) | 953, 963 |
| XP57 | Settlement of DM (cumulative PXE trades) - amount for negative energy - consumption at a negative price (FS order) | 953, 963 |
| XP58 | Settlement of DM (cumulative PXE trades) - amount for negative energy - supply at a negative price (FS order) | 953, 963 |
| XP59 | Settlement of DM (cumulative PXE trades) - amount for negative energy - consumption at a negative price (spot orders) | 953, 963 |
| XP60 | Settlement of DM (cumulative PXE trades) - amount for positive energy - supply at a negative price (spot orders) | 953, 963 |
| XP61 | Settlement of DM - amount for negative energy - consumption at a negative price (spot orders, portal PXE) | 953, 963 |
| XP62 | Settlement of DM - amount for positive energy- supply at a negative price (spot orders, portal PXE) | 953, 963 |
| XP63 | Monthly fee REMIT - variable fee for orders gas - negative amount for the number of orders (payable) | GSF |
| XP64 | Monthly fee REMIT – variable gas transaction fee – negative amount per transaction count (payable) | GSF |
| XP65 | REMIT monthly fee - variable fee for electricity orders – negative amount for the number of orders | 953, 963 |
| XP66 | REMIT monthly fee - variable fee for electricity transactions - negative amount for the number of transactions | 953, 963 |
| XP67 | Emergency state IM – amount for export | 953, 963 |
| XP68 | Emergency state IM – amount for import | 953, 963 |
| XP69 | Emergency state DM – amount for export | 953, 963 |
| XP70 | Emergency state DM – amount for import | 953, 963 |
| XP71 | Amount for BE- provided on TERRE for negative price BE- (receivable) | 953, 963 |
| XP72 | Amount for BE- provided on TERRE for positive/zero price BE- (payable) | 953, 963 |
| XP73 | Amount for BE+ provided on TERRE for positive/zero price BE+ (receivable) | 953, 963 |
| XP74 | Amount for BE+ provided on TERRE at a negative BE+ price (payable) | 953, 963 |
| XP75 | LP evaluation (distribution area EG.D) - negative amount for negative energy (payable) | 963 |
| XP76 | LP evaluation (distribution area EG.D) – positive amount for positive energy (receivable) | 963 |
| XP77 | LP evaluation ( distribution area PRE Distribuce) - negative amount for negative energy (payable) | 963 |
| XP78 | LP evaluation (distribution area PRE Distribuce) – positive amount for positive energy(receivable) | 963 |
| XP79 | LP evaluation (distribution area ČEZ Distribuce) - negative amount for negative energy (payable) | 963 |
| XP80 | LP evaluation (distribution area CEZ Distribuce) - positive amount for positive energy(receivable) | 963 |
| XP81 | Amount for BE+ provided on MARI (planned activation) at positive/zero BE+ price (receivable) | 953, 963 |
| XP82 | Amount for BE+ provided on MARI (scheduled activation) at a negative BE+ price (payable) | 953, 963 |
| XP83 | Amount for BE- provided on PICASSO at negative price BE- (receivable) | 953, 963 |
| XP84 | Amount for BE- provided on PICASSO at positive/zero price BE- (payable) | 953, 963 |
| XP85 | Amount for BE+ provided on PICASSO for positive/zero price BE+ (receivable) | 953, 963 |
| XP86 | Amount for BE+ provided on PICASSO at a negative BE+ price (payable) | 953, 963 |
| XP88 | Amount for BE- provided on MARI (direct activation) at a negative BE- price (receivable) | 953, 963 |
| XP89 | Amount for BE- provided on MARI (direct activation) at positive/zero price BE- (payable) | 953, 963 |
| XP90 | Amount for BE+ provided on MARI (direct activation) at positive/zero BE+ price (receivable) | 953, 963 |
| XP91 | Amount for BE+ provided on MARI (direct activation) at a negative BE+ price (payable) | 953, 963 |
| XP92 | Amount for BE- provisioned on MARI (planned activation) at a negative BE price - (receivable) | 953, 963 |
| XP93 | Amount for BE- provided on MARI (planned activation) for positive/zero BE price - (payable) | 953, 963 |

Full message scheme ISOTEDATA in .xsd format can be found here:

XML\ISOTEDATA

##### EXEMPLES OF ISOTEDATA format message

| Description | Link |
| --- | --- |
| Bid entering / replacement (811) | XML\ISOTEDATA\ISOTEDATA_msg_code_811.xml |

## ISOTEREQ

##### purpose

XML message in ISOTEREQ format is used to requesrt the data related to IS OTE (DM, IDA, SoI) between the market participants and the IS OTE. The format basis is similar to REQDOC messages according to UN/EDIFACT standard. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 831 | Request for DM bid data providing | - | Input | External subject | IS OTE |
| 834 | Request for IDA bid data providing | - | Input | External subject | IS OTE |
| 941 | Data request - Complete plan of negotiated values | - | Input | Service provider | WAS (EMTAS) |
| 944 | DM - Request for marginal prices and quantity | - | Input | Service provider | WAS (EMTAS) |
| 947 | IDA - Request for marginal prices and quantity | - | Input | Service provider | WAS (EMTAS) |
| 951 | Data request - Hourly settlement | - | Input | Service provider | WAS (EMTAS) |
| 961 | Data request - Daily settlement | - | Input | Service provider | WAS (EMTAS) |
| 964 | Data request - Statistic data of imbalances settlement | - | Input | Service provider | WAS (EMTAS) |
| GSD | Data request – Gas settlement results | - | Input | Service provider | WAS (EMTAS) |

Full message scheme ISOTEREQ in .xsd format can be found here:

XML\ISOTEREQ

##### exemple of ISOTEREQ format message

Message structure is identical with exemple of CDSREQ message format.

## MASTERDATA

##### purpose

XML message in MASTERDATA format is used to exchange information about premises between the market participants and the CDS. The format basis is similar to PRODAT messages according to UN/EDIFACT standard. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

This general message can be used for particular steps in Change of supplier processing. It has several functions. These functions are defined by a function code in the message header.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 111 | PDT code list update | - | Input | TSO/DSO | CDS |
| 112 | Information about planned disconnection of PDT | - | Input | TSO/DSO | CDS |
| 114 | Copy of message of planned disconnection of PDT | 112 | Input | TSO/DSO | CDS |
| 115 | Information about PDT disconnection | - | Input | TSO/DSO | CDS |
| 117 | Copy of message of PDT disconnection | 115 | Input | TSO/DSO | CDS |
| 120 | PDT disconnection data | 118 | Input | TSO/DSO | CDS |
| 138 | Request to Suspend the Supplier/Aggregator/Flexibility Service Provider Change Process | - | Input | RMP | CDS |
| 141 | Request for Change of Supplier/Aggregator/Flexibility Service Provider | - | Input | RMP trader - supplier | CDS |
| 146 | Approving/rejection of change of supplier and extra meter reading | - | Input | TSO/DSO/RMP | CDS |
| 148 | Copy of Message Requesting Suspension of the Supplier/Aggregator/Flexibility Service Provider Change Process | 138 | Output | CDS | RMP |
| 150 | Potvrzení souhlasu zákazníka se změnou dodavatele | - | Input | RMP | CDS |
| 153 | Assigned observers data | 151 | Output | CDS | RMP, BRP |
| 156 | Assigned subjects of settlement data | 154 | Output | CDS | RMP, BRP |
| 158 | Confirmation of customer’s consent with change of supplier | 150 | Output | CDS | RMP |
| 178 | Results of evaluation of request for change of supplier | - | Output | CDS | RMP |
| 179 | Copy of the change of supplier progress information | . | Output | CDS | RMP |
| 180 | Confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | - | Input | RMP | CDS |
| 182 | Confirmation of acceptance/rejection of a message with confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | 180 | Output | CDS | RMP |
| 183 | Request for Extension/Reduction of Supply at the Delivery Point or Aggregator/Flexibility Service Provider Assignment | - | Input | RMP | CDS |
| 185 | Copy of Supply Extension/Reduction or Aggregator/Flexibility Service Provider Assignment | 183 | Output | CDS | RMP |
| 186 | Potvrzení převzetí odpovědnosti za odchylku při prodloužení/zkrácení dodávky na OPM či přiřazení agregátora/poskytovatele flexibility | - | Input | RMP | CDS |
| 188 | Copy of Confirmation of Balance Responsibility Assumption for Extension/Reduction of Supply at the Delivery Point or Aggregator/Flexibility Service Provider Assignment | 186 | Output | CDS | RMP |
| 189 | Approbation with imb. resp. transfer within supply extension / reduction | - | Input | RMP | CDS |
| 191 | Confirmation of / Error in approbation with imb. resp. transfer within supply extension / reduction | 189 | Output | CDS | RMP |
| 192 | Request for supplier/subject of settlement mass change | - | Output | CDS | RMP |
| 193 | Supplier/subject of settlement mass change | - | Output | CDS | RMP |
| 194 | Ex post PDT registration | - | Input | DSO | CDS |
| 196 | Response to ex post PDT registration | 194 | Output | CDS | DSO |
| 199 | Ex post PDT registration – copy | 197 | Output | CDS | DSO |
| 212 | Confirmation of PDT code list update | 111 | Output | CDS | Service provider |
| 245 | Message of Supplier of last resort activation on position of primary supplier (SLR active) | - | Output | CDS | PPS/ PDS |
| 246 | Copy of Supplier/Aggregator/Flexibility Service Provider Change Request | - | Output | CDS | Service providers |
| 248 | Change of supplier message | - | Output | CDS | Service providers |
| 249 | Notification to primary supplier about future contract of delivery | 147 | Output | CDS | Service provider |
| 250 | Extract of the state of change of supplier | 147 | Output | CDS | Service provider |
| 254 | Request for Assignment of a Balance Responsible Party to PDP or to an Aggregator/Flexibility Service Provider | - | Input | RMP, BRP | CDS |
| 256 | Copy of Change Document for Assignment of a Balance Responsible Party or Aggregator/Flexibility Service Provider | 254 | Output | CDS | RMP, BRP |
| 257 | Request for assigning an observer to PDT | - | Input | RMP, BRP | CDS |
| 259 | Information about observer´s assignement to PDT | 259 | Output | CDS | RMP, BRP |
| 274 | Confirmation/Rejection of Balance Responsibility Assumption for a BRP Change at the PDP or for an Aggregator/Flexibility Service Provider | - | Input | RMP | CDS |
| 276 | Copy of Confirmation/Rejection of Balance Responsibility Assumption for a BRP Change at the PDP or for an Aggregator/Flexibility Service Provider | 274 | Output | CDS | RMP |
| 353 | PDT Master data - copy of data | 351 | Output | CDS | Service provider |
| 356 | Simplified list of PDT | 354 | Output | CDS | Service provider |
| 359 | List of handover points PDT | 357 | Output | CDS | Service provider |
| 369 | List of PDTs in the community | 367 | Output | CDS | Service provider |
| 373 | Service restricted list of PDT | 371 | Output | CDS | Service provider |
| 376 | Response with EAN of the Aggregator PDP Portfolio | 374 | Input | CDS | Service provider |
| 386 | Master data for storage activation at OPM | 384 | Output | CDS | Service provider |
| 450 | Request for registration of imbalance responsibility transfer | - | Input | TSO / DSO, BRP | CDS (Prodis) |
| 452 | Information about registration of imbalance responsibility transfer | 450 | Output | CDS (Prodis) | TSO / DSO, BRP |
| 453 | Approbation / Refusal of imbalance responsibility transfer | 450 | Output | CDS (Prodis) | TSO / DSO, BRP |
| 457 | Information about imbalance responsibility transfer (on request 455) | 455 | Output | CDS (Prodis) | TSO / DSO, BRP |
| E01 | service provider information | - | Output | CDS | Service provider |
| E12 | information about masterdata |  | Output | CDS | Service provider |
| E13 | Registration of storage activation on EAN | - | Input | Service provider | CDS |
| E18 | Registration of Flexibility on EAN | - | Input | Service provider | CDS |
| E11 | registration of EAN to sharing group | - | Input | Service provider | CDS |
| E53 | EAN masterdata information | E51 | Output | CDS | Service provider |
| 383 | PDT Master data - Sharing group |  | Output | CDS | Service provider |

Full message scheme MASTERDATA in .xsd format can be found here:

XML\MASTERDATA

##### Exemple of MASTERDATA format message

| Description | Link |
| --- | --- |
| Confirmation of change of supplier (146) | XML\MASTERDATA\MASTERDATA_msg_code_146.xml |
| ŽRequest for registration of imbalance responsibility transfer (450) | XML/MASTERDATA/MASTERDATA_msg_code_450_zadost.xml |
| Information about registration of imbalance responsibility transfer (452) - copy to the proposed BRP | XML\MASTERDATA\MASTERDATA_msg_code_452_opis_zadosti_na_noveho.xml |
| Approbation / Refusal of imbalance responsibility transfer (453) | XML\MASTERDATA\MASTERDATA_msg_code_453_vyjadreni_noveho.xml |

## RESPONSE

##### purpose

XML message in RESPONSE format is used to confirm the data exchange between the market participants and the CDS. The format basis is similar to messages CONTRL and APERAK according to UN/EDIFACT standard. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 050 | Syntax error in incoming message - error on communication channel level (from CDS to message sender) | - | Output | CDS | Service providers |
| 051 | Syntax error in incoming message - error on communication channel level (from message receiver to CDS)l | - | Input | Service providers | CDS |
| 100 | Syntax error - invalid message format (from CDS to message sender) | - | Output | CDS | External subject |
| 101 | Syntax error - invalid message format (from message receiver to CDS) | - | Input | External subject | CDS |
| 113 | Receiving/error in message of planned disconnection of PDT | 112 | Output | CDS | Service providers |
| 116 | Receiving/error in message of PDT disconnection | 115 | Output | CDS | Service providers |
| 119 | Receiving/error in request for data of PDT disconnection | 118 | Output | CDS | Service providers |
| 128 | Receiving/error in message of electronic invoice | 127 | Output | CDS | External subject |
| 130 | Receiving / error in request for electronic invoice | 129 | Output | CDS | External subject |
| 144 | Confirmation of Acceptance/Rejection of a Message Requesting Suspension/Termination of the Supplier/Aggregator/Flexibility Service Provider Change Process | 138 | Output | CDS | RMP |
| 145 | Error in change of supplier proposal | 141 | Output | DSO/TSO | CDS |
| 152 | Error in / confirmation of assigned observers request receiving | 151 | Output | CDS | RMP, BRP |
| 155 | Error in / confirmation of assigned BRP request receiving | 154 | Output | RMP, BRP | CDS |
| 157 | Confirmation of acceptance/rejection of a message with confirmation of customer’s consent with change of supplier | 150 | Output | CDS | RMP |
| 166 | Confirmation / error in the claim message | 165 | Output | CS OTE | External subject |
| 169 | Confimation / error in the request for the claim data | 168 | Output | CS OTE | External subject |
| 173 | Confirmation / error in the request for the OTE messages | 172 | Output | CS OTE | External subject |
| 175 | Notification about expiration of periodic request validity | - | Output | CDS | RMP |
| 181 | Confirmation of acceptance/rejection of a message with confirmation/rejection of assignment of responsibility for imbalance for the point of delivery | 180 | Output | CDS | RMP |
| 184 | Confirmation/Error in Request for Extension/Reduction of Supply or Aggregator/Flexibility Service Provider Assignment | 183 | Output | CDS | RMP |
| 187 | Confirmation/Error in the Confirmation of Balance Responsibility Assumption for Extension/Reduction of Supply at the PDP or Aggregator/Flexibility Service Provider Assignment | 186 | Output | CDS | RMP |
| 190 | Confirmation of acceptance/rejection of a message about possible reservation of distribution or transport capacity within supply extension / reduction | 189 | Output | CDS | RMP |
| 195 | Response to ex post PDT registration | 194 | Output | CDS | DSO |
| 198 | Ex post PDT registration – copy | 197 | Output | CDS | DSO |
| 210 | Error in request for historical maximum monthly consumption (MSMAX) | 110 | Output | CS OTE | External subject |
| 215 | Confirmation of / Error in PDT code list update | 111 | Output | CDS | TSO/DSO |
| 222 | Confirmation of / Error in interval metered data receiving | 121 | Output | CDS | TSO/DSO |
| 224 | Confirmation of / Error in non-interval metered data receiving | 122 | Output | CDS | TSO/DSO |
| 226 | Confirmation of / Error in distribution invoicing data receiving | 123 | Output | CDS | TSO/DSO |
| 228 | Confirmation of / Error in TSO data receiving | 124 | Output | CDS | PPS |
| 229 | Confirmation of / Error in base data of DGI RCS data receiving | 126 | Output | CDS | TSO |
| 230 | Confirmation/error for storage query | 137 | Output | CDS | Service provider |
| 231 | Error in request sending | 131 | Output | CDS | Service provider |
| 233 | DGI ICS data request - Receiving / rejection of request | 132 | Output | CDS | Service provider |
| 235 | Error message to request for data of provided regulation energy | 133 | Output | CDS | Service provider |
| 237 | Error msg. for request 134 (annual consumption estimation) | 134 | Output | CDS | External subject |
| 239 | DGI RCS data request - Receiving / rejection of request | 136 | Output | CDS | TSO/DSO |
| 241 | Confirmation/Error for Supplier/Aggregator/Flexibility Service Provider Change Request Submission | 141 | Output | CDS | Service provider |
| 243 | Negotiated diagram sending error (for data to 31.12.2009) | 142 | Output | CDS | Supplier |
| 244 | Confirmation of sent negotiated diagram receiving (for data to 31.12.2009) | 142 | Output | CDS | Supplier |
| 247 | Confirmation of / Error in change of supplier proposal | 246 | Output | CDS | DSO/TSO |
| 251 | Error in request for negotiated data (for data to 31.12.2009) | 143 | Output | CDS | Supplier |
| 253 | Error in request for listing of change of supplier logbook | 147 | Output | CDS | Service provider |
| 255 | Error in / Confirmation of request receiving to assign subject of settlement to PDT | 254 | Output | CDS | RMP, BRP |
| 258 | Error in / Confirmation of request receiving to assign an observer to PDT | 257 | Output | CDS | RMP, BRP |
| 261 | Error / Confirmation of receiving planned consumption values (B) | 160 | Output | CDS | RMP, BRP |
| 262 | Error / Confirmation of receiving planned production values (A,B) | 161 | Output | CDS | RMP, BRP |
| 263 | Confirmation of receiving / Error in sending of negotiated CTBS values | 162 | Output | CDS | Balance responsible party |
| 265 | Error in request for CTBS values sending | 163 | Output | CDS | TSO/DSO /BRP |
| 271 | Confirmation/rejection of message for sending of request for substitutional (computed) values of PDT with type B metering | 135 | Output | CDS | External subject |
| 275 | Confirmation/Error in Confirmation/Rejection of Balance Responsibility Assumption for a BRP Change at the PDP or for an Aggregator/Flexibility Service Provider | 274 | Output | CDS | RMP |
| 278 | Confirmation of/Error in monthly LDS statement | 277 | Output | CDS | External subject |
| 281 | Confirmation of/Error in request for monthly LDS statement | 280 | Output | CDS | External subject |
| 284 | System services settlement report - confirmation / error | 283 | Output | CDS | External subject |
| 287 | Request for system services settlement report - confirmation / error | 286 | Output | CDS | External subject |
| 302 | Confirmation/error message for sending of Request for consumption estimation for settlement | 301 | Output | CDS | External subject |
| 312 | Confirmation/error message for sending of Request for imbalance data per PDT C (consumption) computed within Clearing | 311 | Output | CDS | External subject |
| 315 | Err. mess. to the req. of ORS for calc. of imbal. and clea | 314 | Output | CDS | External subject |
| 322 | Confirmation/error message for sending of Request for metered values - non-interval | 321 | Output | CDS | External subject |
| 332 | Confirmation/error message for sending of Data request - calculation per primary supplier of PDT | 331 | Output | CDS | External subject |
| 342 | Confirmation/error message for sending of Data request - aggregated values per supplier | 341 | Output | CDS | External subject |
| 352 | Confirmation/error message for sending of Data request - master data of PDT | 351 | Output | CDS | External subject |
| 355 | Error message for sending simplified list of PDT | 354 | Output | CDS | Service provider |
| 358 | Confirmation / error in the request for list of handover points PDT | 357 | Output | CDS | External subject |
| 362 | Information about LDS meter reading incompleteness within the monthly and final monthly settlement – per individual PDT | - | Output | CDS | External subject |
| 368 | Confirmation/error in the request to enumerate PDTs in the community | 367 | Output | CDS | External subject |
| 372 | Error message for sending service restricted list of PDT | 371 | Output | CDS | Service provider |
| 375 | Error Message in Aggregator Portfolio Query | 374 | Output | CDS | Service provider |
| 382 | Error Message for Request for OPM Sharing Master Datav | 381 | Output | CDS | Service provider |
| 385 | Error message for storage activation request | 384 | Output | CDS | Service provider |
| 388 | Error message for flexibility activation request | 387 | Output | CDS | Service provider |
| 402 | Invoicing base data - error/confirmation | 400 | Output | CDS | External subject |
| 405 | OTE invoicing base data - error/confirmation | 403 | Output | CDS | External subject |
| 408 | Payments and refunds overview - error/confirmation | 406 | Output | CDS | External subject |
| 411 | OTE payments and refunds overview - error/confirmation | 409 | Output | CDS | External subject |
| 414 | Payments and refunds overview - error/confirmation | 412 | Output | CDS | External subject |
| 417 | OTE LP differences settlement - error/confirmation | 415 | Output | CDS | External subject |
| 420 | Confirmation / error in the request for the settlement report EMO-OTE | 418 | Output | CS OTE | PXE |
| 423 | Confirmation / erroro in the request for the settlement report OTE-EMO | 421 | Output | CS OTE | PXE |
| 424 | Notification on reaching of the financial security limit | - | Output | CS OTE | External subject |
| 427 | Confirmation / error in request for OTE settlement exchange rate | 425 | Output | CS OTE | External subject |
| 430 | Confirmation / error in the request for list of figured receivables and liabilities | 428 | Output | CS OTE | External subject |
| 433 | Confirmation / error in the request for report of daily payments confirmation | 431 | Output | CS OTE | External subject |
| 436 | Invoicing base data - summary - confirmation / error | 434 | Output | CS OTE | External subject |
| 439 | OTE invoicing base data - summary - confirmation / error | 437 | Output | CS OTE | External subject |
| 442 | Claim overview - summary - confirmation / error | 440 | Output | CS OTE | External subject |
| 445 | OTE Claim overview - summary - confirmation / error | 443 | Output | CS OTE | External subject |
| 451 | Confirmation of / Error in request for registration of imbalance responsibility transfer receiving | 450 | Output | CDS (Prodis) | TSO / DSO, BRP |
| 454 | Confirmation of / Error in approbation / refusal of imbalance responsibility transfer receivnig | 453 | Input | TSO / DSO, BRP | CDS (Prodis) |
| 456 | Confirmation of / Error in request for imbalance responsibility transfer receiving | 455 | Output | CDS (Prodis) | TSO / DSO, BRP |
| 462 | LP netting - error/confirmation | 460 | Output | CS OTE | External subject |
| 465 | Financial status limit - error/confirmation | 463 | Output | CS OTE | External subject |
| 468 | LP netting - final settlement - error/confirmation | 466 | Output | CS OTE | External subject |
| 471 | Final Settlement of Clearing Differences - error/confirmation | 469 | Output | CS OTE | External subject |
| 474 | Final Settlement of Clearing Differences OTE - error/confirmation | 472 | Output | CS OTE | External subject |
| 477 | Billing report ČEPS - PSK - error/confirmation | 475 | Output | CS OTE | External subject |
| 480 | Claim report ČEPS – PSK - error/confirmation | 478 | Output | CS OTE | External subject |
| 483 | Error / confirmation set the limit at VDT / VT | 481 | Output | IS OTE | External subject |
| 485 | Error / confirmation by sending an automatic limit change VDT / VT | 484 | Output | IS OTE | External subject |
| 486 | Notification of expiration of the bank guarantee / rating for financial security | - | Output | CS OTE | External subject |
| 489 | EMERGENCY STATE CZ - ERROR, CONFIRMATION | 488 | Output | IS OTE | External subject |
| 492 | EMERGENCY STATE - DAY-AHEAD MARKET - ERROR, CONFIRMATION | 491 | Output | IS OTE | External subject |
| 495 | EMERGENCY STATE INTRADAY MARKET - ERROR, CONFIRMATION | 494 | Output | IS OTE | External subject |
| 498 | STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT SRBP - ERROR, CONFIRMATION | 497 | Output | IS OTE | External subject |
| 501 | STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP - ERROR, CONFIRMATION | 500 | Output | IS OTE | External subject |
| 504 | STATE OF EMERGENCY – PAID PAYMENTS OTE - ERROR, CONFIRMATION | 503 | Output | IS OTE | External subject |
| 507 | export/import settlement IDA - Confirmation/error | 505 | Output | IS OTE | External subject |
| 512 | Error in / Confirmation of normal and metered average daily temperatures data receival | 511 | Output | CDS | CHMI |
| 516 | STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT SRBP - ERROR, CONFIRMATION | 515 | Output | CDS | External subject |
| 519 | STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP - ERROR, CONFIRMATION | 518 | Output | CDS | External subject |
| 522 | Error in / Confirmation of of normal load profiles of supplies receiving | 521 | Output | CDS | LP Administarator |
| 532 | Error in / Confirmation of predicted temperatures data receival | 531 | Output | CDS | CHMI |
| 562 | Error message for request for estimated diagram of PDT(C) group consumption, non-adjusted (561) | 561 | Output | CDS | External subject |
| 602 | Error message for request for correction factor history diagram of residual DS balance (601) | 601 | Output | CDS | External subject |
| 612 | Error message for request for estimated diagram of PDT(C) group consumption, adjusted to weather and residual balance (611) | 611 | Output | CDS | External subject |
| 622 | Confirmation/error message for request for DS aggregated data (621) | 621 | Output | CDS | External subject |
| 632 | Confirmation/error message for sending of Request for aggregated data within the state of emergency | 631 | Output | CDS | External subject |
| 642 | Confirmation/error message for sending of Request for summary values of RMP separated by metering type A, B and C | 641 | Output | CDS | External subject |
| 652 | Confirmation/error message for sending of Request for summary values of grid separated by metering type A, B and C | 651 | Output | CDS | External subject |
| 655 | Error in request for proportional ASC2 prof by supplier | 654 | Output | CDS | External subject |
| 662 | Confirmation/error message for sending of Request for data of normal and metered weather conditions (temperatures) | 661 | Output | CDS | External subject |
| 665 | Confirmation/error message of Request for LP data | 664 | Output | CDS | External subject |
| 668 | Confirmation/error message of Request for temperature correction coefficient data | 667 | Output | CDS | External subject |
| 672 | Confirmation/error message of Request for predicted | 671 | Output | CDS | External subject |
| 675 | Error, conf. of req. for corr. LP | 674 | Output | CDS | External subject |
| 682 | Error in the request for B measurement history for a maximum of 12 previous months | 681 | Output | CDS | External subject |
| 804 | Postponement of closing date for the opening of receipt of IDA orders | - | Output | IS OTE | External subject |
| 805 | Postponement of deadline for the end of receiving IDA orders | - | Output | IS OTE | External subject |
| 806 | Delay in publication of IDA results | - | Output | IS OTE | External subject |
| 807 | Deletion of auction | - | Output | IS OTE | External subject |
| 808 | Capacity data for IDA | - | Output | IS OTE | External subject |
| 809 | Modification of capacity data for IDA | - | Output | IS OTE | External subject |
| 810 | Notice of change/postponement of deadline | - | Output | IS OTE | External subject |
| 812 | Confirmation/error message for enter/replacement of DM bid | 811 | Output | IS OTE | External subject |
| 815 | Confirmation/error message for enter/replacement of DM bid | 814 | Output | IS OTE | External subject |
| 822 | Confirmation/error message for cancellation of DM bid | 821 | Output | IS OTE | External subject |
| 825 | Confirmation/error message for cancellation of IDA bid | 824 | Output | IS OTE | External subject |
| 832 | Confirmation/error message for sending of request for DM bid state definition | 831 | Output | IS OTE | External subject |
| 835 | Confirmation/error message for sending of request for IDA bid state definition | 834 | Output | IS OTE | External subject |
| 904 | Delay in publication of capacity data | - | Output | IS OTE | External subject |
| 905 | Postponement of the deadline for receiving DM orders | - | Output | IS OTE | External subject |
| 906 | (ExC_02) Delay in publication of DM results | - | Output | IS OTE | External subject |
| 907 | (ExC_03b) Delay of DM results, possibility of decoupling | - | Output | IS OTE | External subject |
| 908 | (ExC_04b) Full decoupling of markets - decoupling / (ExC_05b) Full decoupling of markets - early decoupling | - | Output | IS OTE | External subject |
| 910 | Network data publication delay, decoupling possibility | - | Output | IS OTE | External subject |
| 922 | Confirmation/error message for sending of request for output data handover | 921 | Output | IS OTE | External subject |
| 924 | Confirmation/error message for sending of request for output data handover - MarketService | 923 | Output | IS OTE | External subject |
| 942 | Confirmation/error message for sending of Data request - Complete plan of negotiated values | 941 | Output | IS OTE | External subject |
| 945 | DM - Confirmation / error in request for marginal prices and quantity | 944 | Output | IS OTE | External subject |
| 948 | IDA - Confirmation / error in request for marginal prices and quantity | 944 | Output | IS OTE | External subject |
| 952 | Confirmation/error message for sending of Data request - Hourly settlement | 951 | Output | IS OTE | External subject |
| 955 | (UMM_01a) Delay in final Market Coupling Results publication | - | Output | IS OTE | External subject |
| 956 | (UMM_02) Risk of Partial Decoulpilng for one or more interconnectors | - | Output | IS OTE | External subject |
| 957 | (UMM_03) One or more interconnectors decoupled | - | Output | IS OTE | External subject |
| 958 | Full decoupling known in adcance - detail info | - | Output | IS OTE | External subject |
| 959 | Decoupling CZ area - detail info | - | Output | IS OTE | External subject |
| 960 | Full decoupling - detail info | - | Output | IS OTE | External subject |
| 962 | Confirmation/error message for sending of Data request - Daily settlement | 961 | Output | IS OTE | External subject |
| 965 | Request for imbalance settlement statistic data - error / confirmation | 964 | Output | IS OTE | External subject |
| 974 | (ExC_03a) Risk of Partial Decoupling | - | Output | IS OTE | External subject |
| 975 | (ExC_04a) Partial Decoupling – Reopening of the order books | - | Output | IS OTE | External subject |
| 976 | (ExC_05a) Partial Decoupling known in advance | - | Output | IS OTE | External subject |
| 977 | (ExC_06) Delay in Market Coupling Results publication due to curtailment at max price detected in Lithuania, Finland or Sweden | - | Output | IS OTE | External subject |
| 981 | Notification, gate open/closure time has been changed. | - | Output | IS OTE | External subject |
| 982 | Settlement accomplishment notification | - | Output | IS OTE | External subject |
| 989 | Publication of capacity data / Modification of capacity data | - | Output | IS OTE | External subject |
| 990 | Notification about opening of the 2nd auction to the market participants | - | Output | IS OTE | External subject |
| 992 | Accomplishment notification of aggregation of bilateral contracts | - | Output | IS OTE | External subject |
| 995 | Confirmation of server-server connection control and sending of non-sent messages | 991 | Output | IS OTE | External subject |
| 996 | Confirmation of server-server connection control and sending of non-sent messages - MarketService | 994 | Output | IS OTE | External subject |
| 997 | Notice about publication of DM results | - | Output | IS OTE | External subject |
| E52 | Confirmation/error message | - | Output | IS OTE | External subject |
| E14 | Confirmation/error message | E13 | Output | IS OTE | External subject |
| E15 | Confirmation/error message | - | Output | IS OTE | External subject |
| E17 | Confirmation/error message | E16 | Output | IS OTE | External subject |
| E19 | Confirmation/error message | E18 | Output | IS OTE | External subject |
| E21 | Confirmation/error message | E20 | Output | IS OTE | External subject |
| GSE | Confirmation/error message for sending of Data request – Gas settlement results | GSD | Output | IS OTE | External subject |

Full message scheme RESPONSE in .xsd format can be found here:

XML\RESPONSE

##### exemple of RESPONSE format message

| Description | Link |
| --- | --- |
| Error in PDT code list update (215) | XML\RESPONSE\RESPONSE_msg_code_215.xml |

## LP (Load Profiles)

##### Purpose

XML message in TDD format is used to sending the normal LP from LP administrator to the CDS. The format basis is similar to messages CDSDATA, which were specified earlier in this document. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 521 | Message for sending of normal load profiles of supplies | - | Input | LP Provider | CDS |

Full message scheme TDD in .xsd format can be found here:

XML\TDD

##### Exemple of TDD format message

| Description | Link |
| --- | --- |
| Message for sending of normal load profiles of supplies (521) | XML\TDD\TDD_msg_code_521.xml |

## TEMPERATURE

##### Purpose

XML message in TEMPERATURE format is used to sending the average day temperatures and normal average day temperatures from CHMI to the CDS. The format basis is similar to messages CDSDATA, which were specified earlier in this document. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 511 | Message for sending of normal and metered average daily temperatures | - | Input | CHMI | CDS |
| 531 | Message for sending predicted temperatures | - | Input | CHMI | CDS |

Full message scheme TEMPERATURE in .xsd format can be found here:

XML\TEMPERATURE

##### Příklad zprávy formátu TEMPERATURE

| Description | Link |
| --- | --- |
| Message for sending of normal and metered average daily temperatures (511) | XML\TEMPERATURE\TEMPERATURE_msg_code_511.xml |

## SFVOTBILLING

##### purpose

XML message in SFVOTBILLING format is used to sending the financial reports from SFVOT modules – part Invoicing base data.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 401 | Invoicing base data | 400 | Output | CDS | External subject |
| 404 | OTE Invoicing base data | 403 | Output | CDS | External subject |

Complete schema of SFVOTBILLING in .xsd format is to be found here:

XML\SFVOTBILLING

## SFVOTBILLINGEMO

##### PURPOSE

The message in SFVOTBILLINGEMO format serves for sending of settlement reports between OTE and the external market organizer (e.g. PXE).

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 419 | Settlement report EMO-OTE | 418 | Output | CS OTE | External subject |
| 422 | Settlement report OTE-EMO | 421 | Output | CS OTE | EOT |

Complete schema of SFVOTBILLINGEMO in .xsd format is to be found here:

XML\SFVOTBILLINGEMO

## SFVOTBILLINGSUM

##### Purpose

XML message in SFVOTBILLINGSUM format is used to sending the financial reports from SFVOT modules – part Invoicing base data with summary data for requested period.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 435 | Invoicing base data - summary | 434 | Output | CDS | External subject |
| 438 | OTE invoicing base data - summary | 437 | Output | CDS | External subject |

Complete schema of SFVOTBILLINGSUM in .xsd format is to be found here:

XML\SFVOTBILLINGSUM

## SFVOTCLAIM

##### purpose

XML message in SFVOTCLAIM format is used to sending the financial reports from SFVOT modules – part Overview of payments and complaints.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 407 | Overview of payments and complaints | 406 | Output | CDS | External subject |
| 410 | OTE Overview of payments and complaints | 409 | Output | CDS | External subject |

Complete schema of SFVOTCLAIM in .xsd format is to be found here:

XML\SFVOTCLAIM

## SFVOTCLAIMSUM

##### Účel

XML message in SFVOTCLAIMSUM format is used to sending the financial reports from SFVOT modules – part Overview of payments and complaints – summary data for requested period.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 441 | Claim overview - summary | 440 | Output | CDS | External subject |
| 444 | OTE Claim overview - summary | 443 | Output | CDS | External subject |

Complete schema of SFVOTCLAIMSUM in .xsd format is to be found here:

XML\SFVOTCLAIMSUM

## SFVOTTDD

##### purpose

XML message in SFVOTTDD format is used to sending the financial reports from SFVOT modules – part LP Differences settlement.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 413 | LP differences settlement | 412 | Output | CDS | External subject |
| 416 | OTE LP differences settlement | 415 | Output | CDS | External subject |
| 470 | Final Settlement of Clearing Differences | 469 | Output | CDS | External subject |
| 473 | Final Settlement of Clearing Differences - OTE | 472 | Output | CDS | External subject |

Complete schema of SFVOTTDD in .xsd format is to be found here:

XML\SFVOTTDD

## SFVOTDTEXPIMP

##### Purpose

XML message in SFVOTDTEXPIMP format is used to sending the financial reports from SFVOT modules – part Figured receivables and liabilities (day-ahead advances in the form of debet, credit and netting payments).

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 429 | Report of figured receivables and liabilities | 428 | Output | CDS | External subject |

Complete schema of SFVOTDTEXPIMP in .xsd format is to be found here:

XML\SFVOTDTEXPIMP

## SFVOTCONFDATA

##### Purpose

XML message in SFVOTCONFDATA format is used to sending the financial reports from SFVOT modules – part Confirmation of OTE day-ahead payments (settled or due to).

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 432 | Report of daily payments confirmation | 431 | Output | CDS | External subject |

Complete schema of SFVOTCONFDATA in .xsd format is to be found here:

XML\SFVOTCONFDATA

## SFVOTEXCHRATE

##### Purpose

XML message in SFVOTEXCHRATE format is used to sending OTE exchange settlement rate.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 426 | OTE exchange settlement rate | 425 | Output | CDS | External subject |

Complete schema of SFVOTEXCHRATE in .xsd format is to be found here:

XML\SFVOTEXCHRATE

## SFVOTLIMITCHANGE

##### Purpose

XML message format SFVOTLIMITCHANGE is used for sending information by automatic reduction of the limit VDT/ VT.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 484 | Automatic change limit VDT/VT |  | Output | IS OTE | External subject |

The complex SFVOTLIMITCHANGE file in the .xsd format is saved here:

XML/SFVOTLIMITCHANGE

## SFVOTLIMITS

##### Purpose

XML message in SFVOTLIMITS format serves for sendig data of aggregate financial limit staus of BRP.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 464 | Financial limit status | 463 | Output | IS OTE | External subject |
| 482 | Current value of limit VDT/VT |  | Output | IS OTE | External subject |

The complex SFVOTLIMITS file in the .xsd format is saved here:

XML\SFVOTLIMITS

## SFVOTTDDNETT

##### purpose

XML message in SFVOTTDDNETT format is used to sending the financial reports from SFVOT modules – part Netting.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 460 | LP netting - request | - | Output | CDS | External subject |
| 467 | LP netting - final settlement | 466 | Output | CDS | External subject |

Complete schema of SFVOTTDDNETT in .xsd format is to be found here:

XML\SFVOTTDDNETT

## SFVOTPSK

##### purpose

XML message in SFVOTPSK format is used to sending the financial reports from SFVOT modules – invoicing data for aggregated RE and overview of payments and claim.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 476 | Billing report ČEPS - PSK | 475 | Output | CDS | External subject |
| 479 | Claim report ČEPS – PSK | 478 | Output | CDS | External subject |

Complete schema of SFVOTPSK in .xsd format is to be found here:

XML\SFVOTPSK

## SFVOTREQ

##### purpose

XML message in SFVOTREQ format is used to request for financial report from SFVOT modules. The format basis is similar to REQDOC messages according to UN/EDIFACT standard. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 400 | Invoicing base data | - | Input | External subject | CDS |
| 403 | OTE Invoicing base data | - | Input | External subject | CDS |
| 406 | Payments and refunds overview | - | Input | External subject | CDS |
| 409 | OTE Payments and refunds overview | - | Input | External subject | CDS |
| 418 | Request for the settlement report EMO-OTE | - | Input | PXE | CS OTE |
| 421 | Request for the settlement report OTE-EMO | - | Input | PXE | CS OTE |
| 425 | Request for OTE settlement rate | - | Input | External subject | CS OTE |
| 428 | Request for report of figured receivables and liabilities | - | Input | External subject | CS OTE |
| 431 | Request for report of daily payments confirmation | - | Input | External subject | CS OTE |
| 434 | Invoicing base data - summary - request | - | Input | External subject | CS OTE |
| 437 | OTE invoicing base data - summary - request | - | Input | External subject | CS OTE |
| 440 | Claim overview - summary - request | - | Input | External subject | CS OTE |
| 443 | OTE Claim overview - summary - request | - | Input | External subject | CS OTE |
| 460 | LP netting - request | - | Input | External subject | CS OTE |
| 463 | Financial limit status - request | - | Input | External subject | IS OTE |
| 466 | LP netting - request | - | Input | External subject | IS OTE |
| 469 | Final Settlement of Clearing Differences - request. It replaces code 412. | - | Input | External subject | IS OTE |
| 472 | Final Settlement of Clearing Differences - request. It replaces code 415. | - | Input | External subject | IS OTE |
| 475 | Billing report ČEPS - PSK - request | - | Input | External subject | IS OTE |
| 478 | Claim report ČEPS - PSK - request | - | Input | External subject | IS OTE |
| 487 | REQUEST FOR EMERGENCY STATE CZ | - | Input | External subject | IS OTE |
| 490 | REQUEST FOR EMERGENCY STATE - DAY-AHEAD MARKET | - | Input | External subject | IS OTE |
| 493 | REQUEST FOR EMERGENCY STATE INTRADAY MARKET | - | Input | External subject | IS OTE |
| 496 | REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT SRBP | - | Input | External subject | IS OTE |
| 499 | REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP | - | Input | External subject | IS OTE |
| 502 | REQUEST FOR STATE OF EMERGENCY – PAID PAYMENTS OTE | - | Input | External subject | IS OTE |
| 505 | Request for emergency state - intraday auctions | - | Input | External subject | IS OTE |
| 514 | REQUEST FOR STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT SRBP | - | Input | External subject | IS OTE |
| 517 | REQUEST FOR STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP | - | Input | External subject | IS OTE |

Complete schema of SFVOTREQ in .xsd format is to be found here:

XML\SFVOTREQ

## SFVOTSETTINGS

##### purpose

XML message format SFVOTSETTINGS used for sending setting new limit VDT /VT.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 484 | Setting limit VDT/VT | - | Input | External subject | IS OTE |

Complete schema of SFVOTSETTINGS in .xsd format is to be found here:

XML\SFVOTSETTINGS

## SFVOTEMGSTATE

##### purpose

XML message in SFVOTEMGSTATE format is used to sending the financial reports from SFVOT modules:

- EMERGENCY STATE CZ

- EMERGENCY STATE - DAY-AHEAD MARKET

- EMERGENCY STATE INTRADAY MARKET

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 488 | EMERGENCY STATE CZ | 487 | Output | IS OTE | External subject |
| 491 | EMERGENCY STATE - DAY-AHEAD MARKET | 490 | Output | IS OTE | External subject |
| 494 | EMERGENCY STATE INTRADAY MARKET | 493 | Output | IS OTE | External subject |
| 506 | Emergency state - intraday auctions | 505 | Output | IS OTE | External subject |

## SFVOTSEMGSTATENETT

##### purpose

XML message in SFVOTEMGSTATENETT format is used to sending the financial reports from SFVOT modules:

- STATE OF EMERGENCY VERSION 1 – NETTING

- STATE OF EMERGENCY VERSION 2 - NETTING

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 497 | STATE OF EMERGENCY VERSION 1 - NETTING - DEBIT - SRBP | 496 | Output | IS OTE | External subject |
| 500 | STATE OF EMERGENCY VERSION 2 - NETTING - DEBIT SRBP | 499 | Output | IS OTE | External subject |
| 515 | STATE OF EMERGENCY VERSION 1 - NETTING - CREDIT - SRBP | 514 | Output | IS OTE | External subject |
| 518 | STATE OF EMERGENCY VERSION 2 - NETTING - CREDIT SRBP | 517 | Output | IS OTE | External subject |

Complete schema of  SFVOTSEMGSTATENETT in .xsd format is to be found here:

XML\ SFVOTSEMGSTATENETT

## SFVOTSEMGSTATEINV

##### purpose

XML message in SFVOTEMGSTATENETT format is used to sending the financial reports from SFVOT modules:

- STATE OF EMERGENCY – PAID PAYMENTS OTE

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| 503 | STATE OF EMERGENCY – PAID PAYMENTS OTE | 502 | Output | IS OTE | External subject |

Complete schema of SFVOTEMGSTATEINV in .xsd format is to be found here:

XML\ SFVOTEMGSTATEINV

## RESPONSEEDC

##### purpose

XML message in RESPONSEEDC format is used to confirm the data exchange between the market participants and the CDS. The format basis is similar to messages RESPONSE. The format can be used in cases from the following table when communicating with Centre of Data Services CDS.

| Msg_code | Description | Reference message | Input / Output | Source | Target |
| --- | --- | --- | --- | --- | --- |
| E02 | Submit error/confirmation | E01 | Input | External subject | IS OTE |

Complete schema of RESPONSEEDC in .xsd format is to be found here:

XML/RESPONSEEDC

## Global XSD schemas

##### Purpose

Global XSD schemas contains data types, that would repeat when specified in single message formats. By setting apart, the definition code is reduced and maintanance becomes easier. There is refered to these data types in sigle formats.

- OTE_GLOBALS - contains data types being commons for all, resp. most of formats

- XMLDSIG-CORE-SCHEMA - contains definition of electronic signature

Complete schemas of OTE_GLOBALS and XMLDSIG-CORE-SCHEMA  in .xsd format are to be found here:

XML/Globals

# CIM specification formats

For communication in the sphere of „Registration of Realisation Diagrams“, standard of XML messages in complinace with ENTSO-E specifications are used:

:

- iec62325-451-2-schedule_v5_2.xsd (Schedule_MarketDocument)

- iec62325-451-2-anomaly_v5_3.xsd (AnomalyReport_MarketDocument)

- iec62325-451-2-confirmation_v5_3.xsd  (Confirmation_MarketDocument)

- iec62325-451-5-statusrequest_v4_1.xsd (StatusRequest_MarketDocument)

- iec62325-451-1-acknowledgement_v8_1.xsd (Acknowledgement_MarketDocument)

For communication in domain of shorterm auction based markets DM and IDA, standard of XML messages in complinace with ENTSO-E specifications are used:

- iec62325-451-5-statusrequest_v4_1.xsd (StatusRequest_MarketDocument)

- iec62325-451-1-acknowledgement_v8_1.xsd (Acknowledgement_MarketDocument)

- Capacity_OTEMarketDocument v8.1

CIM based XML schemas are placed here:

CIM

Tailored CIM ENTSO-E types and code lists ar eplaced here:

CIM\Globals

Popis aplikace standardů i upravených zpráv pro komunikaci v oblasti Evidence realizačních diagramů je uveden v dokumentu D1.4.4 Rozhraní automatické komunikace IS OTE.

The description of standards and semi-standards application within communication in the domains of „Registartion of Realization Diagrams“ and shorterm auction based markets DM and IDA is specified in the document D1.4.4 IS OTE automatic communication interface.

It is tailored ENTSO-E CIM XML schema iec62325-451-3-capacity_v8_1.xsd, extended by FB capacity alloaction specifics not defined within CIM ENTSO-E standard.